| LOCATION: Coleg SIR GAR | LLEOLIAD: COLEG SIR GAR |
| --- | --- |
| LEVEL 5 | LEFEL 5 |
| EXAMINATION PERIOD | CYFNOD ARHOLIADAU |
| MAY 2023 | MAI 2023 |

MODULE CODE: SGEE5006

Power and Machines

EXAMINATION

SOLUTIONS

QUESTION 1

- (i)

[2 marks]

[4 marks]

- (ii)

[4 marks]

Therefore N2 =               200       		=   10 turns

4.44 x 60 x 0.075

and  N1 = 10  x  5500      =  275 turns

200

- (i)

[13 marks]

For M1:

|S1|  =  5500 VA, P1 = 5500 x 0.78  = 4290 W,   Q1 = √(55002 - 42902) = 3441.79 VAr

For M2:

|S2|  =  15200 VA, P2 = 15200 x 0.85  = 12920 W,   Q2 = √(152002 - 129202) = 8007.1 VAr

Three single-phase loads consume P3 = 3 x 3500 = 10500 W

Total P = P1 + P2 + P3 = 4290 + 12920 + 10500 = 27710 W

Total Q = Q1 + Q2 = 3441.79 + 8007.1 = 11448.89 VAr

Total |S| = √(277102 + 11448.892) = 29982.01 VA

Hence,

|I| per line (secondary) = 29982.01	= 41.21 A

√3 x 420

|I| per line (primary) =   29982.01	= 1.57 A

√3 x 11000

[2 marks]

(b) (ii)

Power factor =  P  =      27710       =   0.924 lagging

|S|        29982.01

QUESTION 2

(a) (i)

[4 marks]

The di/dt rating of a thyristor indicates the maximum rate of rise of current, when triggered, that will not cause unequal current distribution resulting in hot spots in the device junctions and possible device failure. The dv/dt rating is the maximum rate of rise of anode-cathode voltage that will not trigger the device at the time off switching off.

(a) (ii)

The di/dt to which the device is subjected can be limited by adding a series inductor which limits the rate of rise of current when the device switches on. The dv/dt can be controlled by using an RC series ‘snubber’ network connected across the device between anode and cathode which limits the rate of rise of the voltage across the device when it switches off.

[4 marks]

(b) (i)

[5 marks]

(b) (ii)

[3 marks]

Irms = 3.808A

(b) (iii)

Imean = 		where Im =

Imean =

Imean =  =

[9 marks]

Imean =  = 3.074A

QUESTION 3

[5 marks]

[3 marks]

Q3

[8 marks]

QUESTION 3 (continued)

(iii)

[5 marks]

[4 marks]

QUESTION 4

(a)

[4 marks]

[3 marks]

(b)

[2 marks]

[1 mark]

[5marks]

[5 marks]

[5 marks]

QUESTION 5

(a)

[4 marks]

[4 marks]

(b) (i)

[1 mark]

[1 mark]

[3 marks]

[2 marks]

Q5 (b)(i) continued

[1 mark]

[5 marks]

(ii)

[4 marks]