# Fillable FT-IR Method Template

(complete every field. Where asked to justify a choice, give a short reason,1–2 sentences.)

## 1. Safety & sample handling (tick / fill)

PPE required: [ ] Lab coat   [ ] Nitrile gloves   [ ] Safety glasses   [ ] Fume hood if dusty

Hazard notes (brief):

____________________________________________________________________

Waste route (how samples / wipes will be disposed):

____________________________________________________________________

## 2. Equipment & consumables (list model where applicable)

| Item | Make / model (if known) | Qty / Notes |
| --- | --- | --- |
| ATR-FTIR spectrometer | ________________________ | ______ |
| ATR crystal (type) | ☐ Diamond ☐ ZnSe ☐ Other: ______ | ______ |
| Cleaning solvent | (IPA / EtOH / other) ____________ | ______ |
| Micro-spatula / tissue | ________________________ | ______ |
| PC / software | ________________________ | ______ |
| Reference spectra files | ________________________ | ______ |

## 3. Acquisition parameters (fill and justify)

Spectral range: __________________ cm⁻¹

Resolution: __________________ cm⁻¹ - Justification: ________________________

Background scans: ______ scans - Justification: ________________________

Sample scans: ______ scans - Justification: ________________________

Apodization function: __________________ - Justification: ____________

Pressure/force guidance: (how you will ensure consistent contact)

____________________________________________________________________

File naming convention: ___________________________________________

Files to be saved: [ ] native format   [ ] .csv   [ ] .png/.pdf annotated

## 4. Step-by-step measurement procedure (numbered)

(Be explicit so another trained student could reproduce your work.)

1. ____________________________________________________________________

2. ____________________________________________________________________

3. ____________________________________________________________________

4. ____________________________________________________________________

5. ____________________________________________________________________

6. ____________________________________________________________________

7. ____________________________________________________________________

## 5. Data processing & interpretation policy (state what you will do)

ATR correction: [ ] Apply   [ ] Do not apply - Reason: ____________________

Baseline correction: [ ] Yes   [ ] No - Method / settings: __________________

Smoothing: [ ] None   [ ] Savitzky-Golay (window = ___, poly = ___) - Reason: __

Peak-picking rules: (e.g., pick top 5 peaks > X% absorbance, tolerance ± Y cm⁻¹)

____________________________________________________________________

Library search use: [ ] Will run library search - acceptance threshold: ____%

Manual justification requirement: (state how many diagnostic peaks you will cite) ___

## 6. Quality control / validation checks (tick and comment)

Background collected at start - time: ______ - comment: ____________________

Blank collected after each sample - comment: _____________________________

Replicate acquisition performed on sample: [ ] A   [ ] B   [ ] C   [ ] D - results OK? [ ] Yes   [ ] No - notes:____________________________________________________________________

ATR crystal cleaned between samples - method: ___________________________

S/N check - main peaks S/N ≥ ______ - measured at _____ cm⁻¹ - value: _____

If any check fails, describe corrective action:__________________________________

## 7. Troubleshooting (two likely problems and mitigation)

Problem 1: ___________________________________________________________

Action: _____________________________________________________________

Problem 2: ___________________________________________________________

Action: _____________________________________________________________