Project Initiation Document

New server-room for UWSTD new campus

Author: Mohammed    P152058

Email:mabdulla.152058@student.uwtsd.ac.uk

# Background

The University of Wales Trinity St David is based in three different locations around the city of Swansea, currently each campus has its own server room. The three campuses are moving to one physical location will result in the need of designing a new server room to serve the IT infrastructure for the University

# Introduction

In an IT environment the server room is the heart and focal point of the information infrastructure of any organisation. The server room must be functionally optimised and designed to the highest level for the needs and requirements of the organisation to provide 100% network uptime guarantee 24/7 and full measures taken to prevent major server disaster for optimum resilience in order to continue full support to user base to ensure users never know that a disruption has occurred. For example if a server in the cluster fails, another node takes over with its redundant workload.

When planning and designing a server infrastructure, there are no single right way but there are many best practice to follow, depending on the design requirements and structure of the organisation and business plan.

There are many important factors that are needed to be considered before the initial design process such as choice of location within the building, the amount of space required for the now and future expansion, room specification and the related power requirement are all important factors that need to be considered.

Other important elements that need to be considered when building or redesigning a server room are mechanical system, electrical system, ventilation system, cooling system, environment system and security system.

Above all, the first rule is to ensure the chosen location within the building is easily accessible within the building plan and there is a plenty of space available for future expansion, it’s bad practice to build a server room that is only to accommodate current business requirement, it should be full future expansion proof.

# Aim and Objective

This is a proposal for implementing a project for the University of Wales Trinity St David new server room. The server room will be located in the new built campus and will serve the whole of the University’s IT infrastructure.  This project will cover the following objectives:

- Room Design

Room location, size, celling, floor, doors and more space for future growth

- Fire prevention and suppression

Deducting a fire is not enough, fire suppression system need to be put on place

- Environment monitoring

Temp and humidity monitoring system is a must to prevent equipment’s damage and server downtime.

- Cooling

Server room must be at right temp and dry to stop equipment overheating.

- Separate back-up power (UPS)

24/7 power guaranteed and UPS solution need to be on place to maintain equipment and servers uptime.

- Alarm and security

      - Real time monitoring  system for extreme humidity, temperature, leakage and fire through   SMS or email

      - Securing server racks, physical and logical access and real time surveillances system.

- Cables management

System design for cabling need to put on place, e.g. labeling and color coding.  Data and electrical wires should be in separate zones.

- Disaster protection & recovery

Disaster and recovery plan for each system need to be put on place and a solution for each scenario also server room should be well documented in case the system need to be rebuilt.

- Access User policy

The server rooms must be strictly controlled, logged and monitored. The access policy should outlined in the document and should be applicable to all who have access to the server room.

# Constrains

The main constrain for implementing t this project would be the budget limitation and the amount of the physical space that would be needed to accommodate all the servers and more space for future growth. Other constrain is that not all the schools are moving to the new campus at the same time, the consequences of such a plan is the possibility of damaging current working infrastructure which will require time and resource’s before everything will settle down.

There might also be a downtime during the move of de-installation and re-installation of the IT equipment if no resilience plan is in place, this is unacceptable in a working environment which a solution is need to keep key systems online during the move.

# Stake Holders

| # Stakeholders | # Level of influence | # Level of support |
| --- | --- | --- |
| # UWTSD Council | # High | # High |
| # Head of schools | # Medium | # High |
| # Head of IT | # Medium | # High |
| # Swansea Council or Welsh Government | # Low | # Medium |
| # Virtualization SP | # Low | # Medium |
| # Contractors | # Low | # Medium |
| # ISP | # Low | # Medium |
| # Student | # Low | # Low |

# Consideration

Other important factors that need to be considered is server virtualization which will consolidate many servers into one physical server with server resilience, which will save room space and allow the organization to maximize the ROI  of the physical hardware and also reducing the power consumption , save resources and time when maintaining the equipment and lowering the hardware cost.