HEAT and THERMAL ENERGY – Revision Questions

Exercise 1:

Calculate the total heat power loss from a sealed flat-roofed kitchen 14m x 12m x 3m high when the internal temperature is 22 degrees C and the external temperature is -3 degrees C.

1 WATT = 1 Joule / second.

P = U x A x –

The U values:  Floor - 1.6 W m2 K

Roof – 3.2 W m2 K

Walls - 2.2 W m2 K

State your answer in Watts and K Joules.

Exercise 2:

A room has an external wall with a U value of 1.5 W/m2K and contains air at 21oC when the outside temperature is 5oC .

The resistance of the internal surface layer (plaster) is 0.12 W/m2K.

Calculate the boundary temperature on the internal surface of the wall.

Where:= temperature difference across a particular layer

R   = resistance of that layer

T  = total temperature difference across the structure

RT  = total resistance of the structure

-  =    R

T       RT