Environmental Management System

Site Audit Report

| Department/ College/ Site being audited: Birmingham | Date of audit: 29/09/2025 |
| --- | --- |
| Auditee: University of Wales Trinity St David | Auditor: Robert Saunders |

| Objectives - To assess the implementation of the EMS at each site |  |  |
| --- | --- | --- |
| Summary Site seen to be well managed. Deemed to be low risk of pollution. No nonconformances identified. All PPM and works undertaken inline with legislative requirements. |  |  |
| Air Conditioning Air conditioning service reports sampled: 01/09/2025 – PPM 20/12/2024 – PPM 14/04/2025 – PPM The organisation maintains asset registers for all air conditioning units on the site. Asbestos Asbestos survey undertaken at Louisa house 8th February 2023. 2 ACMs identified, both presented as low risk. Asbestos management survey for Sparkhill dated 7th March 2023. No ACMS identified. Asbestos management survey for Victoria house dated 27th March 2023. No ACMS identified. Waste Management General waste is managed by the property management company. No confidential waste is disposed of at this site. The only hazardous waste produced is from aerosols used in toilet facilities. The only waste stream disposed of by UWTSD is sanitary waste through PHS. Consignment note sampled: PHS – CBDU15856 Aerosols – flammable – 160504 Date – 22/09/2025 All parts complete Plant Protection Products No Plant protection products are used by UWTSD at this site. Boilers The auditor sampled the following Boiler servicing records: Louisa House Plan Room – 13/05/2025 Sparkhill learning centre – 13/05/2025 Victoria House Plant Room – 13/05/2025 Energy Performance of Buildings TM44 certificates sampled: Louisa House – Valid until 08/04/2030 Vincent House – Valid until 02/12/2029 Victoria House – Valid until 02/12/2029 Onsite Controls - Walk round The site has been deemed low risk as only classroom-based teaching is undertaken on the site. Site was seen to be well managed. Clear signage on bins for waste segregation with food waste bins within eating areas. Cleaning is undertaken by an external company however UWTSD retains cleaning logs and the SDS for chemicals used by them. Waste compound and disposal of waste is managed by the property management company, as is the central communal area. The Café is a let space. The auditor is satisfied that the site is well managed. |  |  |
| Observations raised |  |  |
| No. | Description |  |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |
| 4. |  |  |
| Non- conformance raised |  |  |
| No. | Minor/ Major | Description |
| 1. |  |  |
| 2. |  |  |

| Terms |  |
| --- | --- |
| Term | Description |
| Observation | Identifies an issue that requires attention to improve the operation of the EMS and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit. |
| Minor Non- conformance | Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way. |
| Major Non- conformance | Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. |