Environmental Management System
Site Audit Report 


	Department/ College/ Site being audited: 
Birmingham
	Date of audit: 
29/09/2025

	Auditee: 
University of Wales Trinity St David
	Auditor:
Robert Saunders



	Objectives 
· To assess the implementation of the EMS at each site


	Summary
Site seen to be well managed. Deemed to be low risk of pollution. No nonconformances identified. All PPM and works undertaken inline with legislative requirements.

	
Air Conditioning
Air conditioning service reports sampled:
01/09/2025 – PPM
20/12/2024 – PPM
14/04/2025 – PPM
The organisation maintains asset registers for all air conditioning units on the site.

Asbestos
Asbestos survey undertaken at Louisa house 8th February 2023. 2 ACMs identified, both presented as low risk.

Asbestos management survey for Sparkhill dated 7th March 2023.
No ACMS identified.

Asbestos management survey for Victoria house dated 27th March 2023.
No ACMS identified.

Waste Management 
General waste is managed by the property management company.
No confidential waste is disposed of at this site.
The only hazardous waste produced is from aerosols used in toilet facilities.
The only waste stream disposed of by UWTSD is sanitary waste through PHS.

Consignment note sampled:
PHS – CBDU15856
Aerosols – flammable – 160504
Date – 22/09/2025
All parts complete

Plant Protection Products 
No Plant protection products are used by UWTSD at this site.

Boilers
The auditor sampled the following Boiler servicing records:
Louisa House Plan Room – 13/05/2025
Sparkhill learning centre – 13/05/2025
Victoria House Plant Room – 13/05/2025

Energy Performance of Buildings
TM44 certificates sampled:
Louisa House – Valid until 08/04/2030
Vincent House – Valid until 02/12/2029
Victoria House – Valid until 02/12/2029

Onsite Controls - Walk round
The site has been deemed low risk as only classroom-based teaching is undertaken on the site.
Site was seen to be well managed. Clear signage on bins for waste segregation with food waste bins within eating areas.
Cleaning is undertaken by an external company however UWTSD retains cleaning logs and the SDS for chemicals used by them.
Waste compound and disposal of waste is managed by the property management company, as is the central communal area. The Café is a let space.
The auditor is satisfied that the site is well managed.
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	No.
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	Non- conformance raised 

	No. 
	Minor/ Major  
	Description 

	1.
	
	

	2.
	
	



	Terms 

	Term 
	Description 

	Observation 
	Identifies an issue that requires attention to improve the operation of the EMS
and that if left un-addressed is likely to lead to a non-conformance during future audits, an example of good environmental practise that deserves recognition or a flag for re-visit at the next audit.

	Minor Non- conformance  
	Areas where the EMS is deviating from the Green Dragon Standard requirements in a minor or technical way.

	Major Non- conformance 
	Serious deviation from the Green Dragon Standard requirements, e.g. legal non-compliance. 



