University of Wales Trinity Saint David

School of Engineering

Heat Exchanger Laboratory Analysis

Paul Michael Williams

P151245

07/04/2019

Termofluid Mechanics M5X00406

Rob Goodson

Table of Contents

1	Introduction	6

1.1	Heat Exchanger Theory	6

1.2	TD1007 Heat Exchanger	7

2	Procedure	8

2.1	Experiment 1	8

2.2	Experiment 2	8

2.3	Experiment 3	8

2.4	Results analysis	9

2.4.1	Experiment 1	9

2.4.2	Experiment 2	9

2.4.3	Experiment 3	9

3	Results	10

3.1	Experiment 1	10

3.2	Experiment 2	13

3.3	Experiment 3	16

4	Discussion & Conclusion	19

4.1	Discussions/Observations	19

4.2	Conclusions	19

4.2.1	Experiment 1	20

4.2.2	Experiment 2	20

4.2.3	Experiment 3	20

5	References	22

Figure 1 Experiment 1 Results	11

Figure 2	12

Figure 3	12

Figure 4	13

Figure 5 Experiment 2 Results	14

Figure 6	15

Figure 7	15

Figure 8	16

Figure 9 Experiment 3 Results	17

Figure 10	18

Figure 11	18

Figure 12	19

# Introduction

## Heat Exchanger Theory

In most systems, whether nuclear, chemical or mechanical, the transfer of heat from one place or fluid to another is essential.  Heat exchangers are used to facilitate the transfer of heat as required.  An understanding of heat exchangers and their components is required to comprehend their operation and function.  For the purpose of this report, a particular type of exchanger will be considered, a recuperative heat exchanger.  This works by transferring heat through a dividing wall, otherwise referred to as the interface between the two fluids.  Reasons for heat transfer are as follows;

1. To heat a cooler fluid by means of a hotter fluid

2. To reduce the temperature of a hot fluid by means of a cooler fluid

3. To boil a liquid by means of a hotter fluid

4. To condense a gaseous fluid by means of a cooler fluid

5. To boil a liquid while condensing a hotter gaseous fluid

In order for heat transfer to occur, there must a difference in temperature between the fluids and they must come into thermal contact.  Heat only transfers from hotter to colder and also the fluids do not experience any mass transfer i.e. no mixing happens.

Recuperative heat exchangers are grouped by their basic characteristics mainly the type of air flow between fluids, three main types are parallel flow, counter flow and cross flow.  A parallel system is when both fluids are run in parallel to each other.  Both fluids enter the exchanger from the same side with a large temperature difference.  As the fluids transfer heat from hotter to cooler then the two temperatures will approach each other.  A counter flow heat exchanger works when the two fluids flow in the opposite direction to each other.  Each fluid enters at opposite ends of the heat exchanger and thus the cooler fluid exits where the hot fluid enters.  This makes the counter flow heat exchanger the most efficient type of exchanger.  The cross-flow heat exchanger works when the two fluids flow perpendicular to each other at a 90° angle.  Cross flow exchangers are usually used when one of the fluids changes state.  An example would be a steam condenser, the steam exiting the turbine is absorbed by the cooler water and condensed into water.  Large volumes of steam would be condensed in this type of exchanger.  In reality most heat exchangers would use a combination of the three types of methods previously mentioned, in pursuit for the greatest efficiency.  (Goodson, 2019)

## TD1007 Heat Exchanger

The TD1007 heat exchanger is a compact bench mounted frame that connects to an electrical supply and a water source, though the water system is self-contained, the water source can be used to top up the system.  There is a horizontal, rectangular section air duct, fed from a centrifugal fan.  The air is fed in from the top, it travels down to the fan and the fan then accelerates the air and turns it through 90° and pushes it through the duct.  The air passes the heat exchanger and leaves through a slide valve.  The slide valve allows the user to adjust the airflow through the system and therefore the pressure drop of the air flow.  Thermocouples along the duct measure the air temperature at the inlet and before and after the heat exchanger.  The heat exchanger is located in the mid-section of the air duct, it can also be replaced with different configuration exchangers.  The water circuit has a flow rate sensor and a heater tank that feeds the heat exchanger.  The pump in the water circuit supplies the heat exchanger via a hand adjusted water supply valve. (TecQuipment Ltd, 2014)

# Procedure

## Experiment 1

- Make sure the heat exchanger is setup as a 32-tube configuration, connect up as parallel flow with a heater tank temperature of 60°C, water enters the exchanger at the bottom and exits at the top.

- Note the ambient air pressure.  Note the orifice diameter (stamped on the orifice).

- Switch on the fan and use the airflow slide valve to set a pressure drop of 250 Pa (+-5 Pa).

- Switch on the water pump and use the water pump valve to set a water flow of 2.25 L/Minute (+-0.01L/Minute).

- Allow a minimum of 5 minutes for all readings to stabilise and then record the temperatures on the results tables provided.

- Repeat all the previous steps for the water flow rates of 1.75, 1.25, 0.75 and 0.25 L/Minute.

## Experiment 2

- Make sure the heat exchanger is setup as a 32-tube configuration, connect up as parallel flow with a heater tank temperature of 60°C, water enters the exchanger at the bottom and exits at the top.

- Note the ambient air pressure.  Note the orifice diameter (stamped on the orifice).

- Switch on the fan and use the airflow slide valve to set a pressure drop of 250 Pa (+-5 Pa).

- Switch on the water pump and use the water pump valve to set a water flow of 0.25 L/Minute (+-0.01L/Minute).

- Allow a minimum of 5 minutes for all readings to stabilise and then record the temperatures on the results tables provided.

- Repeat all the previous steps for the pressure drops of 200, 150, 100, 50 and 25 Pa.

## Experiment 3

- Make sure the heat exchanger is setup as a 32-tube configuration, connect up as parallel flow with a heater tank temperature of 45°C, water enters the exchanger at the bottom and exits at the top.

- Perform experiment 2 exactly as shown above with the adjusted water tank heater temperature of 45°C.

## Results analysis

### Experiment 1

Enter the observed results into the results tables for each experiment, then use Microsoft Excel to create a similar results table.  Populate the results and then use the powerful features of Excel to calculate the resultant calculations within the table.  Such results would be, change in temperatures, average temperatures, air and water densities, the mass flow rates for air and water.  The heat emitted and absorbed, specific heat capacities of air and water, temperature efficiencies, LMTD and the heat transfer coefficient.  Next create three charts.  First one showing heat emitted and heat absorbed into the air against water flow rate on the horizontal.  Second one, plot the temperature efficiencies against water flow rates on the horizontal.  Third, plot the heat transfer coefficient against the water flow rate on the horizontal.

### Experiment 2

As per experiment 1 as commented on above, with the exception of plotting the three graphs against air flow rate in lieu of water flow rate.

### Experiment 3

As per experiment 2 as commented on above, with the exception of plotting the three graphs against air flow rate in lieu of water flow rate and also the adjusted heater tank temperature of 45°C.

# Results

## Experiment 1

Figure 1 Experiment 1 Results

Figure 2

Figure 3

Figure 4

## Experiment 2

Figure 5 Experiment 2 Results

Figure 6

Figure 7

Figure 8

## Experiment 3

Figure 9 Experiment 3 Results

Figure 10

Figure 11

Figure 12

# Discussion & Conclusion

## Discussions/Observations

The experiments carried out in relation to this report were executed on the 12th March 2019.  The results tables in Figures 1,5 and 9 are poorly formatted for Microsoft word, if more detail is needed an Excel worksheet would happily be provided.  The following observations are all relevant to the experiments and their results or were used in the calculation of some equations in the excel tables.  The ambient pressure and temperature that day were observed to be 1.003 mBar and 23.5°C respectively.  The orifice plate has a discharge coefficient CD of 0.6.  The orifice diameter is 100.11mm or 0.10011m.  The heat exchanger has a surface area of 0.1558 m2.  There is a significant lag between the temperature of the water in the heater tank and the temperature of the water in the heat exchanger, adequate time should be observed for the system to equalise.  Turbulence of flow greatly affects the efficiency of a heat exchanger in a positive way.  Turbulence increases the amount of fluid that comes into contact with the heat exchanger interface.  Though heat generated from water flow is negligible in this case.  When laminar flow is observed then lower heat exchange efficiency also follows.  It was intended to compare the results of these experiments to published figures for comparison, this did not happen as adequate results could not be found.  The TD1007 should be checked regularly for air leaks as this could skew the results of any experiments carried out.  As per the instructions in the brief, the specific heat capacity for air was assumed to be 1005 j/Kg-1K-1 but a more accurate figure could have been used, 1006.9 j/Kg-1K-1 calculated on the ambient pressure of 1.003 Bar and ambient temperature of 23.5°C.  Due to thermal inertia within the system, the experiment could be improved if more time was passed between each experiment.  Within the results tables the were two sets of data that were calculated as negative values but recorded as absolutes, this was to facilitate comparisons in the results charts.  The results that were negative were indicated so by comment in the column headings, mainly being heat emitted and overall heat coefficient.

## Conclusions

Based on the results observed in section 3, it is the belief of this report that a possible indicator of heat exchanger performance is the figure CEB.  This is a ratio that compares directly the amount of power absorbed by the air to the amount of power emitted by the exchanger.  A perfect situation where all emitted power is absorbed would yield a CEB value of 1.  In reality figures of over 1 can be obtained, this is due to gains or losses from the exchanger surroundings being absorbed.  This makes this indicator less reliable than the overall heat transfer coefficient.

### Experiment 1

The overall results for experiment 1 are listed in Figure 1.  Chart 1 as shown in Figure 2, shows the mass flow rate of water against the heat emitted QW and heat absorbed QA.  As the water flow increases so does both values for heat, and as flow rate reaches maximum so do the QW and QA values.  At the peak the QA value is slightly higher which infers that power absorbed by the air is more than the power emitted.

Chart 2 as shown in Figure 3 shows the temperature efficiencies against water flow rate.  The temperature efficiency of water greatly reduces as the water flow rate increases but the temperature efficiency of air slightly improves with increased water flow.

Chart 3 as shown in Figure 4 shows the overall heat coefficient against water flow rate.  This is where a problem seems to have surface with the results of experiment 1.  There is a major outlier showing in the results of chart 3, especially when compared to Figures 8 and 12.  Any number of mistakes could have occurred to cause this outlier, more probably human error, but nevertheless experiment 1 should be discounted from this report until it can be done with a greater accuracy to confirm true data.

### Experiment 2

Figure 5 shows all the results for experiment 2.  Chart 1 as shown in Figure 6 compares air flow rate with powers emitted and absorbed at 60°C, both powers increase with increased air flow, but the chart also shows a significant divide between power emitted and absorbed.  For ideal results the lines on this chart would be fairly closely related such as in Figure 2.

Chart 2 as shown in Figure 7 compares temperature efficiencies with air flow rate.  The temperature efficiency of water increases with increased air flow and the air temperature efficiency slightly decreases with increased air flow.  The overall movement of this chart seems positive in comparison to Figure 3.

Chart 3 as shown in Figure 8 compares air flow rate with overall heat transfer coefficient.  As air flow rate increases as does the coefficient.  As flow rate reaches maximum so does the coefficient.  The final readings achieved are a U value of 127.4305 at 0.114805 Kg/s.

### Experiment 3

Figure 9 shows all the results for experiment 3.  Chart 1 as shown in Figure 10 compares air flow rate with powers emitted and absorbed at 45°C, both powers increase with increased air flow, and a more favourable result occurred towards the higher end of the air flow rate as the lines are closer together.

Chart 2 as shown in Figure 11 compares temperature efficiencies with air flow rate.  The temperature efficiency of water increases with increased air flow and the air temperature efficiency slightly decreases with increased air flow.  The overall movement of this chart seems positive but slightly less pronounced than Figure 7.

Chart 3 as shown in Figure 8 compares air flow rate with overall heat transfer coefficient.  As air flow rate increases as does the coefficient.  As flow rate reaches maximum so does the coefficient.  Though with slightly worse results than Figure 8.

Due to the exclusion of possibly faulty result found in experiment 1, this report has concluded that the best efficiencies of the TD1007 heat exchanger occurred at 60°C with air flow rates of approximately 0.114805 Kg/s, this is proven as the highest U overall heat transfer coefficient was achieved at 127.4305.

# References

Goodson, R., 2019. Fundamentals of Heat Exchangers. Swansea: s.n.

TecQuipment Ltd, 2014. TD1007 User Guide. s.l.:s.n.