Student FEEDBACK FORM- CAITLYN

| Generic Assessment Criteria | Marks available | Marks awarded |
| --- | --- | --- |
| 1. Engagement with Literature Skills . |  |  |
| The report has demonstrated thorough research on the topic, showing a very good understanding of the subject. The research produced highlights final selections made regarding light fittings, containment systems, socket types and protective devices and is further enhanced with the provision of BS/BSEN numbers showing clear evidence of background reading. References are included at the end of the assignment. | 10 | 8 |
| 2. Knowledge and Understanding Skills |  |  |
| The report demonstrates very detailed methodology to cable calculations. All values used in the calculations are accurate, however, there are no BS7671 tables referenced within the calculations. Lighting calculations are relevant and accurate demonstrating a good understanding of the process. | 25 | 15 |
| 3. Cognitive and Intellectual Skills |  |  |
| The report shows good evidence of cable layout diagrams. ~There is good use of additional distribution boards/consumer units demonstrating the need for load designation and minimising voltage drops. However, this was not discussed in the report. There is good evidence of suitable protective devices being discussed and appropriate selection made. The report demonstrates a good knowledge of industrial electrical systems | 25 | 15 |
| 4. Practical Application Skills |  |  |
| The report shows a good arrangement of required circuits along with appropriate containment systems discussed and compared. Final selection of components is appropriate demonstrating a sound understanding of the practical aspects. Better reference to electrical regulations and guidelines could have been made. | 20 | 12 |
| 5. Transferable Skills for Life and Professional Practice |  |  |
| The overall layout and presentation of the report is good and shows a logical sequence, however, the use of a standard font would have improved the final presentation. The report is laid out neatly with relevant, accurate references made at the end of the report. | 20 | 12 |

| Assessment Mark (Assessment marks are subject to ratification at the Exam Board. These comments and marks are to give feedback on module work and are for guidance only until they are confirmed. ) | Late Submission Penalties (tick if appropriate) |  | 62% |
| --- | --- | --- | --- |
|  | Up to 1 week late (40% Max) |  |  |
|  | Over 1 week late (0%) |  |  |