	
	
	
	WINDOWS
	
	
	
	

	
	
	
	
	
	
	
	

	48/
	1.00

	_____

48.00

	External Windows: Steel windows (U- 1.6W/m2K), 

Purpose-made windows double glazed; powder coated
Size=(1.45mx7.05m)

Area= 7.05x1.45=10x48=480m2
WHEELCHAIR ACCESS DOORS

	
	
	
	

	2/
	1.00
	_____

2.00


	External Door: Stainless steel entrance screen and doors, purpose-made screen; double glazed with automatic doors 
Size=(1mx3m)
Area= 3x2=6m2

	
	
	
	

	
	
	
	ENTRANCE SCREEN DOORS FOR CAFE
	
	
	
	

	
	
	
	
	
	
	
	

	3/
	1.00

	_____
3.00

	External Door: Stainless steel entrance screen and doors, purpose-made screen; double glazed with manual doors
Size=(1.821mx2.175m)
	
	
	
	

	
	
	
	Area=1.82x2.175=4x3=12m2
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	REVOLVING DOORS
	
	
	
	

	
	
	
	
	
	
	
	

	2/
	1.00
	_____

2.00

	External Door: Automatic revolving door, Structural glass. ASSA ABLOY automatic glass revolving door system providing hands operation and Hi-Tech functionality. Modern modular design comprising four door leaves, curved glazed outer walls, glass ceiling/canopy, compete with in-floor mounted operator and embedded digital control 3 or 4 wings 1800 mm dia., 2200mm internal height.
Size= (2.45mx3m)
	
	
	
	

	
	
	
	Area=2.45x3=7.40x2=15
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	INTERNAL FIRE DOORS
	
	
	
	

	88/
	1.00
	_____
88.00


	Standard fire doors; cellular core; softwood lining, softwood architrave; aluminium ironmongery (lockable, self-closure); painting or polishing; single leaf; Oak Veneered; 60 min fire resistance; polished.

Size=(0.76x2.04)
	
	
	
	

	
	
	
	RAINSCREEN/(FAÇADE)

North + South Elevation
	
	
	
	

	
	
	
	Aluminium; Reynoso rain-screen cladding, aluminium composite material cassettes with thermoplastic cores, back ventilated, including insulation, vapour control membrane and aluminium support system 4mm thick cladding; fixed to walls


	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	North Elevation
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	B
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	2/0.5/
	26.20
2.34


	____
61.308
	Area of A
	
	
	
	

	2/
	7.60

26.20
	______

398.24
	Area of B


	
	
	
	

	
	
	61.00
460.00


	North Elevation multiplied by two is = total area of North and south elevation with doors.
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	12.00
15.00

6.00
	_____
	The total area of all external doors

	
	
	
	

	
	
	33.00

	
	
	
	
	

	
	
	460.00
(33.00)
427.00

	The total area of North and South Elevation without doors= the subtraction of all external door areas.

 
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	West + East Elevation
	
	
	
	

	
	
	
	Clay; Terracotta clay rain-screen cladding; including insulation, vapour control membrane and aluminium support system. 

400x200x30mm tile fixed to walls 


	
	
	
	

	2/
	7.60
76.00
	______
	The total area of the west Elevation with windows
	
	
	
	

	
	
	1155.00

	East and West elevation = to West elevation x 2
	
	
	
	

	
	
	1155.00
(480.00)

	The total area of East and West elevations without windows
	
	
	
	

	
	
	675.00

	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


