To Evaluate the Extent that Green Roofs Reduce Pollutant Concentrations in Urban Water Runoff Compared with Traditional Roofing Systems

[Document subtitle]

Tomos butterworth

2409888

Civil Engineering

Abstract

Rapid Urbanisation has had a detrimental impact on the quality of urban water runoff, and pollutant concentration, contributing to nutrient enrichment and metal contamination in surrounding waterways. Green roofs have been found to be a sustainable and reliable drainage method in South Wales, yet their runoff water quality remains under researched. Green roofs are natural contaminant sinks that are engineered into buildings to slow down the flow of rainwater (Cope, 2025). This report evaluates the extent to which vegetated roofs reduce concentrations of contaminants, such as nitrates, phosphates, and heavy metals in urban water runoff compared with traditional, impermeable roofs in South Wales.

Table of Contents

1.0 Introduction

1.1 Background of the Study

1.2 Research Questions

1.3 Aims / Objectives of the Study

2.0 Literature Review

2.1 Review of Relevant Literature

2.2 Gaps in Current Research

2.3 How the Research Will Address These Gaps

3.0 Research Design and Methodology

3.1 Research Design

3.2 Data Collection Methods

3.3 Sampling Methods

3.4 Data Analysis Plan

3.5 Ethical Considerations

4.0 Timeline

5.0 Expected Outcomes

6.0 References

7.0 Annotated Bibliography

1.0 Introduction

1.1 Background of the Study

The Precipitation Map of Wales (DataMapWales, 2024)

by 2050, it is predicted that two thirds of the world’s population will be concentrated in urban areas (Kundu and Pandey, 2020). It is critical that the runoff water leaving these urban areas is as clean and pure as possible. With rainfall increasing, this issue is having a detrimental impact of urban areas in south Wales.

In September 2025, Wales recorded 174% of its average September precipitation, placing significant stress on existing infrastructure (Met Office, 2025). This was shown by flash flooding events in September 2025, which affected communities in Cwmbwrla and surrounding areas, resulting in substantial property damage and major disruption to traffic routes (Jones, 2025). This issue was further exacerbated due to the number of impermeable surfaces in urban areas, stopping most soil infiltration, directing the runoff towards the sewer

How Sewage Spills into Waterways (River Action, 2024)

s.

With an increase in rainfall over the last few years, the frequency that water companies, such as Welsh Water, release raw sewage into waterways has also rapidly increased. During heavy rainfall, rainwater mixes with raw sewage in the sewers in a system known as a combined sewage system (CSS). (Chaplin, 2020). These CSS were made over 100 years ago during the Victorian era (Welsh Water, n.d) being designed for a much smaller population. When a heavy downpour occurs, the CSS release overflow via combined sewage overflows (CSO) to prevent sewage flowing back into properties (Welsh Water, n.d). In 2024, Welsh Water’s CSS’s released raw sewage 118,276 times, for a total of 968,340 hours (Surfers Against Sewage, 2025). This is the equivalent of over 110 years’ worth of sewage discharge, including unpermitted and emergency overflows (Surfers Against Sewage, 2025).

There are two main categories of green roofs: extensive green roofs, and intensive green roofs (CIRIA, 2015). Extensive roofs have more shallow substate depth, usually only as deep as 20-150mm, having less of a loading effect on the structure, whereas intensive roofs have a much deeper substate level, therefore greater loading on the building (CIRIA, 2015). Intensive green roofs can support a wider range of vegetation, but do require much more intensive maintenance and management to ensure its efficiency (CIRIA, 2015).

The layers of a typical green roof (Mihalakakou et al, 2023)

Integrated green roofs usually consist of 6 main components: vegetation layer, solid layer, filter layer, drainage material, root barrier, and waterproof layer (Mihalakakou et al, 2023).

- The vegetation layer is the lifeform of the roof, growing the plants needed to create a successful filter (Vijayaraghavan, 2016).

- The solid layer, also known as the substrate layer, consists of both solid, and fluid elements, containing air, organic substances, and water (Perivoliotis et al, 2023).

- The role of the filter layer is to separate soil and drainage material (Mihalakakou et al, 2023).

- The drainage material provides the balance between air and water, improving the thermal insulation of the building (Powers, 2024).

- The roof barrier is introduced as a precaution to protect the green roofs waterproof layer, being designed to protect against aggressive root growth, which can damage the felt waterproofing membrane (The Green Roof Company, n.d)

- The waterproof layer, or waterproof membrane, acts as a final barrier to stop moisture seeping into the structure, which can cause structural damage, and mould growth (Steve, 2025)

Ensuring high-quality runoff is necessary as rainfall in Wales and the wider UK can contain harmful pollutants, including nitrates, phosphates, heavy metals, and persistent ‘forever chemicals’, which pose risks to sewerage infrastructure and aquatic ecosystem. This research will examine the ability of green roofs to filter these pollutants and, subsequently, enhance the overall water quality.

Urbanisation has seen an increase of the proportion of impermeable surface, such as roofs, pavements, and roads, which prevents runoff water infiltering the soil and directs the water rapidly into already overwhelmed sewage systems or to nearing waterways.

A comparison within Utrecht, Netherlands, from the 1980s and 2022 after a successful greenery restoration project (Proctor, 2023).

In response to these issues, sustainable urban drainage systems (SuDS) have become an increasingly popular solution across the United Kingdom, and more recently South Wales due to its climate with the aim to manage stormwater runoff and reduce the environmental impact of urbanisation. SuDS are representative of a significant shift in how water runoff is managed across the UK, implementing a natural and integrated approach that can emulate the environment’s ability to slow the flow of runoff water, promoting ground infiltration (Monachese et al, 2025). One method of SuDS that has become increasingly popular in urban areas are green roofs. Green roofs are designed as an “artificial ecosystem”, as described by Mihalakakou et al (2023). They have, in research, been found to improve environmental markers, such as air quality, heat island effect- which is a phenomenon where urban areas experience a hotter climate compared with surrounding rural areas due to human activity (Hao et al, 2025) and most importantly to south Wales, water runoff quality (Mihalakakou et al, 2023).

1.2 Research Questions

To evaluate the extent green roofs reduce pollutant concentrations, including nitrates, phosphates, and heavy metals in urban water runoff compared with traditional roofing systems in south Wales.

1.3 Aims/ Objectives of the Study

To compare concentrations of key pollutants (nitrates, phosphates, and selected heavy metals) in runoff from green roofs and traditional roofs.

1.3.1 Study Objectives

To identify and characterise the heavy metals and contaminants-such as zinc, copper, and nickel-most frequently reported in urban roof runoff.

To analyse the influence of design- such as substrate type and depth, vegetation type and drainage configuration- on the filtration of rainwater and retention of impurities.

To conduct a comparative analysis of rainwater runoff quality between traditional and green roofs in South Wales, with a particular focus on the presence of heavy metals and other impurities as documented in relevant literature.

To critically analyse methodological and study limitations in relevant literature focusing on heavy metals in roof rainwater runoff.

2.0 Literature Review

2.1 Introduction

Wales largest green roof, at 1.1 acres upon the Amy Dillwyn Carpark, Swansea (Swansea Council, 2024)

Research into the implementation of green roofs in urban areas has increased exponentially over the previous ten years, particularly in managing diffuse urban pollution (pollution from multiple sources) (CIRIA, 2015). Much of the research is focused on green roofs ability to reduce the quantity of water runoff, however, focus is beginning to shift towards the quality of the runoff, including research from Marín et al (2023), Mihalakakou et al (2023) and Baryła et al (2023). This literature review will aim to analyse current research regarding the quality of urban water pollution, and the effectiveness of green roof systems in reducing pollution concentrations, including nitrogen, phosphorus, and other common heavy metal pollutants. This literature review also aims to address gaps seen in the current literature regarding the runoff water quality in urban areas using green roofs in South Wales, having a differing climate to locations used in the current literature, such as Asia, and Central Europe.

2.2 Urban Runoff Pollution

Castle gardens, Swansea, in the 1980s (Pinterest, n.d) compared to 2019 (Dalling, 2019) showing an increase in impermeable surfaces.

As of 2022, 247 billion m² of the world was estimated to be covered by roofs, which is only expected to increase (Charters et al, 2025). Traditional roofing in the United Kingdom, especially in South Wales, are seen as a significant source of pollution due to their impermeability. Traditional roofing, including roofing made using natural materials such as slate, metal, clay tiling and concrete tiling and man-made roofing using materials, such as ethylene propylene diene monomer (EPDM) and glass reinforced plastic (GRP) (Bennett, 2025) are naturally impermeable, often redirecting contaminated water runoff directly to receiving waterbodies. Pollutants that are routinely mentioned in current research include nitrogen and phosphorus, as described by De Buyck et al (2021). Traditional metal roofing has been found in research to leach heavy metal- such as zinc and copper- during heavy rainfall, directing them towards waterways, causing long-term damage to aquatic life (Charters et al, 2025). These impermeable surfaces usually flow onto other impermeable surfaces, such as roads and pavements before being flushed into sewers. These surfaces are contaminated with traffic emissions, which release chemicals, such as Carbon Dioxide, Carbon Monoxide, and Nitrogen Oxides, onto road and roof surfaces before being washed into rivers and other waterways during heavy rainfall events.

These high quantities of nitrogen can further contribute to the eutrophication of waterways. (Institute for Environmental Research and Education, 2025). Eutrophication is the enrichment of water bodies with excess nitrogen and phosphorus which promotes algal blooms, blanketing the water surface and limiting sunlight, ultimately damaging aquatic ecosystems and negatively effecting the  water quality (Oluwaseun Akinnawo, 2023). Improving runoff water quality from urban surfaces represents a critical challenge for sustainable urban water management.

2.3 Hydrological benefits of green roofs (go from here)

The reduction of runoff volume has direct correlation to improving water runoff quality, making it a crucial consideration for the overall evaluation into their effectiveness. By reducing the volume and the rate of flow of runoff water, research from Ercolani et al (2018) showed that green roofs can influence the transport of pollutants within stormwater runoff, showing it can be a viable and effective method to reducing pollutant concentrations. Research into the ability of green roofs in reducing the volume of water runoff and its ability to delay peak flow during storm events is extensive, including research from Leite and Antunes (2023). The reduction of runoff can be achieved by retaining water between the vegetation and solid layer, temporarily storing the water before releasing it gradually and slower into sewers (Environmental Agency, 2025).

2.4 Pollutant removal in green roofs

2.4.1 Nitrogen

Green roof after installation vs nine months after installation (Lim, 2023)

literature has indicated that green roofs, and other vegetated roofs, can reduce nitrogen concentrations below the regulatory standard through the process of plant uptake within the green roof, reducing nutrient enrichment (Marín et al, 2023), (Karczmarczyk et al, 2018).  Nutrient enrichment has commonly been found to cause eutrophication in waterbodies, causing serious and lasting damage to the environment. Marín et al (2023) found that the concentration of nitrogen was heavily dependent on the type of plant, the age of the green roof, and its maintenance. Other literature has found that green roofs can sometimes act as a source of nitrogen, rather than a sink, including research from Gong et al (2021). The discussion of sink vs source has been discussed in detail in research, including from Wang et al (2017). A sink green roof retains and then removes pollutants whereas a source green roof contributes to the pollutants found in the runoff, being a nett negative to the environment (Wang et al, 2017). When green roofs are first introduced, it is common for there to be a ‘flush’ of nitrogen, with the levels eventually dropping. Research conducted by Lim (2023) found that after the green roofs installation, nitrogen concentration in the runoff was found to be 0.08-100 mg/L whereas, one year after installation, the levels dropped to 0.05-7 mg/L.

2.4.2 Phosphorus

Research into phosphorus concentrations in green roof runoff provide contrasting results. Literature published by Marín et al (2023), and Karczmarczyk et al (2018) report that green roofs can act as a source of phosphorus, similar to nitrogen, rather than a sink,, which can potentially negatively contribute to nutrient enrichment in receiving waterbodies. While much of the current literature reports phosphorus leaching from green roof structures, others suggest phosphorus concentrations in runoff can be comparable to conventional roofs overtime, and that the ‘phosphorus flush’ is a temporary issue faced in the first few months and years of its life cycle (Cheng et al, 2022) dependant on the type, condition, and age of the green roof. Due to variations in results found in current literature, greater research must be undertaken to give definitive results.

2.4.3 Heavy Metals

Heavy metals, such as zinc, copper, and nickel, are commonly found in urban water runoff, as zinc and copper are commonly used in urban roofing in the UK (Zinc and Copper Works, 2025). Heavy metals are toxic to plant and animal life in waterbodies, and negatively affect human health (Marín et al, 2023).

Metal roofs, particularly zinc and copper roofs, are a significant source of heavy metal pollution due to their corrosion in heavy rainfall periods (Galster and Helmreich, 2022). Green roofs have been implemented to help retain heavy metals, but prominent research has found varying results. Later research conducted by Karczmarczyk et al (2020) found that green roofs can release detectable amounts of copper and zinc after being exposed to water, showing that green roofs may not be efficient at filtering out copper and zinc from rainwater. Furthermore, the same research found highly elevated levels of nickel from certain roofing aggregate material, including red brick, finding levels four times above the testing limit, showing that the type of aggregate used in the roof can affect the removal of metals in green roofs (Karczmarczyk et al, 2020). In contrast, green roofs have been found to ask as a sink for heavy metals, reducing concentrations of zinc by around 99%, copper by 98%, and nickel by 76% (Vijayaraghavan and Joshi, 2014). In much of the current literature, green roofs were found to reduce metal loading in runoff water, compared to corroding metal roofs. However, their performance has been found to vary between research, being heavily dependent on factors such as vegetation type, maturity of the roof, and environmental conditions, such as rainfall intensity.

2.5 Gaps in Research

Despite the growing research into green roofs effectiveness into improving runoff quality, research into climates, such as South Wales, remains under-researched. Much of the existing research is focused on mainland Europe, such as Karczmarczyk et al (2018) (2020) Asia, and North America, which differ drastically from the climate in South Wales. Furthermore, literature published reports inconsistent findings, especially regarding heavy metals. Karczmarczyk et al (2020) states that green roofs aren’t effective in reducing copper and zinc levels in runoff, whereas (Vijayaraghavan and Joshi, 2014) reports a 99% decrease zinc, and a 98% decrease in copper levels. In current research, there is a lack of long-term, in-situ examples of how green roofs behave, especially in coastal areas with abundant rainfall, such as South Wales. Precipitation tests in laboratory do not saturate the green roof such as what would occur with real rainfall due to rainfall intensity varying greatly. Another gap in research is a lack of research comparing green roof urban runoff and traditional roof urban runoff, especially in South Wales. This makes it difficult to draw conclusions from the literature.

2.5.1 How This Research Will Adress the Gaps

This research aims to address these gaps in current literature by producing a comparative analysis of runoff quality from green roofs in urban environments and traditional roof systems in South Wales. By analysing pollutants, including nitrogen, phosphorus, and heavy metals under local South Wales conditions, this research will provide region specific data, which is lacking in current literature. This research will also consider key green roof factors, such as design, vegetation type, and drainage configuration, according to British building standards, helping to provide a South Wales and UK specific study. By directly comparing green roofs to traditional roofs, this research will aim to offer a sustainable option to improve runoff quality, while addressing inconsistencies in the current literature, particularly in the findings published regarding heavy metals.

3.0 Design and Methodology

3.1 Research Design

This research will adopt a quantitative, comparative design, aiming to evaluate the extent to which green roofs reduce pollutant concentrations in urban runoff compared to conventional roofing systems. Field experiments will be undertaken, collecting and analysing runoff from different roofing systems under varying, natural conditions. This design will allow for different quality markers to be tested, including nitrogen, phosphorus, and heavy metals, allowing for comparison between green roofs and traditional roofs (CIRIA, 2015).

A comparison is important due to inconsistencies found in existing literature, many finding that green roofs act as a sink for contaminants, and many finding it to be a source depending on the type of green roof, roof age, and vegetation and substrate type. By conducting a comparative analysis of runoff from both roof types, it allows for a more location- specific conclusion. This is due to an under-representation of South Wales in current literature, results found in different, dryer climates may not be relevant to a coastal, inclement environment.

3.2 Data Collection Methods

Data will be collected through field sampling, collecting the rain from green roofs, and conventional roofs during different rainfall intensities. The data will be collected from designated collection points, meaning that the data collected is consistent. Ensuring that the containers used to collect the runoff is clean and sterile is a crucial step, as any pollutants in the collection containers can affect the sample analysis. The sample must be collected, and stored according to British standards, keeping out of direct sunlight (Environment Agency, 2025).

To improve the reliability of the data, runoff water will be collected during different rainfall intensities, and duration. To test for heavy metal pollutants, atomic absorption spectroscopy (AAS) will be used as it is widely recognised for its ability to test water quality testing (Thomas, 2025) and for nutrient testing, UV-vis spectrophotometry (colorimetric tests) is appropriate due to its high level of accuracy (Mettler Toledo, n.d.). These methods must be undertaken according to British standards. Using the AAS and colorimetric test will give quantitative data, allowing for the comparison between the two roofing types.

In addition to testing for heavy metals and nutrients, testing for pH is also important as they can influence pollutant behaviour. This will allow for a comprehensive evaluation of green roof runoff quality.

3.3 Sampling Methods

It is important that the samples collected come from a South Wales climate, with differing environments. Using stratified sampling, grouping roofs by roof type (conventional and green roof), roof age, and substrate type, as these have all been found to affect runoff quality in existing literature. This insures a balanced, unbiased comparison. Selection for testing will take into consideration the size of the roof, and environmental conditions, ensuring a fair and balanced comparison between green roofs and traditional roofs.

When testing traditional roofs, it is important to test from multiple different sites. This will improve the reliability of the conclusions drawn, allowing for better generalisation. Furthermore, when testing green roofs, it is important to test green roofs with varying age, and design to investigate how these factors affect pollutant concentration in runoff in a south Welsh climate, comparing the findings to global literature.

3.4 Data Analysis Plan

Data analysis will be focusing on the comparison of pollutant concentrations in runoff between green roofs and traditional roofs in south Wales. Statistical methods of analysis will also be used to summarise the results, including calculating the concentration mean, ranges, and standard deviation of each sample, providing an overview of the data and allowing for the detection of anomalous results.

A comparative analysis will then be conducted, evaluating the extent to which green roofs reduce or increase pollutant concentrations in urban runoff water. Percentage differences between the two roof types will then be calculated, allowing for a clear comparison between the two. Results will then be presented graphically to display differences in pollutant concentrations and rainfall intensity from both roof types.

Furthermore, external factors, such as rainfall patterns and intensity, roof and green roof age, and substrate, must be considered during analysis.

References

Chaplin, P. (2020) ‘Combined Sewer Overflows Explained’, Environmental Agency. Available at https://environmentagency.blog.gov.uk/2020/07/02/combined-sewer-overflows-explained/ (Accessed: 13 March 2026).

CIRIA (2015) The SuDS manual (C753). London, CIRIA, p51.

Cope, L. (2025) ‘What Are Green Roofs and How Do They Work?’, Engineer Fix. Available at https://engineerfix.com/what-are-green-roofs-and-how-do-they-work/ (Accessed: 2 March 2026).

Dalling, R. (2019) ‘How Swansea's Castle Square went from beautiful greenery to derided concrete crater’, Wales Online, 22 December. Available at https://www.walesonline.co.uk/news/wales-news/castle-square-swansea-history-past-17427107 (Accessed: 23 March 2026).

DataMapWales (2024) Annual Precipitation. Available at https://datamap.gov.wales/layers/geonode:annual_precipitation (Accessed: 30 October 2025).

Environmental Agency (2025) MCERTS standard for organisations undertaking sampling and chemical testing of water. Available at https://assets.publishing.service.gov.uk/media/688b5bbc2c36111a67d5b80a/MCERTS_standard_for_organisations_sampling_and_chemically_testing_water.pdf (Accessed: 7 April 2026).

Hao, M. Liu, X. and Li, X. (2025) ‘Quantifying heat-related risks from urban heat island effects: A global urban expansion perspective’, International Journal of Applied Earth Observation and Geoinformation, 136. Available at https://www.sciencedirect.com/science/article/pii/S1569843224007027 (Accessed: 11 March 2026).

Jones, B. (2025) ‘Flash-flooding leaves cars submerged under water at Swansea roundabout’, Wales Online, 14 September.  Available at https://www.walesonline.co.uk/news/wales-news/flash-flooding-leaves-cars-submerged-32474669 (Accessed 30 October 2025).

Kundu, D. and Pandey, A. K. (2020) ‘World Urbanisation: Trends and Patterns’ Developing National Urban Policies. Available at https://link.springer.com/chapter/10.1007/978-981-15-3738-7_2 (Accessed: 19 March 2026).

Met Office (2025) September 2025 weather stats: A regional breakdown. Available at https://www.metoffice.gov.uk/blog/2025/met-office-weather-stats-for-september-2025  (Accessed: 30 October 2025)

Mettler Toledo (n.d.) UV/Vis Water Testing. Available at https://www.mt.com/us/en/home/applications/Application_Browse_Laboratory_Analytics/uv-vis-spectroscopy/uv-vis-water-testing.html (Accessed: 7 April 2026).

Monachese, A.P. Gómez-Villarino, M.T. López-Santiago, J. Sanz, E. Almeida-Ñauñay, A.F. and Zubelzu, S. (2025). ‘Challenges and Innovations in Urban Drainage Systems: Sustainable Drainage Systems Focus’. Water, 17(1). Available at https://www.proquest.com/docview/3153865861/fulltext/CEBEE926F4AF4BE2PQ/1?accountid=130472&sourcetype=Scholarly%20Journals (Accessed: 11 March 2026).

Perivoliotis, D. Arvanitis, I. Tzavali, A. Papakostas, V. Kappou, S. Andreakos, G. Fotiadi, A. Paravantis, J.A. Souliotis, M. and Mihalakakou, G/ (2023) ‘Sustainable Urban Environment through Green Roofs: A Literature Review with Case Studies’ Sustainability, 15(22). Available at https://www.mdpi.com/2071-1050/15/22/15976 (Accessed: 21 March 2026).

Pinterest (n.d) ‘Castle Gardens Swansea’. Available at https://uk.pinterest.com/pin/castle-gardens-swansea--198580664794540674/ (Accessed: 23 March 2026).

Powers, C. (2024) Green Roof Drainage: Systems, Design & Materials. Available at https://polyguard.com/blog/green-roof-drainage (Accessed: 22 March 2026).

Proctor, S. (2023) ‘City's stark before-and-after photos reveal unrecognizable highway transformation: 'Best thing I've seen all week' ‘The Cool Down. Available at https://www.thecooldown.com/green-business/utrecht-netherlands-highway-transformation/ (Accessed: 11 March 2026).

River Action (2024) Chronic Underinvestment, Consistently Poor Regulation, and Reckless Profiteering Have Led to the Infestation of our Rivers with Sewage. Available at https://kit.riveractionuk.com/sewage/ (Accessed: 13 March 2026).

Steve, R. (2025) ‘Roof Waterproof Membranes for Greenery: A Comprehensive Guide’ Roof Home, May 30. Available at: https://roof-home.com/roof-waterproof-membranes-for-greenery/ (Accessed: 13 April 2026).

Surfers Against Sewage (2025) Water Quality Report ‘25. Available at https://www.sas.org.uk/wp-content/uploads/2025/04/SAS-WQR25-V6-Digital.pdf (Accessed: 14 March 2026).

Swansea Council (2024) Swansea's newest park is in fact Wales's largest green roof. Available at https://www.swansea.gov.uk/citynatureamydillwynpark?lang=en (Accessed: 23 March 2026).

The Green Roof Company (n.d) Root Barrier Foil. Available at: https://thegreenroofcompany.co.uk/product/root-barrier-foil/ (Accessed: 13 April 2026).

Thomas, R. (2025) Atomic Absorption Spectrophotometry (AAS): Principles, Instrumentation, and Comparisons with Other AS Techniques. Available at https://www.sepscience.com/atomic-absorption-spectrophotometry-aas-principles-instrumentation-and-comparisons-with-other-as-techniques-12134 (Accessed: 7 April 2026).

Van Noorden, R. (2014) Online collaboration: Scientists and the social network, Nature. Available at https://www.nature.com/news/online-collaboration-scientists-and-the-social-network-1.15711 (Accessed: 25 November 2025).

Vijayaraghavan. K, (2016) ‘Green roofs: A critical review on the role of components, benefits, limitations and trends’ Renewable and Sustainable Energy Reviews, 57. Available at https://www.sciencedirect.com/science/article/pii/S1364032115015026#s0050 (Accessed: 21 March 2026).

Welsh Water (n.d) Combined storm overflows. Available at https://corporate.dwrcymru.com/en/community/environment/combined-storm-overflows (Accessed: 13 March 2026).

7.0 Annotated Bibliography of Literature Review

Baryła, A. Karczmarczyk, A. Bus, A. and Sas, W. (2024) ‘Water retention and runoff quality of a wildflower meadow green roof with different drainage layers’, Ecohydrology & Hydrobiology, 24(3). Available at https://www.sciencedirect.com/science/article/pii/S1642359323001386? (Accessed: 19 March 2026).

This study focuses on water retention, and runoff quality of a green roof vegetated with wildflower meadow with specific research into how different drainage layers influence runoff quality. This research provides data that demonstrates that different drainage layers can have significant effects on hydrological performance and pollutant reduction. This research paper focuses on one specific variable, offering detailed insight on how green roofs can be best optimised. As a recent, up-to-date, research paper, this data can be applicable to this research. However, as the green roofs were tested under specific conditions, the rainfall intensity and pattern may vary greatly from a local climate, limiting its direct applicability. Furthermore, the research is shorter-term, restricting an understanding of long-term results, limiting time that variations can occur.

Bennett, O. (2025) ‘Exploring Traditional UK Roofing Materials: Historical Insights and Modern Applications’ Online Roofing Services. Available at https://onlineroofingservices.co.uk/blog/exploring-traditional-uk-roofing-materials (Accessed: 1 April 2026).

This online article discusses an overview of different materials used in traditional roofing, including slate, metal and other man-made alternatives, with a focus on historical background, and application. This webpage helps to give a historical background to different types of conventional roofing in the UK, especially regarding different types of material, and different usage. However, as this isn’t an academic journal with no references listed, its information has no research background, making its information partially unreliable, in particular assessing water quality. The information given is useful to understand a background in UK roofing, however, it should be supported with academic, peer-reviewed sources.

Charters, F.J. Javid, L. Cochrane, T. A. and Gaw, S. K. (2025) ‘Heavy metal pollutant contributions from roofing materials: A systematic review of pollutant generation processes, influencing factors and quality of roof runoff’ Journal of Hazardous Materials Advances, 19. Available at https://www.sciencedirect.com/science/article/pii/S2772416625002803 (Accessed: 19 March 2026).

This research reviews heavy metal concentrations leaching from different roofing materials, discussing different variables that influence contaminant concentration in urban roof runoff. It focuses on key contaminants, such as lead, zinc, and copper, which are important to this research, comparing them against different environmental conditions that affect leaching behaviour. As a recent piece of research, it provides up to date information in a constantly evolving field. However, as it focuses on secondary information from different climates limits its relevance to a south Welsh climate. This research offers a comprehensive comparison to using alternative roofing systems, such as green roofs, to improve water runoff quality.

Cheng, Y. Vaccari, A. Johannesson, B.G. and Fassman-Beck, E. (2022) ‘Multiyear Study on Phosphorus Discharge from Extensive Sedum Green Roofs with Substrate Amendments’, Journal of Sustainable Water in the Built Environment, 8(4). Available at https://researchwith.stevens.edu/en/publications/multiyear-study-on-phosphorus-discharge-from-extensive-sedum-gree/  Accessed: 6 March 2026).

This study investigates phosphorus discharge from extensive green roofs over the long-term, with a focus on how changing the substate can influence runoff quality. This research shows data that shows phosphorus leaching can change over the long-term, and how picking the correct substate can influence the runoff quality. This piece of research is particularly crucial to understanding long-term effects of green roofs, something often under-researched in current literature. As a peer-reviewed study, it helps to assure that the research is reliable. However, as the green roof was testing under experimental conditions, the rainfall variation and unpredictability may not be reflective of real- world conditions. Furthermore, its focus on phosphorus ignores other markers of water quality. This research does provide crucial long-term research into phosphorus discharge from green roofs, and how to optimise extensive systems.

CIRIA (2015) The SuDS manual (C753). London, CIRIA, p51.

This document contains regulatory framework for the design and maintenance of sustainable urban drainage systems (SuDS), including green roofs, with focus on runoff quality, quantity and pollutant regulation. This document provides information showing that green roofs can have a positive impact on runoff quality, reducing pollutant concentrations greater than traditional roofs. The SuDS manual comes from an authoritative source and is commonly used in practice, providing guidance collected from research. However, as it has a greater focus on guidance, it lacks the ability to be applied to real-life, site-specific cases due to variability in precipitation and long-term changes in the systems behaviour. Furthermore, its guidance-focused approach has less of an emphasis on longer term performance. It is still a fundamental piece of research in a UK context to understand SuDS.

De Buyck, P. J. Van Hulle, S.W.H. and Dumoulin, A. (2021) ‘Roof runoff contamination: a review on pollutant nature, material leaching and deposition’ Reviews in Environmental Science and Bio/Technology. Available at https://link.springer.com/article/10.1007/s11157-021-09567-z  (Accessed: 19 March 2026).

This research papers discusses roof water runoff concentrations, with a particular focus on different pollutant types, and different material leaching conditions. This research discusses pollutants, such as different types of heavy metals detected, and different types of organic deposition, showing that roofing materials, and environmental conditions can affect runoff quality. This research is useful for understanding pollutants in urban water runoff, being a strong, recent, scientific source. However, as a wide-reaching, internation synthesis of existing research, the results may not be directly relevant to a UK, and south Wales, due to differing climatic conditions and regulations. Furthermore, while it does discuss pollutant contamination in detail, it lacks detail discussing alternatives, such as green roofs, possibly limiting its application to this report. This, however, is a strong source of information which should be assisted with UK sources of information.

Environmental Agency (2025) Run-off management. Available at https://www.gov.uk/government/publications/natural-flood-management-evidence/run-off-management  (Accessed: 28 March 2026).

This governmental resource discusses different water management practices in flood management, using the Environment Agency’s research as evidence. It provides different techniques to reduce runoff, including natural examples. This resource is useful due to a focus on the UK, allowing for conclusions to be drawn with aligned legislation. Compared with non-academic sources, its evidence-based approach enhances its reliability. However, the focus of the resource is policy-based with limited analysis of individual systems. Furthermore, the information provided are summarised, rather than primary, raw data. In conclusion, it is a reliable source based in the UK in flood management.

Ercolani, G. Chiaradia, E.A. Gandolfi, C. Castelli, F. and Masseroni, D. (2018) ‘Evaluating performances of green roofs for stormwater runoff mitigation in a high flood risk urban catchment’, Journal of Hydrology, 566. Available at https://www.sciencedirect.com/science/article/pii/S0022169418307443 (Accessed: 25 March 2026).

This research paper discusses how green roofs can mitigate stormwater runoff in urban regions uses different reduction techniques. This research from Ercolani et al 2018 shows that green roofs can reduce runoff volume, whilst delaying peaks, showing that they can be efficient in urban water management. As it provides quantitative data, it is an important piece of research to support the incorporation of green roof infrastructure. However, it used a modelling simulator to assume rainfall and conditions, possibly not being relevant to real world conditions. Furthermore, it has less of a focus on quality, and a greater emphasis on hydrology, limiting the research to green roofs ability to reduce pollutants. To conclude, this comprehensive research provides insight into green roof mitigation, which can affect quality.

Galster, S. and Helmreich, B. (2022) ‘Copper and Zinc as Roofing Materials—A Review on the occurrence and Mitigation Measures of Runoff pollution’, Water, 14(3). Available at https://www.mdpi.com/2073-4441/14/3/291#Characterization_of_Metal_Roof_Runoff  (Accessed: 29 March 2026).

This paper reviews the presence of zinc and copper in roof runoff, looking into mitigation, and leaching. It investigates zinc and copper roofing, and how they can be a significant source of heavy metal pollution, due to weathering, and different atmospheric conditions. This research paper is particularly useful to understand different pollutant mechanisms, and mitigation strategies, having both scientific and practical methods. This study is from international sources, possibly limiting its application to a UK climate. However, as it is peer- reviewed study, it can be seen as reliable. However, as its direct focus is on heavy metals, it doesn’t consider other pollutants such as nitrogen and phosphorus. This research paper does offer detailed insight into heavy metal pollution from traditional roofing, and how to optimise roofing.

Gong, Y. Zheng, X. Li, H. Zheng, X. He, S. and Miao, Y. (2021) ‘A comparison of the growth status, rainfall retention and purification effects of four green roof plant species’, Journal of Environmental Management, 278. Available at https://www.sciencedirect.com/science/article/abs/pii/S0301479720313761? (Accessed: 28 March 2026).

This research compares the performance of four varying green roofs vegetation, testing the growth, water retention, and pollutant removal. It provides first hand, experimental data, that shows vegetation type can have a significant impact on water runoff quality. This paper provides a valuable insight into the optimisation of green roof design, helping to see which vegetation type allows for the purest water runoff. As this is a peer-reviewed study, the paper provides reliable information. However, as the research is under controlled conditions, its direct application to a UK climate is limited. Overall, it provides valuable information into vegetation, and the role the correct vegetation plays on green roofs.

Institute for Environmental Research and Education (2025) What Pollution Do Cars Emit?. Available at https://iere.org/what-pollution-do-cars-emit/ (7 March 2026).

This online source discusses which pollutants are commonly emitted by traffic, which includes nitrogen oxides, and carbon monoxide. This source is useful for an overview of common urban pollutants that accumulate on roads before entering waterways, and its original source. However, this is not an academic source and uses US fuel efficiency standards, limiting its application to a UK- based environment with different regulations. Furthermore, it doesn’t provide references for its information, with no peer- reviews, potentially lowering its reliability to research. This, however, is a useful source of information, allowing for an understanding of how different road chemicals accumulate in waterways, even though this must be supported by UK- based journals.

Karczmarczyk, A. Bus, A. and Baryła, A. (2018) ‘Phosphate Leaching from Green Roof Substrates—Can Green Roofs Pollute Urban Water Bodies?’ Water, 10(2). Available at https://www.mdpi.com/2073-4441/10/2/199  (Accessed: 6 March 2026).

This study is crucial to understanding green roofs, and their role in nutrient leaching which contributes to urban pollution. It publishes evidence showing that certain vegetation can release phosphorus, particularly in certain weather conditions, raising many concerns. This paper offers an alternative view to pre-conceived assumptions, showing that green roofs don’t always positively affect urban runoff, providing a more balanced view. As a peer-reviewed study, it can be seen as reliable. However, the testing on the green roofs were under a controlled environment, which may not be able to accurately reflect the real world conditions. Furthermore, as the testing is in an isolated environment, its direct application to south Wales is limited. Overall, this research provides an important insight into nutrient leaching and gives a different viewpoint to consider.

Karczmarczyk, A. Baryła, A. Fronczyk, J. Bus, A. and Mosiej, J. (2020) ‘Phosphorus and Metals Leaching from Green Roof Substrates and Aggregates Used in Their Composition’ Minerals, 10(2). Available at https://www.researchgate.net/publication/338880920_Phosphorus_and_Metals_Leaching_from_Green_Roof_Substrates_and_Aggregates_Used_in_Their_Composition  (Accessed: 29 March 2026).

This literature investigates phosphorus and heavy metal leaching from green roofs, with a focus on the effect this has on runoff quality. Testing conducted found that different substrate and vegetation can have a significant impact on heavy metal, and phosphorus concentrations, highlighting the importance of selecting the correct material type. This paper is important to help understand how different components in a green roof can lead to pollutant leaching, helping to understand green roofs don’t always improve runoff. As the research has been peer-reviewed, the information provided is reliable. However, the testing was conducted under controlled conditions, differing from the variation of weather in green roofs in south Wales, meaning that it may not be directly applicable as testing in south Wales is under-researched. Controlled conditions may also not be able to reflect long-term conditions on an in-situ green roof. This source provides valuable information showing how important each component of a green roof is to reduce pollutant concentrations.

Lim, H. S (2023) ‘What happens to nitrogen and phosphorus nutrient contributions from green roofs as they age? A review’, Environmental Advances. Available at https://www.sciencedirect.com/science/article/pii/S2666765723000261  (Accessed: 28 March 2026).

This paper reviews how green roofs efficiency change over time, with a focus on nitrogen and phosphorus. It goes into detail describing how green roofs initially release nutrient, but as the vegetation matures, the release stabilises. This paper is important to understand how green roof performance can vary over time, a topic often overlooked in current literature. As a recently accepted piece of literature, it offers up-to-date information useful to this research. However, the research used comes from international sources, possibly affecting its application to a south Wales climate. Furthermore, the variation in results mean that drawing conclusions can be difficult. Overall, this research gives valuable information regarding green roof performance overtime in reducing pollutant loads.

Marín, C. El Bachawati, M. and Pérez, G. (2023). ‘The impact of green roofs on urban runoff quality: A review’, Urban Forestry & Urban Greening, 90. Available at https://www.sciencedirect.com/science/article/pii/S1618866723003096#ab0020  (Accessed: 6 March 2026).

This paper reviews existing literature on green roofs, and the impact they have on urban runoff quality, with the focus being on the sink or source effect. It discusses pieces of literature that have a variation in findings, including how phosphorus, nitrogen, and heavy metals can vary depending on vegetation type, age and maintenance. This research paper is important to highlight a lack of agreement in results of other existing literature, emphasizing differences in methodology, and measurement. As this research is a review of global literature, is covers different climates and regulations, possibly being difficult to apply to a south Wales climate. As this paper was published in 2023, its information is recent and relevant. While this research paper does discuss green roof runoff quality extensively, more regionally specific research is required.

Leite, F. R. and Antunes, M. L. P. (2023) ‘Green roof recent designs to runoff control: A review of building materials and plant species used in studies’, Ecological Engineering, 189. Available at https://www.sciencedirect.com/science/article/pii/S0925857423000332  (Accessed: 2 April 2026).

This research describes the design of green roofs to control runoff, particularly focusing on hydrology, which is less important yet still relevant. It shows how different vegetation and substrate can affect water retention and decrease runoff speed. This research is important as it identifies key factors that affect green roof effectiveness, with a combination of different sources. However, this broad research is a limitation as it is taken from many international sources, which may not be directly relevant to the United Kingdom, and south Wales. Overall, it offers a detailed insight into design the optimal green roof to control runoff.

Mihalakakou, G. Souliotis, M. Papadaki, M. Menounou, P. Dimopoulos, P. Kolokotsa, D. Paravantis, J. A. Tsangrassoulis, A. Panaras, G. Giannakopoulos, E. and Papaefthimiou, S. (2023) ‘Green roofs as a nature-based solution for improving urban sustainability: Progress and perspectives’, Renewable and Sustainable Energy Reviews, 180. Available at https://www.sciencedirect.com/science/article/pii/S1364032123001624#abs0015  (Accessed: 11 March 2026).

This review paper discusses green roofs, with a focus on their ability to act as an environmentally friendly solution to enhancing urban sustainability, considering factors such as social, and economic benefits, with a mention of runoff quality. It finds green roofs can improve water management, thermal performance, and biodiversity, which aren’t all applicable to this research paper. However, this research does provide relevant information as an up-to-date review of current research in the field of green roofs. However, as it is a synthesis of a wide range of information, it limits research in the topic of nutrient reduction in urban runoff. Furthermore, as the research focuses on many global studies, its application towards a south Wales climate is limited, due to different regulations and climates. Although it does provide a detailed review of a wide range of research papers, more region-relevant research is required.

Oluwaseun Akinnawo, S. (2023) ‘Eutrophication: Causes, consequences, physical, chemical and biological techniques for mitigation strategies’, Environmental Challenges, 12. Available at https://www.sciencedirect.com/science/article/pii/S2667010023000574#sec0001 (Accessed: 8 March 2026).

This research paper discusses eutrophication, going into detail of its causes, environmental impact, and mitigation measures. It is useful for providing information on nutrient pollution, especially from sources like phosphorus, and nitrogen and how they cause a deterioration of waterbodies. This paper combines many sources of information to create a comprehensive review, helping to understand how nutrients can affect water from urban runoff. As a recent publication, it promotes current mitigation strategies. However, its broad range of information limits discussion of specific sources, such as those commonly used in urban roofing systems in the UK. Additionally, as it takes many global sources into account, its direct application to a south Welsh climate. This paper does provide important information into eutrophication, and other water-quality issues.

Vijayaraghavan, K. and Joshi, U.M. (2014) 'Can green roof act as a sink for contaminants? A methodological study to evaluate runoff quality from green roofs,' Environmental Pollution, 194. Available at https://www.sciencedirect.com/science/article/pii/S0269749114003133#sec3  (Accessed: 30 March 2026).

This literature explores green roofs with a focus on their ability to function as a sink for different nutrient contaminants, investigating the approaches used in testing the runoff quality. It provides examples of how green roofs can absorb different nutrients and pollutants, depending on the design and environmental conditions. This paper is particularly useful to help understand how to test the quality of the runoff. As it is a peer-reviewed study, the information provided can be seen as credible. However, as the source was accepted in 2014, it can be seen as slightly outdated, as much more recent research has been published with differing information. Furthermore, the green roof testing was conducted in a controlled environment, meaning its direct applicability to a south Welsh climate may be limited. To conclude, this research provides insight into green roofs, and their ability to retain contaminants.

Wang, H. Qin, J. and Hu, Y. (2017) ‘Are green roofs a source or sink of runoff pollutants?’, Ecological Engineering, 107. Available at https://www.sciencedirect.com/science/article/abs/pii/S0925857417303634  (Accessed: 28 March 2026).

This piece of literature researches into if green roofs are a sink or source for pollutants, involving experimental analysis of water quality. The research shows that green roofs can act as both a sink of pollutants, and a source of pollutants dependant on environmental conditions, such as rainfall conditions, and the design of the system. This piece of research is important to offer a balanced point of view, challenging pre-conceived ideas of green roofs and pollutant removal. As a peer-reviewed study, the information is reliable. However, the experimental results were sources from specific experimental conditions which may limit its relevance to a south Wales climate, due to variation in weather conditions. Furthermore, the study focuses on short-term performance, with long-term performance going under-researched. This research does, however, offer an important insight into green roof variations in performance.

Zinc and Copper Works (2025) A Complete Guide to Zinc and Copper Roofing. Available at https://zincandcopperworks.co.uk/guide-to-zinc-and-copper-roofing/ (Accessed: 29 March 2026).

This article describes traditional zinc and copper roofing in the UK, providing an outline of their use, and the advantages. It is useful for understanding these materials, and their application within construction. It also describes the properties of these metal roofing, with a focus on their corrosive behaviour, something very important in determining the runoff quality. However, this is an industry- produced source without academic referencing and peer-assessing, meaning that the information provided cannot be guaranteed to be relevant. Furthermore, the information provided is purely descriptive rather than critical, meaning the information provided has not been challenged. This source does give information into the behaviour of traditional roofing, something important for the comparison.

---------------------

Jati, A.C. Luthfi, A. Mahendra, I. I. B. Puwanto, Y. A. Kurniawan, A. and Chadirin, Y. (2024) ‘Analysis of Rainwater and Runoff Water Quality on Vegetated and Unvegetated Green Roof’, BIO Web of Conferences. Available at https://www.researchgate.net/publication/383573268_Analysis_of_Rainwater_and_Runoff_Water_Quality_on_Vegetated_and_Unvegetated_Green_Roof  (Accessed: 25 November 2025).

This source has been published by research gate, a very reputable and reliable source of information, being the largest academic media site in terms of users according to a study published by Van Noorden (2024). The article was also published recently, 2024, meaning the information provided is up to date and relevant to the research being undertaken in this report. However, the research has been completed in Indonesia, having a different climate to south Wales, meaning that their findings cannot be generalised to my research. The research also found that vegetated green roof water was still ‘lightly contaminated’, something I must consider in my report

The study evaluates rainwater and runoff quality from a vegetated green roof and an unvegetated roof to conclude how vegetation influences water-quality outcomes. It reports measurements for key chemicals present in rainwater, providing understanding into how green roofs can affect the composition of runoff. The authors of the article found that both types of roof produce “lightly contaminated” runoff water, with the vegetated roof showing slightly higher reduction in pollutants. The paper also reviews how substrate composition and the presence of plants influence nutrient and organic-matter leaching. Overall, the contents of the paper offer clear experimental evidence comparing different roof types, though results reflect the specific climate and standards of the study’s region (Indonesia) and isn’t specific to South Wales.

Liu, H. Kong, F. Yin, H. Middel, A. Zheng, X. Huang, J. Xu, H. Wang, D. and Wen, Z. (2021) ‘Impacts of green roofs on water, temperature, and air quality: A bibliometric review’, Building and Environment, 196. Available at https://www.sciencedirect.com/science/article/pii/S0360132321002018 (Accessed: 26 November 2025).

This paper was published on Science Direct, a highly reliable source of information, posting peer reviewed academic reports across many fields, including engineering and environmental concerns, doing a good job at ensuring the information published on its site is non-malicious and reliable. The researchers conducted quantitative analysis of 1623 sources, all in the English language. This helps give this source credibility as it ensures there’s no mistranslation of language and understanding converting information into English. However, this article is from 202, with all its sources being published 2019 and earlier. There has been much more recent and more relevant information published since this date, possibly enough to alter their results. However, I feel the information is still relevant due to the number of sources considered for the paper.

The researchers conducted quantitative analysis of 1623 sources, all in the English language, on the environmental impacts of green roofs. It shows that the most published work concentrates on areas such as stormwater management and air quality. The review summarised evidence that green roofs can reduce water runoff, lower building temperatures and partially contribute to cleaner urban air quality. It also has a focus on water quality runoff. Overall, the paper provides a wide and data focused review of how green-roof research and how it has changed.

Ouellet, V. Khamis, K. Croghan, D. Hernandez Gonzalez, L.M. Rivera. V.A, Phillips, C.B. Packman, A.I. Miller, W.M. Hawke, R.G. Hannah, D.M. and Krause. S (2021) 'Green roof vegetation management alters potential for water quality and temperature mitigation', Ecohydrology, 14 (6). Available at https://pure-oai.bham.ac.uk/ws/portalfiles/portal/153394306/GreenRoof_manuscript_Final.pdf (Accessed: 26 November 2025)

This source has a research focus on two green roofs under differing managements at the Chicago Botanical Garden in the United States. The climate in Chicago differs slightly to South Welsh climate, having more extreme weather events. This means that this information cannot be directly applied to this research but there are pieces of information that can be used. This paper has been published by the online library, Wiley. Wiley is a reliable source of information as it is one of the world’s leading publishers with a focus on academic honestly and rigor. This academic paper has also had peer-reviewing which helps give credibility to the information published, helping to detect any flaws and any methodological errors. However, with only focusing on two green roofs, the sample size is slightly small and could benefit from reviewing a greater number of roofs to help identify any anomalies

The paper contains the comparison between two green roofs, one with actively managed, planted vegetation and one allowed to grow unmanaged and unregulated to review how vegetation management influences the runoff quality and the thermal performance. The paper finds that the regulated managed roof produces a runoff with lower dissolved organic matter, while the unmanaged roof produces lower nitrate levels and a more stable organic content. It also finds that the unmanaged roof gives the building greater thermal insulation. Overall, the research paper shows that green roof regulation significantly shapes the water quality and heat regulation abilities.

Welsh Government (2018) Statutory standards for sustainable drainage systems – designing, constructing, operating and maintaining surface water drainage systems. Available at https://www.gov.wales/sites/default/files/publications/2019-06/statutory-national-standards-for-sustainable-drainage-systems.pdf (Accessed: 7 December 2025)

This source comes from a place of authority, coming from the Welsh government, making it a highly reputable source. It lays out requirements for Sustainable Urban Drainage System, including the role of green roofs in drainage, which makes it relevant to South Wales. However, it has a focus on standards, not scientific data meaning it lacks detailed experimental evidence on water quality from green roofs. This information is thorough, holding 63 pages of information. Finally, the report has a focus on regulatory compliance rather than practical, real life case studies, which limits its use for understanding performance in real life coastal regions or areas of south Wales

This report sets out British standards for the design, construction, regulation and maintenance of sustainable drainage systems (SuDS) and the integration of good practices. It lays out how new developments must manage rainwater to prevent flooding and city pollution, specifying drainage methods to regulate this. The guidance includes information of how to integrate systems such as green roofs, which are a recognised Suds. It also lays out responsibilities for building developers and maintenance to ensure function for many years to help comply with local regulations while staying environmentally sustainable.