Managing the health and safety of a project

contents

- 1.0 Executive summary…………………………………….3

- 2.0 Terms of reference …………………………………….3

- 3.0 Findings……………………………………………………………4,5,6,7

- 4.0 conclusion………………………………………………………7

- 5.0 References…………………………………………………….7

- 6.0 Appendices…………………………………………………..8,9,10,11,12,13,14,15,16,17,18,19,20,21,22

1.0 Executive summary

This report aims to highlight and examine the current legislation that will be relevant to this project. The legislation is contained in the Construction Design and Management regulations 2015 (CDM). This report will include a Construction Phase Plan (CPP), a (CPP) ensures that the health and safety issues are considered during the development of the caretakers house and that all risks to those onsite is reduced. The report will also include method statements and risk assessments. A method statement explains how work is to be carried out in a safe manner. A risk assessment identifies the hazards and risk factors of works being carried out.

I will be looking at the construction of a small dwelling opposite the SA1 student accommodation site that will house the caretaker and his family. The dwelling will be two storey, three bedroom with a loft for storage.  Externally there will be a smooth render finish and a natural slate roof. I will provide a detailed construction phase plan as required under the construction, design and management regulations 2015 to plan and manage the construction work safely, along with looking at three major work activities namely:-

A- Roof

B- Concrete foundation

C- Installation of windows

I will also discuss the major hazards producing a risk assessment again for the three work activities above and highlight the Health and Safety legislation for this build and who will be responsible under the regulations.

2.0 Terms of reference

3.1 The principal focus are:

3.1.1 Highlight and examine CDM and the roles within.

3.1.2 Create a CPP for the project.

3.1.3  Produce method statements for 3 major activities.

3.1.4  Produce Risk assessments for for the 3 major activities.

3.0 Findings

4.1 CDM regulations 2015

The Construction Design and Management regulations have been part of the construction industry for more than 25 years. The regulations have been reviewed and updated 3 times with the latest being in 2015. The Construction Design Management regulations 2015 make “ the general duties of the Health and Safety at Work etc Act 1974 more specific.” (HSE,2020)They do this by making it more specific to keeping construction works safer and lowering risks to as little as possible. This is a live document that is constantly updated to allow you to manage the risks from the beginning of the project to the end of construction. This document will also help to keep people informed about the risks and how they are to be managed and to help coordinate the work with contractors. The CDM regulations apply to all construction projects such as new build, demolition, refurbishment, extensions, conversions, repair and maintenance. CDM regulations 2015 state that there are 2 types of clients these are domestic and commercial. “A domestic client is any individual who has construction work carried out on their home, or the home of a family member, that is not done as part of any business”. (HSE,2020).CDM regulations 2015 does not apply to a domestic client if it is carried out themselves. If the work is carried out by a contractor on behalf of the client CDM regulations 2015 applies as it is no longer classed as DIY. A commercial client as the name suggests is carrying out the works as a professional therefore take over all legal duties of the client as well as their own. A construction project becomes notifiable to the HSE when the project is to be carried for longer than 30 days and has over 20 workers working at the same time or surpasses 500 person days.

3.2 Principle designer

A principal designer is required when there is more than one contractor on a project. This was introduced with the CDM 2015 regulations.

Role of the Principal Designer.

- They will have control over the pre construction phase of the project.

- They will be responsible for the health and safety during pre construction stage, this includes the planning managing and monitoring it.

- They will identify, control and eliminate the foreseeable risks

- They will help the client bring the pre construction phase together by aiding them with advice and then share the information with the contractors and designers.

- They will ensure all duties will be carried out in the correct manor.

- They will communicate with the principal contractor during the construction phase to monitor the health and safety requirements.

3.3 Principle contractor

A principal contractor is appointed on projects where more than one contractor is required to carry out the works. Principal contractors will communicate with the other contractors to organise the works carried out and they will be responsible to consider all health and safety risks for the project. (HSE,2020).

Role of the Principal Contractor.

- Plan, manage, monitor and coordinate health and safety for the construction phase.

- They will consider health and safety risks to all the access the construction site by implementing control measures to prevent harm to any persons on site (including public). They will slap liaise with the principal designer regarding any health and safety information.

- They will communicate with the Principal designer and client. Prior to construction they will decide on the design and how they will achieve the construction plan.

- They will prepare the construction phase plan. Under the 2015 CDM regulations this will be a necessity outlining how health and safety will be managed.

- They will organise cooperation between contractors and workers. This will be done by work scheduling which will also give information regarding the site, hazards, risks and measures that are in place to control these.

- They must also ensure that there are welfare facilities, the site is secure, workers are consulted in health and safety matters where necessary and inductions are provided.

3.4 Designer

The designer is the person who will provide the designs for the project, whilst preparing these designs they will consider health and safety hazards and reduce risks in the design.

Role of a designer

- They will ensure that a client is aware of their duties under the CDM regulations 2015.

- They will provide design information to the principal designer, principal contractor and the client.

- They will also provide information to relevant member of the project team.

3.5 Contractor

The contractors will carry out the physical parts of the construction works.

Role of a contractor

- They will ensure that all clients will understand their responsibilities as the CDM regulations 2015 states.

- They will plan, manage and monitor all their work that is carried out making sure that all workers have the required competency and experience to carry out the works.

- They will ensure their workers will have had the required induction for the site and that they will be suitably supervised.

3.6 Domestic client

A domestic client is someone that is having work carried out for themselves that is not part of a business this is usually where they live or members of their family live.

Role of the client

- Their role will usually be transferred to the contractor if it is a single contractor construction or to the principal contractor if there is more than one contractor involved in the project.

3.7 commercial client

A commercial client is someone that is carrying a project as part of a business.

Role of the client

- They will make sure that suitable arrangements for the project are in place.

- They will appoint the contractors and designers for the project. If there is more than one contractor they will need to appoint a principal of both designer and contractor.

- They will ensure that a construction phase plan will be put in place by the principal contractor or contractor before each phase begins.

- They will also make sure that sufficient time and resources are allocated to each stage of the project.

- They will maintain and review the management arrangements for the project ensuring that the principal designer and contractor carry out they duties correctly.

- They will also ensure welfare facilities are provided on site.

(CITB,2020)  (CHAS,2020)

4.0 conclusion

4.1   In conclusion this build would require a principal contractor and designer due to the fact that there will be more than one contractor on site these will both be appointed by the client to ensure clear management and to ensure the CDM regulations 2015 are followed accordingly.

Pease see appendices below for the Construction Phase Plan, Method Statements and Risk Assessments.

5.0 References

Works Cited

“A Complete Guide to CDM Regulations.” CHAS, 30 June 2020, www.chas.co.uk/blog/cdm-regulations-complete-guide/.

“CDM 2015 for Principal Contractors.” Www.Citb.co.uk, www.citb.co.uk/standards-and-delivering-training/training-standards/short-training-standards-search/construction-common/cdm-2015-for-principal-contractors/.

“CDM Regulations.” Www.Citb.co.uk, www.citb.co.uk/about-citb/partnerships-and-initiatives/construction-design-and-management-cdm-regulations/cdm-regulations/.

“Construction - Construction Design and Management Regulations 2015.” Hse.Gov.Uk, 2015, www.hse.gov.uk/construction/cdm/2015/index.htm.

“Health and Safety in the Film, Theatre and Broadcasting Industries - CDM Roles and Duties.” Www.Hse.Gov.Uk, www.hse.gov.uk/entertainment/cdm-2015/roles-and-duties.htm#who-is-cdm-client. Accessed 19 Nov. 2020.

‌

1,392 words excluding appendices and references

6.0 Appendices

Appendix 1

construction phase plan

| Company: | Interserve construction limited |
| --- | --- |
| Site location: | The site is located on the SA1 in Swansea next to the river Tawe, off Kings rd. Close to the junction of the A483 and 067. |
| Job description: | The project will consist of the construction of a single two story detached domestic dwelling with loft space for the universities caretaker and their family, the new build will have immediate access to a public highway. |
| Client: | University Of Wales Trinity Saint David. |
| Address: | 1 kings rd, Swansea SA1 8PH. |
| Principal designer/ Architect: | Huw Griffiths Architects. |
| Address: | 7 St James’s cress SA1 6DP |
| Email: | design@hga.wales |
| Start/ Finish date: | Start date will be on the 6/5/21. |
| Welfare facilities: | The toilets on site will be portalloo’s and there will be a canteen/site office with an area to change in the form of a welfare unit. |
| contractors on site: | Monolithic ltd. C.C carpentry |
| Contact details: | Address: 19 Maes Y Deri SA1 7LW Tel: 01792415856 |
| Principal contractor: | Interserve construction LTD. |
| Site update: | Site updates will be held via tool box talks. |
| Local authority: Address: Tel: | Swansea council Civic centre, Oystermouth rd, Swansea, SA1 3SN 01792636000 |
| Site security: | Heras fencing with padlock, cameras in the front and rear. |
| Emergency response: | In the event of an injury if medical attention is required minor injuries can be treated on site by an identified first aider and for serious injuries 999 will be called and the injured person will be transported to the nearest hospital to the SA1 site if necessary (Morriston Hospital). |

Dangers on site

| Main dangers on site: | Hazard | Controls that are in place. |
| --- | --- | --- |
| Falling from height: | Falling objects, contact with overhead electrical services, platform collapse or overturn. | Working at height will be avoided when possible. Physical barriers will be in place. Fall restraint systems will be in use when the risk can’t be avoided. Scaffolds will have toe-boards to prevent falling objects. Suitable training. |
| collapse of excavations: | Objects/People falling into excavation. Hazardous dust. flooding of excavation. Unforeseen services. | There will be warning systems for when plant are near the excavation and stop logs in place. All workers will be supplied with the correct PPE. There will be clear emergency access and agrees points in place. shoring will be used when necessary. Excavation will be inspected before anyone enters. All workers that will enter the excavation will be suitable training. |
| Collapse of structures: | Falling objects. | Structures will be regularly monitored by a competent person. Bracing will be used if necessary. A large exclusion zone will be in place if the structure becomes unstable. |
| Exposure to building dust: | Harmful diseases. | All work that causes dust will be dampened down when possible and extraction will be used. All workers will be give PPE e.e FFP3 masks when necessary. |
| Exposure to asbestos: | N/A | New build therefore asbestos will not be used. |
| Electricity: | Contact with live cables causing burns or shocks. Faults with can possible fires.Ignition of explosions. | Inspection of cables will be carried out by a competent person. Safe work practices will be carried out. Location of power switches will be known. Circuit breakers will be used. Exposed electrical adapters will be shielded. Liquids will be kept to minimum where there are electrical works. |
| Protect members of the public: | Unauthorised people at worksite. Falling objects. Delivery and plant vehicles. Noise on site. Hazardous material. | There will be perimeter fencing. Cameras and security on site. There will be designated one way systems for plant, pedestrians and workers where possible. There will designated drop off points for deliveries. Suitable access and egress points. Hazardous material will be kept in a secure compound. Noisy works will be carried out a suitable times to avoid any inconvenience. |
| Activities of workers requiring supervision: |  | Supervision will be carried out by a competent person and working permits will be given where necessary. |

Appendix 2

Method statements

| Contract manager: | Gareth Williams | Site supervisor: | Richard Turner |  |
| --- | --- | --- | --- | --- |
| Originator: C. Read | Position: Safety Manager | Date: 10/5/21 |  |  |
| The following method statement is essential for the health and safety for the following task. Any changes that need to be made must be authorised by the site manager. |  |  |  |  |
| Planned task/activity description: Installation of concrete foundation. |  |  |  |  |
| Location and access: SA1, waterfront uwtsd campus. |  |  |  |  |
| Working environment: Any noisy works will be carried out at set out hours during the day to be agreed with principal contractor and university. |  |  |  |  |
| Protection of others: The site will be fenced off with suitable warning signs and the area of work will be clear and only competent people will be the only people in the area. |  |  |  |  |
| Emergency procedures: Evacuation procedures are in place and will be followed. Smoking is not permitted. If an accident happens a competent person must be informed straight away and 999 are to be called if necessary. |  |  |  |  |
| Operatives and competence: Workers will be competent and hold the correct CSCS. All supervisors will have the correct SSSTS certificates and there will always be at least one trained first aider on site. Plant drivers will hold the correct licences. |  |  |  |  |
| Personal Protective Equipment: Boots, Gloves, Hard hats, goggles, wellies, resistant clothing and high vis to be worn at all times. |  |  |  |  |
| Plant and equipment: Mechanical excavators, dumpers, surveying equipment, concrete vibration poker and hand tools. |  |  |  |  |
| Materials handling/storage safety: concrete will be poured straight from the lorry therefore no need of storage on site. Tools will be kept in a safe suitable designated area. |  |  |  |  |
| Final clearance: Name: T. Sion Griffiths Position: Site Manager Date: 10/5/21 |  |  |  |  |

Critical stages

- Engineer will survey and set out correct points of the excavation.

2. The area will be scanned via a able avoidance tool.

3. Machine excavator will remove the soil from the set out areas.

4. The site engineer will check levels to confirm the excavations is at the correct depth.

5. The site engineer will set out the levels for the concrete with a laser level to ensure the concrete is poured to the correct place.

6. Concrete will be poured directly from the delivery lorry into the excavation where possible and where not it will be poured by machine bucket.

7. The concrete will then be vibrated keeping to the set out level to ensure it isn’t to low or to high.

8. The concrete will be tampered to create a level finish for the concrete.

9. After the concreting is finished checks will then be carried out by the site engineer to ensure line and level have been kept to the correct specification.

| Contract manager: | Gareth Williams | Site supervisor: | Richard Turner |  |
| --- | --- | --- | --- | --- |
| Originator: C. Read | Position: Safety Manager | Date: 2/6/21 |  |  |
| The following method statement is essential for the health and safety for the following task. Any changes that need to be made must be authorised by the site manager. |  |  |  |  |
| Planned task/activity description: Installation of roof trusses. |  |  |  |  |
| Location and access: SA1, waterfront uwtsd campus. |  |  |  |  |
| Working environment: Any noisy works will be carried out at set out hours during the day to be agreed with principal contractor and university. |  |  |  |  |
| Protection of others: The site will be fenced off with suitable warning signs and the area of work will be clear and only competent people will be the only people in the area. The mobile crane will be directed to the area by a competent person. |  |  |  |  |
| Emergency procedures: Evacuation procedures are in place and will be followed. Smoking is not permitted. If an accident happens a competent person must be informed straight away and 999 are to be called if necessary. |  |  |  |  |
| Operatives and competence: All personnel will be competent and hold the correct CSCS cards. The crane company will have competent supervisors appointed. All supervisors will have the correct SSSTS certificates and there will always be at least one trained first aider on site. |  |  |  |  |
| Personal Protective Equipment: Boots, Gloves, Hard hats, goggles and high vis to be worn at all times: |  |  |  |  |
| Plant and equipment: Fixed scaffold access, Roof ladder and Mobile crane. |  |  |  |  |
| Materials handling/storage safety: Trusses will be delivered to site. Trusses will be securely propped before being lifted onto the roof. Tools will be stored with the worker in their work belts. |  |  |  |  |
| Critical stages: |  |  |  |  |
| Final clearance: Name: T. Sion Griffiths Position: Site Manager Date: 2/6/21 |  |  |  |  |

Critical stages

- Scaffold will be in place and suited to the needs of the installation. Erected by a competent person.

2. Fall arrest measures will be in place by netting.

3. All deliveries will be made by prior appointment and delivered to a designated area.

4. Unloading of trusses will be carried out to ensure that they are secured safely.

5. The use of the mobile crane will be guided by a competent supervisor.

6. A lift plan will be in place prior to the trusses being lifted.

7. The initial truss will be positioned in line with the roofing plan.

8. The rest of the trusses will then put in place and braced according the original truss.

9. bracing, ceiling ties and struts will then be used to permanently secure the trusses.

10. Felt will then be installed according to the direction of the roof.

11. Roof batten will then be transported onto the roof via the crane and installed by workers leaving suitable spacing for the tiles.

12. Tiles will then be fixed to the battens using suitable nails.

13. When the work is completed any left over material will then be safely removed from the area via scaffold ladders.

| Contract manager: | Gareth Williams | Site supervisor: | Richard Turner |  |
| --- | --- | --- | --- | --- |
| Originator: C. Read | Position: Safety Manager | Date: 2/7/21 |  |  |
| The following method statement is essential for the health and safety for the following task. Any changes that need to be made must be authorised by the site manager. |  |  |  |  |
| Planned task/activity description: Installation of windows. |  |  |  |  |
| Location and access: SA1, waterfront uwtsd campus. |  |  |  |  |
| Working environment: Any noisy works will be carried out at set out hours during the day to be agreed with principal contractor and university. |  |  |  |  |
| Protection of others: The site will be fenced off with suitable warning signs and the area of work will be clear and only competent people will be the only people in the area. |  |  |  |  |
| Emergency procedures: Evacuation procedures are in place and will be followed. Smoking is not permitted. If an accident happens a competent person must be informed straight away and 999 are to be called if necessary. |  |  |  |  |
| Operatives and competence: Workers will be competent and hold the correct CSCS card. All supervisors will have the correct SSSTS certificates and there will always be at least one trained first aider on site. |  |  |  |  |
| Personal Protective Equipment: Boots, Gloves, Hard hats, goggles and high vis to be worn at all times. |  |  |  |  |
| Plant and equipment: Spanners, chisels, screwdrivers, Hammers, Stanley knife, handsaws and other small tools. Battery powered drills. |  |  |  |  |
| Materials handling/storage safety: Windows will be delivered to site and stored in one of the on site storage units with suitable protection. Manual handling will be done with the utmost care and if possible plant will be used. Tools will be kept in a safe place or in a suitable place like the installers work belt. |  |  |  |  |
| Final clearance: Name: T. sion Griffiths Position: Site Manager Date: 2/7/21 |  |  |  |  |

Critical stages

- Scaffold will be in place and suited to the needs of the installation. Erected by a competent person.

2. All deliveries will be made by prior appointment and delivered to a designated area.

3. Windows will be lifted onto designated areas of the scaffold where needed.

4. Windows will then be positioned into place and lifted according to manual handling training.

5. The window will then be held in place via one of the workers until it is braced.

6. Using a battery screwdriver the window will be fixed through the frame and into the blockwork, this will be repeated until all fixes are done.

7. Beading will be checked and fitted into the UPVC frame using mastic gun filled with silicone.

8. Waste material will then be removed safely via scaffold ladders.

9. this will be repeated until all windows are installed and complete.

10. All waste material will be taken to relevant licensed skips for disposal.

Appendix 3

Risk assessments

| to be Assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Assessment Number |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Installation of trussed roof |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  |
| Persons undertaking or affected by the activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Y | Employees |  | Y | Contractor |  |  | Y | Public |  |  |  |  | Service User |  |  |  |  |  |  |  |  |  |  |
| Activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Other ……………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identified Hazards and Associated Risks |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | Fall/Slips from height |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 5 |  |  |  |  | 15 |  |  |  |
| 2 | Manual handling of trusses to be placed into position |  |  |  |  |  |  |  |  |  | 4 |  |  |  |  |  | 3 |  |  |  |  | 12 |  |  |  |
| 3 | Weather disturbance |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| 4 | Items falling from height causing danger to workers and public |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 5 | Injury from machinery |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 5 |  |  |  |  | 15 |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Existing Control Measures / Additional Control Measures Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Suitable footwear to be worn, all staff working at height to have received relevant training, safety bars and gates to be in place on scaffolding. Scaffolding to be checked for safety before use. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | All trusses to be lifted into place by crane. Any required cutting to be done at ground level, all screw holes to be pre drilled prior to fitting, All construction workers to have received relevant manual handling training. Lifting plan to be discussed and agreed prior to work starting. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Weather conditions to be checked monitored prior to work start, No work to be carried out if high winds or heavy rain at time. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Safety netting to be put in place, safety signs to be put in place at visible locations to worn workers/public of work being done at height. Safety barriers to be placed around circumference to allow a safe working area. Kick boards to be used. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | All operators to be qualified in the use of specified equipment and training is up to date. Machinery only to be used when weather conditions are suitable for machinery being used i.e. not in high winds or heavy rain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reassessment of Activity Hazards |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | Fall/slips from height |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 5 |  |  |  |  | 10Y |  |  |  |
| 2 | Manual handling of trusses to be placed into position |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 6 |  |  |  |
| 3 | Weather disturbance |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 4 | Items falling from height causing danger to workers and public |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 4 |  |  |  |  | 8 |  |  |  |
| 5 | Injury from machinery |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 5 |  |  |  |  | 10 |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name Position |  |  |  |  |  |  | Signed |  |  |  |  |  |  |  |  |  | Date of Completion: |  |  |  |  |  |  |  |  |
| Reviews |  |  |  | Key |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Date: |  |  |  | Likelihood |  |  |  | Severity |  |  | Severity of Injury |  | 5 | 5Y |  |  |  | 10R |  | 15 |  |  | 20 |  | 25 |
| Reviewed by: |  |  |  | 1 very unlikely 2 unlikely 3 likely 4 very likely 5 certainty |  |  |  | 1 nuisance 2 minor 3 medical treatment 4 major 5 fatal |  |  |  |  | 4 | 4 |  |  |  | 8 |  | 12 |  |  | 16 |  | 20 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 3 | 3 |  |  |  | 6G |  | 9 |  |  | 12 |  | 15 |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 |  |  |  | 4 |  | 6Y |  |  | 8 |  | 10Y |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5G |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 0 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  |  | Likelihood of Injury |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  | Low Risk |  |  |  |  |  |  | Medium Risk |  |  |  |  | High Risk |  |

| to be Assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Assessment Number |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Concrete Foundation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |
| Persons undertaking or affected by the activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Y | Employees |  | Y | Contractor |  |  |  | Public |  |  |  |  | Service User |  |  |  |  |  |  |  |  |  |  |
| Activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Other ……………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identified Hazards and Associated Risks |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | Falls/slips/trips |  |  |  |  |  |  |  |  |  | 4 |  |  |  |  |  | 3 |  |  |  |  | 12 |  |  |  |
| 2 | Injury from machinery |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 3 | Weather disturbance |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 2 |  |  |  |  | 6 |  |  |  |
| 4 | Manual handling |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| 5 | Vibration |  |  |  |  |  |  |  |  |  | 4 |  |  |  |  |  | 2 |  |  |  |  | 8 |  |  |  |
| 6 | Handling cement/concrete |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| Existing Control Measures / Additional Control Measures Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | All workers to wear the correct footwear, signs to be placed in visible places to warn workers of ground conditions if applicable. All access routes to be maintained and kept clear. Lighting to be used and maintained if required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | All operators to be qualified in the use of specified equipment and training is up to date. Machinery only to be used when weather conditions are suitable for machinery being used i.e. not in high winds or heavy rain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Weather conditions to be checked monitored prior to work start, No work to be carried out heavy rain at time. This will have a bearing on the ground conditions and the time of pouring the concrete. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | All workers to have received appropriate training. Where practicable avoid manual handling and use machinery. Materials to be deliver as near as possible to work site. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Trained operators to use the equipment. Anti vibration gloves to be worn when levelling the concrete. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | All workers to wear suitable PPE i.e. wellingtons, gloves, waterproof trousers and eye protection. All workers to be briefed as to dangers of concrete/cement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reassessment of Activity Hazards |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | Falls/slips/trips |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 6 |  |  |  |
| 2 | Injury from machinery |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 4 |  |  |  |  | 8 |  |  |  |
| 3 | Weather disturbance |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 2 |  |  |  |  | 4 |  |  |  |
| 4 | Manual handling |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 6 |  |  |  |
| 5 | Vibration |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 2 |  |  |  |  | 6 |  |  |  |
| 6 | Handling cement/concrete |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 2 |  |  |  |  | 4 |  |  |  |
| Name Position |  |  |  |  |  |  | Signed |  |  |  |  |  |  |  |  |  | Date of Completion: |  |  |  |  |  |  |  |  |
| Reviews |  |  |  | Key |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Date: |  |  |  | Likelihood |  |  |  | Severity |  |  | Severity of Injury |  | 5 | 5Y |  |  |  | 10R |  | 15 |  |  | 20 |  | 25 |
| Reviewed by: |  |  |  | 1 very unlikely 2 unlikely 3 likely 4 very likely 5 certainty |  |  |  | 1 nuisance 2 minor 3 medical treatment 4 major 5 fatal |  |  |  |  | 4 | 4 |  |  |  | 8 |  | 12 |  |  | 16 |  | 20 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 3 | 3 |  |  |  | 6G |  | 9 |  |  | 12 |  | 15 |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 |  |  |  | 4 |  | 6Y |  |  | 8 |  | 10Y |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5G |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 0 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  |  | Likelihood of Injury |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  | Low Risk |  |  |  |  |  |  | Medium Risk |  |  |  |  | High Risk |  |

| to be Assessed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Assessment Number |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Installation of windows |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |
| Persons undertaking or affected by the activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Y | Employees |  | Y | Contractor |  |  | Y | Public |  |  |  |  | Service User |  |  |  |  |  |  |  |  |  |  |
| Activity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Other ……………………………………………………………………………………………. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identified Hazards and Associated Risks |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | Manual handling |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| 2 | Fall/slips from height |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 5 |  |  |  |  | 15 |  |  |  |
| 3 | Weather disturbance |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 4 | Items falling from height causing injury to workers or public |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 5 | Injury from Machinery |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  | 12 |  |  |  |
| 6 | Injury from glass breaking |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 3 |  |  |  |  | 9 |  |  |  |
| Existing Control Measures / Additional Control Measures Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | All workers to wear the correct footwear. Only competent glazers to be employed. Appropriate PPE to be worn. All contractors to be trained in manual handling techniques and this to be checked with relevant firm. All access routes to be maintained and kept clear. Lighting to be used and maintained if required. Correct suction pads to be used to handle the glazing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Suitable footwear to be worn, all staff working at height to have received relevant training, safety bars and gates to be in place on scaffolding. Scaffolding to be checked for safety before use. Scaffolders to be spoken to to ensure sufficient gap left to fit windows. Work to be carried out from a safe platform avoid working from ladders. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Weather conditions to be checked monitored prior to work start, No work to be carried out if high winds or heavy rain at time. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Safety netting to be put in place, safety signs to be put in place at visible locations to worn workers/public of work being done at height. Safety barriers to be placed around circumference to allow a safe working area. Kick boards to be used. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | All operators to be qualified in the use of specified equipment and training is up to date. Machinery only to be used when weather conditions are suitable for machinery being used i.e. not in high winds or heavy rain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Suitable PPE to be worn, correct gloves and eye protection. First aid kit to be in close proximity and readily available. Adequate supervision to be in place for the duration of the task. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reassessment of Activity Hazards |  |  |  |  |  |  |  |  |  |  | Likelihood |  |  |  |  |  | Severity |  |  |  |  | Risk Level |  |  |  |
| 1 | Manual handling |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  | 6Y |  |  |  |
| 2 | Fall/slips from height |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 5Y |  |  |  |  | 10 |  |  |  |
| 3 | Weather disturbance |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 2 |  |  |  |  | 6Y |  |  |  |
| 4 | Items falling from height causing injury to workers or public |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 4 |  |  |  |  | 8 |  |  |  |
| 5 | Injury from Machinery |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 5 |  |  |  |  | 10Y |  |  |  |
| 6 | Injury from glass breaking |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  | 2 |  |  |  |  | 4 |  |  |  |
| Name Position |  |  |  |  |  |  | Signed |  |  |  |  |  |  |  |  |  | Date of Completion: |  |  |  |  |  |  |  |  |
| Reviews |  |  |  | Key |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Date: |  |  |  | Likelihood |  |  |  | Severity |  |  | Severity of Injury |  | 5 | 5Y |  |  |  | 10R |  | 15 |  |  | 20 |  | 25 |
| Reviewed by: |  |  |  | 1 very unlikely 2 unlikely 3 likely 4 very likely 5 certainty |  |  |  | 1 nuisance 2 minor 3 medical treatment 4 major 5 fatal |  |  |  |  | 4 | 4 |  |  |  | 8 |  | 12 |  |  | 16 |  | 20 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 3 | 3 |  |  |  | 6G |  | 9 |  |  | 12 |  | 15 |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 |  |  |  | 4 |  | 6Y |  |  | 8 |  | 10Y |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5G |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  |  | 0 | 1 |  |  |  | 2 |  | 3 |  |  | 4 |  | 5 |
| Review Date : |  |  |  |  |  |  |  |  |  |  |  |  |  | Likelihood of Injury |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed by: |  |  |  |  |  |  |  |  |  |  |  | Low Risk |  |  |  |  |  |  | Medium Risk |  |  |  |  | High Risk |  |