APPENDIX GA36a

#### LEVEL 4 ASSESSMENT SPECIFICATION

| Student name: |  | Student ID number: |  |
| --- | --- | --- | --- |
| Programme: | HNC/HND Electrical & Electronic Engineering |  |  |
| Module: | Design of Electrical Installations |  |  |
| Module code: | GOEE4001 | ## Contribution to Overall Module Assessment (%): | 50% |
| Lecturer: | Leighton Allen | Internal Verifier: | Rabya Kadhim |
| Assignment Title: | Design an Electrical Installation | Word count (or equivalent): | 2000 words |
| Submission deadline: |  | Return date of provisional marks & written feedback: |  |
| Submission method: | All written assessments, where practical and possible, must be submitted via Turnitin unless otherwise instructed by the Lecturer. (Please DO NOT put this assessment specification into Turnitin or it will match many similarities with other students’ submissions.) Alternative submission method (if applicable): Late submission of the assessment will result in a late penalty mark. Penalties for late submission: Up to one week late, maximum mark of 40%. Over one week late, 0%. Only the Extenuating Circumstances Panel may approve a change to submission dates. |  |  |
| Academic honesty / referencing: | Academic honesty is required. In the main body of your submission you must give credit to authors on whose research and ideas your work is based. Append to your submission a reference list that indicates the books, articles, etc. that you have used, cited or quoted in order to complete this assessment. |  |  |

Module Learning Outcomes (from module syllabus)

- Develop skills to analyse, design and construct electrical installations

TASK DESCRIPTION

This assessment requires you to produce an electrical design for a specified building. You will produce a report containing the design. It is important that you provide a detailed narrative of your design. Any assumptions made should be included along with suitable references to regulations and guideline documents.

If spreadsheets (or other tools) are used for calculations, then an explanation of all formula must be included.

For the lighting illumination, levels are not required to be calculated. However, a reasonable number of lights should be positioned appropriately within each area.

Present your report in electronic form as a single text document (pdf). Your spreadsheets should be included as a separate file with multiple sheets (each labelled) if required.

The production of the report will require IT skills, secondary research, critical thinking, academic skills such as referencing and report writing convention

Task 1

A new factory is to be constructed consisting of a workshop and two storey office block. Within the workshop there are several machines, welding bays and assembly areas as indicated in the following diagrams. Your task is to produce an electrical design for the workshop and office block. The design will include the following:

- Appropriate lighting systems for both the factory and office areas including wiring diagrams.

- Appropriate power distribution design including wiring diagrams.

- Cable size calculations. Also, determine the minimum cross sectional area of protective conductor for the Range oven in the canteen.

- Circuit protection designs.

- Emergency lighting design	.

- An outline of suitable cable support systems used throughout the installation	.

Include any assumptions and relevant manufacturer data.

The power requirements are shown in the tables below.

Factory floor

| Reference | Phase | Power | Allow for diversity |
| --- | --- | --- | --- |
| CNC1 | 3 | 18 kW | Apply diversity where applicable within the installation |
| CNC2 | 3 | 22 kW |  |
| Drill 1 | 3 | 3.5kW |  |
| Small tools | 1 | 8 off 13A sockets |  |
| Store room | 1 | 3 kW |  |
| Assembly 1 | 1 | 20 off 13A sockets |  |
| Assembly 2 | 1 | 20 off 13A sockets |  |
| Assembly 3 | 1 | 20 off 13A sockets |  |
| Painting and finishing | 1 | 3 kW compressor + 6 off 13A sockets |  |
| Welding bay 1 | 3 | 16 kW |  |
| Welding bay 2 | 3 | 16 kW |  |
| Welding bay 3 | 3 | 16 kW |  |
| Goods out | 1 | 8 off 13A sockets |  |
| Canteen (see note below) | 1 | 35kW + 5 off 13A sockets |  |

NOTE: Canteen – 23 kW Range oven,  4 kW water heater, 3 x 2 kW microwave oven, 2 kW Fridge, +  5 power sockets)

Office power requirements

| Room | Staff | Power sockets | Allow for diversity |
| --- | --- | --- | --- |
| Office 1 | 4 | 10 off 13A sockets | Apply diversity where applicable within the installation |
| Office 2 | 4 | 10 off 13A sockets |  |
| Reception | 2 | 8 off 13A sockets |  |
| Office 3 | 9 | 12 off 13A sockets |  |
| Office 4 | 4 | 6 off 13A sockets |  |
| Conference room |  | 10 off 13A sockets |  |

7500

13000

16000

40000

20000

NOTE:

Office ceiling height 2500

All dimensions in mm

PLAN

FRONT ELEVATION

7500

13000

16000

40000

20000

NOTE:

Office ceiling height 2500

All dimensions in mm

PLAN

FRONT ELEVATION

Note: Each member of staff has a PC.

Plan/Front view of building

3

3

Technical Guidance

Building construction

The construction of the two-storey building is as follows:

Walls

External walls consist of brickwork, a cavity and an inner leaf of concrete blockwork. Internal walls consist of concrete blockwork with structural supports where required. All walls have a plaster finish throughout.

Floors

The ground floor is to be a standard raft of reinforced concrete with a 100mm screed finish.

Ceilings

All office ceilings are to be suspended 600 mm x 600 mm grid with removable tiles 2500 mm above ffl in all areas. A void will exist between the suspended ceilings and roof. There is 100mm of thermal insulation within the office areas.

Electrical supply

The incoming supply is 400 / 230 V 50Hz three phase four-wire, which together with the installation forms part of a TN-C-S system. The declared value of Ze is 0.08 Ω and the prospective fault current is 5kA at the origin of the installation.

Each electrical circuit is grouped with no more than 3 other circuits whilst the anticipated ambient temperature of the offices is no more than 25°C. The ambient temperature for the factory area will reach a maximum temperature of 35°C.

GUIDANCE FOR Students IN THE COMPLETION OF TASKS

NOTE: The guidance offered below is linked to the five generic assessment criteria overleaf.

- Engagement with Literature Skills

Your work must be informed and supported by scholarly material that is relevant to and focused on the task(s) set.    You should provide evidence that you have accessed an appropriate range of sources, which may be academic, governmental and industrial; these sources may include academic journal articles, textbooks, current news articles, organisational documents, and websites.  You should consider the credibility of your sources; academic journals are normally highly credible sources while websites require careful consideration/selection and should be used sparingly.   Any sources you use should be current and up-to-date, mostly published within the last five years or so, though seminal/important works in the field may be older.  You must provide evidence of your research/own reading throughout your work, using a suitable referencing system, including in-text citations in the main body of your work and a reference list at the end of your work.

Guidance specific to this assessment:

Evidence of research into current lighting practices and manufacturer’s data and reference to applicable regulations and guides.

- Knowledge and Understanding Skills

At level 4, you should be able to demonstrate knowledge of the underlying concepts and principles associated with your area(s) of study.  Knowledge relates to the facts, information and skills you have acquired through your learning.  You demonstrate your understanding by interpreting the meaning of the facts and information (knowledge). This means that you need to select and include in your work the concepts, techniques, models, theories, etc. appropriate to the task(s) set.  You should be able to explain the theories, concepts, etc. to show your understanding.  Your mark/grade will also depend upon the extent to which you demonstrate your knowledge and understanding.

Guidance specific to this assessment:

Application of correct methodology to cable calculations, application of current electrical regulations (e.g. BS 7671 18th edition).

- Cognitive and Intellectual Skills

You should be able to present, evaluate and interpret qualitative and quantitative data, in order to develop lines of argument and make sound judgements in accordance with basic theories and concepts of your subject(s) of study. You should be able to evaluate the appropriateness of different approaches to solving problems related to your area(s) of study and/or work. Your work must contain evidence of logical, analytical thinking. For example, to examine and break information down into parts, make inferences, compile, compare and contrast information.  This means not just describing what! But also justifying: Why? How? When? Who? Where? At what cost? You should provide justification for your arguments and judgements using evidence that you have reflected upon the ideas of others within the subject area and that you are able to make sound judgements and arguments using data and concepts.  Where relevant, alternative solutions and recommendations may be proposed.

Guidance specific to this assessment:

Suitable cable layout, load balancing, designation of loads to phases.  Suitable lighting assumptions. Suitable selection of protection systems.

- Practical Skills

At level 4, you should be able to apply the basic underlying concepts and principles to evaluate and interpret these within the context of your area of study. You should be able to demonstrate how the subject-related concepts and ideas relate to real world situations and/or a particular context.  How do they work in practice?  You will deploy models, methods, techniques, and/or theories, in that context, to assess current situations, perhaps to formulate plans or solutions to solve problems, or to create artefacts.  This is likely to involve, for instance, the use of real world artefacts, examples and cases, the application of a model within an organisation and/or benchmarking one theory or organisation against others based on stated criteria.

Guidance specific to this assessment:

Suitable arrangement of circuits. Correct use of regulations and guides.

- Transferable Skills for Life and Professional Practice

Your work must provide evidence of the qualities and transferable skills necessary for employment requiring the exercise of some personal responsibility.  This includes demonstrating: that you can communicate the results of your study/work accurately and reliably, and with structured and coherent arguments; that you can initiate and complete tasks and procedures, whether individually and/or collaboratively; fluency of expression; clarity and effectiveness in presentation and organisation. Work should be coherent and well-structured in presentation and organisation.

Guidance specific to this assessment:

Suitable cable wiring schematics, cable tables, overall layout and presentation of final report.

Student FEEDBACK FORM

This section details the extent to which the assessment criteria are demonstrated by you, which in turn determines your mark. The marks available for each category of skill are shown. Lecturers will use the space provided to comment on the achievement of the task(s), including those areas in which you have performed well and areas that would benefit from development/improvement.

| Generic Assessment Criteria | Marks available | Marks awarded |
| --- | --- | --- |
| 1. Engagement with Literature Skills . |  |  |
| Evidence of research into current lighting practices and manufacturer’s data and reference to applicable regulations and guides. |  |  |
|  | 10 |  |
| 2. Knowledge and Understanding Skills |  |  |
| Application of correct methodology to cable calculations, application of current electrical regulations (e.g. BS 7671 18th edition) . |  |  |
|  | 25 |  |
| 3. Cognitive and Intellectual Skills |  |  |
| Suitable cable layout, load balancing, designation of loads to phases. Suitable lighting assumptions. Suitable selection of protection systems. Detailed narrative of overall design and selective circuits. |  |  |
|  | 25 |  |
| 4. Practical Application Skills |  |  |
| Suitable arrangement of circuits. Correct use of regulations and guides. | 20 |  |
| 5. Transferable Skills for Life and Professional Practice |  |  |
| Suitable cable wiring schematics, cable tables, overall layout and presentation of final report. | 20 |  |

| Assessment Mark (Assessment marks are subject to ratification at the Exam Board. These comments and marks are to give feedback on module work and are for guidance only until they are confirmed. ) | Late Submission Penalties (tick if appropriate) |  | % |
| --- | --- | --- | --- |
|  | Up to 1 week late (40% Max) |  |  |
|  | Over 1 week late (0%) |  |  |

GENERIC ASSESSMENT CRITERIA

Level 4

In accordance with the Framework for Higher Education Qualifications, at the end of Level 4 students will be expected to have demonstrated knowledge of the basic underlying concepts and principles of a subject, and an ability to evaluate and interpret these within the context of that area of study. They should be able to present, evaluate and interpret qualitative and quantitative data in order to develop lines of argument and make sound judgements in accordance with basic theories and concepts of their subject(s) of study. They will have learned how to evaluate different approaches to solving problems, and will be able to communicate the results of their study/work accurately and reliably, and with structured and coherent arguments. They will be able to undertake further training and develop new skills within a structured and managed environment and will have the qualities and transferable skills necessary for employment requiring the exercise of some personal responsibility.

| Level 4 | FAIL | MARGINAL FAIL | SATISFACTORY (3rd / Pass) | GOOD (2.2 / Pass) | VERY GOOD (2.1 / Merit) | EXCELLENT (1st / Distinction) | EXCEPTIONAL (1st / Distinction) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Category | 0-29% | 30-39% | 40-49% | 50-59% | 60-69% | 70-84% | 85-100% |
| Engagement with literature (including reading, referencing, academic conventions and academic honesty) | Little or no evidence of reading and/or reliance on inappropriate sources. Views and findings mostly unsupported and non-authoritative. Referencing conventions used incoherently or largely absent. | Poor engagement with essential reading. No evidence of wider reading. Reliance on inappropriate sources, and/or indiscriminate use of sources. Heavily reliant on information gained through class contact. Inconsistent and weak use of referencing. | Engagement with a limited range of mostly relevant and credible sources but with some reliance on information gained through class contact. Some omissions and minor errors. Referencing conventions evident though not always applied accurately or consistently. | Engagement with an appropriate range of literature, including sources retrieved independently. Some over-reliance on texts rather than other sources. Referencing may show minor inaccuracies or inconsistencies. | Engagement with a wide range of literature, including sources retrieved independently. Selection of relevant and credible sources. Generally sound referencing, with no/very few inaccuracies or inconsistencies. | Engagement with an extensive range of relevant and credible literature. Consistently accurate application of referencing. | Exceptional engagement with an extensive range of relevant and credible literature. High-level referencing skills consistently applied. |
| Knowledge and understanding (Knowledge of the basic underlying concepts and principles of a subject.) | Major gaps in knowledge and understanding of the basic underlying concepts and principles of the subject matter. Inclusion of irrelevant material. Substantial inaccuracies. | Gaps in knowledge of the basic underlying concepts and principles, with flawed or superficial understanding. Some significant inaccuracies and/or irrelevant material. | Limited knowledge and understanding of the basic underlying concepts and principles within the subject area. Some elements may be missing. | Knowledge of the basic underlying concepts and principles is accurate with a good understanding of the field of study but lacks depth and/or breadth. | Competent knowledge of the basic underlying concepts and principles. Exhibits very good understanding. | Excellent knowledge and understanding of the basic underlying concepts and principles of the subject. | Exceptional, detailed knowledge and understanding of the basic underlying concepts and principles |
| Cognitive and intellectual skills (Evaluate underlying concepts and principles of a subject and interpret qualitative and quantitative data in order to develop lines of argument and make sound judgements.) | Wholly or almost wholly descriptive work. Little or no evaluation of the underlying concepts and principles. Failure to develop arguments, leading to illogical or invalid judgements. Minimal or no use of evidence to back up views. | Largely descriptive work, with superficial evaluation of the underlying concepts and principles. Weak interpretation of data, flawed development of arguments and judgements. Information accepted uncritically, uses generalised statements made with scant evidence and unsubstantiated opinions. Ideas sometimes illogical and contradictory. | Limited attempt at evaluation of the underlying concepts and principles, tending towards description. Can interpret qualitative and quantitative data but with some errors. Some evidence to support emerging arguments and judgements but these may be underdeveloped or with a little inconsistency / mis-interpretation. | Good evaluation of the underlying concepts and principles. Can interpret qualitative and quantitative data, with minor errors. An emerging ability to use evidence to support the argument. Mostly valid arguments and logical judgements. | Sound evaluation of the underlying concepts and principles. Can interpret qualitative and quantitative data accurately. Ability to devise arguments using evidence to make mostly appropriate and valid judgements. | Excellent evaluation of the underlying concepts and principles. Can interpret qualitative and quantitative data accurately and with some insight. Excellent ability to devise arguments using evidence and make appropriate and valid judgements. | Exceptional evaluation of the underlying concepts and principles based evidence. Outstanding interpretation of qualitative and quantitative data. Exceptional ability to devise arguments using evidence and make wholly appropriate and valid judgements. |
| Practical skills (Different approaches to solving problems in particular contexts.) | Limited or no use of taught, basic methods, materials, tools and/or techniques. Little or no appreciation of the context of the application. Very weak evidence of different approaches to problem-solving in particular contexts. | Rudimentary application of taught, basic methods, materials, tools and/or techniques but without consideration and competence. Flawed appreciation of the context of the application. Weak evidence of different approaches to problem-solving in particular contexts. | An adequate awareness and mostly appropriate application of basic methods, materials, tools and/or techniques. Basic appreciation of the context of the application. Can identify problems in particular contexts and propose basic alternative approaches or solutions though there may be errors. | A good and appropriate application of basic methods, materials, tools and/or techniques. Clear appreciation of the context of the application. Good evidence of different approaches to problem-solving in particular contexts and proposes mostly appropriate solutions. | A very good application of a range of basic methods, materials, tools and/or techniques. Very good consideration of the context of the application. Very good evidence of different approaches to problem-solving in particular contexts and proposes appropriate solutions. | An advanced application of a range of taught, basic methods, materials, tools and/or techniques. The context of the application is well considered, and insightful. Excellent evidence of different approaches to problem-solving in particular contexts and proposes appropriate solutions. | Exceptional levels of application and deployment skills in particular practical contexts. Outstanding identification of problems in particular contexts and formulation of wholly appropriate, thoughtful solutions / different approaches. |
| Transferable skills for life and professional practice (Communicate the results of their study/work accurately and reliably, and with structured and coherent arguments; the qualities needed for employment requiring the exercise of some personal responsibility within a structured and managed environment.) | Work is poorly structured, disorganised, inaccurate and/or confusingly expressed. Very weak use of language and/or very inappropriate style. Failure to work effectively individual or as part of a group. Little or no evidence of the skills for employment requiring the exercise of some personal responsibility. | Work is poorly presented in a disjointed manner. It is loosely, and at times incoherently, structured, with information and ideas often poorly expressed. Weak use of language and/or inappropriate style. Flawed approach to individual or group work, meeting only partial obligations to others. Limited evidence of the skills for employment requiring the exercise of some personal responsibility. | Mostly ordered presentation and structure in which relevant ideas / concepts are reasonably expressed. Work may lack coherence and/or accuracy in places. Can work as part of a group, meeting most obligations to others but perhaps with limited involvement in group activities. Demonstrates the basic skills for employment requiring the exercise of some personal responsibility, with some areas of minor weakness. | Mostly coherent, organised and accurate work, in a suitable structure and is for the most part clearly expressed. Can work effectively independently and/or as part of a team, with clear contribution to group activities. Demonstrates the skills for employment requiring the exercise of some personal responsibility, with some areas of strength and some of minor weakness. | Work is accurate, coherent, fluent, well-structured and organised. Can work effectively independently and/or as part of a team, with very good contribution to group activities. Demonstrates very good skills for employment requiring the exercise of some personal responsibility, with just occasional minor weakness. | Work is coherent, very fluent and is presented professionally. Can work effectively independently and/or as part of a team, with an excellent contribution to group activities. Demonstrates excellent skills for employment requiring the exercise of some personal responsibility with an appetite for further development. | Work is accurate, exceptionally coherent, very fluent and presented well. Can work effectively independently and/or as part of a team, with an exceptional contribution to group activities. Demonstrates exceptional skills for employment requiring the exercise of some personal responsibility with an appetite for further development. |

THIS DOCUMENT IS ALSO AVAILABLE IN WELSH