QUESTIONS ABOUT DEEP FOUNDATIONS

- What is a friction pile?

- What methods can you identify to put a displacement pile?

- What is a casing for piles? When do you need to use it?

- What is a preformed pile? What materials can it be made of?

- What ways can you support the walls of excavation for a drilled pile?

- What type of soils are good for unsupported replacement piles?

- In a diaphragm wall construction method, explain what the following elements are for:

  - Load-spreading beam

  - Anchor

  - Guide wall

  - Tremie pipe

  - Bentonite

  - Stop ends (e.g. with steel tubes)

  - Reinforced cage