## Front
NRM1 Cost Plan Template
F+G
18/11/2019

## Information Used
Information Used & Assumptions
1 | Information Used
Spring Design Drawings;
Proposed Ground Floor Plan
Proposed First Floor Plan
Proposed Second Floor Plan
Proposed Third Floor Plan
Proposed Fourth Floor Plan
Proposed Elevations 2316 (02) 300
Proposed Elevations 2316 (02) 301
Proposed Views towards the development
Proposed Site Plan
Information as provided by Coastal;
Multi-Utility Infrastructure Feasibility Study
2 | General assumptions;
FF&E is excluded unless specifically identified within the cost plan.
Costs are based upon the information as provided.
We have assumed a project bank account will not be required for this scheme.
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes is assumed.
All costs are provisional awaiting design development.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT are not considered.
A risk allowance of 10% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.

## Summary Original
Project details |  | NRM1 elemental cost plan template
Description |  | New Apartment Block
Works cost estimate
Cost
Building works estimate |  |  |  |  | 2189
| Group element 0 | FACILITATING WORKS | 0 |  | 0
| Group element 1 | SUBSTRUCTURE | 0 |  | 0
| Group element 2 | SUPERSTRUCTURE | 0 |  | 0
| Group element 3 | INTERNAL FINISHES | 0 | 0 | 0
| Group element 4 | FITTINGS AND FURNISHINGS | 0 |  | 0
| Group element 5 | SERVICES | 0 | 0 | 0 | 0
| Group element 8 | EXTERNAL WORKS | 0 |  | 0
| Group element 9 | MAIN CONTRACTOR'S PRELIMINARIES | 0 |  | 0
Works cost estimate (sub total A) |  |  | 0 | 0
Project design team fees and other development costs (sub total B)
0
Base cost estimate A + B (sub total C) |  |  | 0
| Group element 13 | Risk allowance @
Total Risk allowances (sub total D) |  |  | 0
0
Total Construction Cost (C + D) |  |  | 0
0
0
0
0
0
0
0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0

## NRM1 CP template
Cost Plan for XXXXXXX
NRM 1 phaseologies
Elemental Cost Plan
Elements in red are NRM1 Phraseologies
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
0 | FACILITATING WORKS | [5 empty] | 0
0.1 | Toxic/hazardous material
| Toxic or hazardous material removal: Details to be stated e.g Removal of asbestos |  |  | item | 0 | 0
Contaminated land
| Contaminated ground material removal: Details to be stated. |  |  | item | 0 | 0
0.2 | Major demolition works
Demolition of entire buildings: details to be stated.
| Demolition of entire structure |  | 0 | item | 0 | 0
1 | SUBSTRUCTURE | [5 empty] | 0
1.1 | Foundations
| Ground floor slab including insulation and DPM |  | 0 | m2 | 0 | 0
2 | SUPERSTRUCTURE | [5 empty] | 0
2.1 | Frame
Structural steel frame, including fittings and fixings: details to be stated.
| Steel frame;composite beam and slab floors |  | 0 | m2 |  | 0
2.2 | Upper Floors
| Concrete upper floors |  | 0 | m2 |  | 0
2.3 | Roof
Roof structure - pitched roofs: details, including design loads (kN/M2), spans (m) and angle of pitch (degtrees). To be stated
| Construction of new flat roof to 4th floor |  | 0 | m2 |  | 0
| New flat roof to 1st floor and 3rd floor |  | 0 | m2 |  | 0
| allowance for rainwater goods |  | 0 | item |  | 0
| Allowance for trims and flashings |  | 0 | item |  | 0
2.4 | Stairs & Ramps
Stair structures: details, includng vrtical rise of starcase to be stated
| Main Staircase |  | 0 | no |  | 0
| Balustrading to roof terrace, glazed |  | 0 | m2 |  | 0
2.5 | External Walls
External walls: Details to be stated.
| Cladding to elevations |  | 0 | m2 |  | 0
| Extra over for projected fins to elevation windows 8.6m x 6m |  | 0 | nr | 0 | 0
2.6 | Windows and external doors
Windows : details, including overall size of opening (mm) to be stated.
Windows
| Projection for windows |  | 0 | nr | 0 | 0
| UPVC 1400 x 900 mm |  | 0 | nr | 0 | 0
| UPVC 1600 x 1400 mm |  | 0 | nr | 0 | 0
| UPVC 1100 x 900 mm |  | 0 | nr | 0 | 0
| UPVC 1100 x 400 mm |  | 0 | nr | 0 | 0
External doors: details, including type, number of door leaves (nr) size of each door leaf (mm) and overall size of opening (mm) to be stated.
External doors
| Curtain wall system incorporating single leaf door |  | 0 | m2 | 0 | 0
| Steel door to plant/Bin access, twin leaf |  | 0 | no | 0 | 0
| BOH entrance door, 1.5 leaf, aluminium |  | 0 | no | 0 | 0
2.7 | Internal walls
Internal walls:details, including thickness, to be stated
| 140mm block wall |  | 0 | m2 | 0 | 0
| extra for plaster and emulsion |  | 0 | m2 | 0 | 0
fixed partitions:details, including thickness, to be stated
| New internal metal stud partitions, including skim to receive plaster both sides |  | 0 | m2 | 0 | 0
2.8 | Internal doors & screens
Internal doors: details, including type, number of door leaves (nr), size of each door leaf (mm), and overall size of opening (mm), to be stated.
| single leaf internal door |  | 0 | nr | 0 | 0
Fire resisting doors: details, including type, number of door leaves (nr), fire rating (hours), size of each door leaf (mm), and overall size of opening (mm), to be stated.
| Fire rated doors single leaf, timber veneer with vision panel |  | 0 | nr | 0 | 0
3 | INTERNAL FINISHES | [5 empty] | 0
3.1 | Wall finishes
Finishes to walls and columns: details to be stated.
| Paint finish |  | 0 | m2 | 0 | 0
3.2 | Floor finishes
Finishes to floors: details to be stated.
| Vinyl to floors |  | 0 | m2 | 0 | 0
| Resin paint to floor |  | 0 | m2 | 0 | 0
| Carpet to apartment floors |  | 0 | m2 | 0 | 0
| Carpet, higher specification to circulation |  | 0 | m2 | 0 | 0
3.3 | Ceiling finishes
Finishes to ceilings: details to be stated.
| Plasterboard to soffit |  | 0 | m2 | 0 | 0
| Decoration |  | 0 | m2 | 0 | 0
4 | FITTINGS AND FURNISHINGS | [5 empty] | 0
4.1 | General fittings, furnishings and equipment
Kitchen units: details to be stated.
| Kitchens |  | 0 | no | 0 | 0
5 | SERVICES | [5 empty] | 0
5.1 | Sanitary installations
Sanitary appliance: details to be stated.
| WC Installation |  | 0 | no | 0 | 0
| WC Sink installation |  | 0 | no | 0 | 0
| baths including bath panels & trims |  | 0 | no | 0 | 0
0
5.3 | Disposal Installations
Drainage to sanitary appliance: details to be stated.
| Generally |  | 0 | item | 0 | 0
5.4 | Water installations
Mains water supply: details, including the number of draw-off points (nr), to be stated.
| Cold & hot water |  | 0 | no | 0 | 0
5.5 | Heat source
Heat source (nr): details, including output of heat source (kW), to be stated.
| Boilers + Radiators |  | 0 | no | 0 | 0
5.8 | Electrical installations
| Power & Data distribution |  | 0 | no | 0 | 0
5.1 | Lift and Conveyor installations
Passenger lifts: details, including capacity (i.e. number of persons), speed (in m/sec), number of doors (nr), door heights and number of levels serviced (nr), to be stated.
| Passenger lift |  | 0 | no | 0 | 0
5.11 | Fire and lightning protection
| Fire alarm to apartments |  | 0 | no | 0 | 0
5.12 | Communication, security and control systems
Telecommunication systems: details of each type of system to be stated.
Data transmission systems: details of each type of system to be stated.
| Power & Data distribution |  | 0 | no | 0 | 0
8 | EXTERNAL WORKS | [5 empty] | 0
8.1 | Site Preparation works
| See above |  |  |  |  | 0
8.2 | Roads, Paths, pavings and surfacings
Roads: details, including width, to be stated.
| Tarmacadam to road and parking spaces |  | 0 | m² | 0 | 0
| Edgings |  | 0 | m | 0 | 0
8.3 | Soft landscapes, planting and irrigation systems
Grassed areas: details to be stated.
| soft landscaping |  | 0 | m² | 0 | 0
8.4 | Fencing,railings and walls
Walls: details, including height (m), to be stated.
| 2.1 High brick boundary wall |  | 0 | m | 0 | 0
Fencing: details, including height (m), to be stated.
| 2.1 High timber boundary fence |  | 0 | m | 0 | 0
Gates: details to be stated.
| Electric access gates |  | 0 | nr | 0 | 0
8.6 | External Drainage
| Drainage allowance |  | 0 | nr | 0 | 0
8.7 | External Services
Electrical
Connections to statutory undertaker's electricity main: details to be stated.
| Main electrical supply to building |  | 0 | item | 0 | 0
| Disconnections |  | 0 | item | 0 | 0
| Electrical substation |  | 0 | item | 0 | 0
Water
Connections to statutory undertaker's water main: details to be stated.
| Mains layout cost |  | 0 | item | 0 | 0
| Service costs |  | 0 | item | 0 | 0
| Water/sewerage infrastructure costs |  | 0 | item | 0 | 0
| Disconnections of water mains |  | 0 | item | 0 | 0
Gas
Connections to statutory undertaker's gas main: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
Street Lightning
External lighting to pedestrian areas: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
9 | MAIN CONTRACTOR'S PRELIMINARIES | [5 empty] | 0
| Main contractors preliminaries & OHP |  | 10 | % | 0 | 0
| SECTION SUB-TOTAL | [5 empty] | 0
0