Exam Submission

BEng Electrical & Electronic Engineering

ACDA5001 – Electrical Engineering

Prepared by:

Mr Aaron Hillam

P141233

Submitted to:

Dr Steve Mosey

School of Computing

22/01/2021

1.

L1=230∠0,  L2=230∠120,  L3=230∠240, f=50Hz,

Z1 is comprised of a 120mH inductance in series with a 20Ω resistance

Z2 is comprised of a 100mH inductance in parallel with a 52Ω resistance

Z3 is comprised of a 180mH inductance in series with a 100μF capacitance and a 15Ω resistor.

- I1=Vl1 / z1 = 230∠0/ 120 + j20 =  (230+j0)/(120+j20) * (120-j20)/(120-j20)

I1= ((27600 - j4600)/(14400 +400))

I1= 27600 – j4600 / 14800

I1=(27600/14800) – (j4600/14800) = 1.864 – j0.3108 A

|I1|=1.8642+0.3108^2 = 1.89

Θ = Tan-1(-0.3108/1.864) = -9.47̊

I1=1.89∠-9.47A

I2=Vl2 / z2 = 230∠120/ 100 + j52 =  (230+j120)/(100+j52) * (100-j52)/(100-j52)

I2= ((27600 - j4600)/(14400 +400))

I2= (27600 – j11960 + j12000 -j 6240)/ 10000 -j^2 2704

I2= (27600 / 12704) – (j6200 / 12704)

I2=(27600/12704) – (j6200/12704) = 2.17 – j0.49 A

|I2|=2.172+0.49^2 = 2.22

Θ = Tan-1(-0.49/2.17) = -12.72◦

I2=2.22∠-12.72A

I3=Vl3 / z3 = 230∠240/ 180 + j15 =  (230+j240)/(180+j15) * (180-j15)/(180-j15)

I3= ((41400 +j36150)/(32400 + 225))

I3= (41400 / 32625) – (j36150 / 32625) = 1.27 – j1.11 A

|I3|=1.272+1.11^2 = 1.69

Θ = Tan-1(-1.11/1.27) = -41.15◦

I3=1.69∠-41.15A

In = I1+I2+I3 = 1.89∠-9.47A + 2.22∠-12.72 + 1.69∠-41.15 = 5.8 ∠-63.34

2.

Central Compensation, has the supply voltage connected to an isolator, Which in turn is connected to a buzz bar, with all of the loads connected to it. The buzz bar is also connected to the power factor correction. There is only one bank of capacitors on the main power distribution switch board or substation. These are best suited where the systems have recurrent fluctuations on a daily basis.

Clear-cut, easy-to-monitor concept; Good utilization of installed capacitance; Installation usually relatively simple; Less total installed capacitance, since the coincidence factor can be taken into account; Less expensive for power distribution systems troubled by harmonics, as controlled devices are simpler to choke. The disadvantage of this Reactive currents within the user’s internal power distribution system are not reduced; Additional costs for the automatic control system, replacement/removal of loads require the PFC or capacitors to be adjusted / replaced.

The application of the compensation includes it Can always be used where the user’s internal power distribution system is not under-dimensioned.

Individual compensation has the supply voltage connected to an isolator, which in turn is connected to a buzz bar, with all of the loads connected to it. However, each load has a power factor correction (PFC), connected to it. The individual compensation is more effective if the majority of the reactive power is concentrated on a few larger loads that work over long durations. This has the advantage of Reactive power is completely eliminated from the internal power distribution system; Low costs per kvar; customising / ensuring that each load has the correct PFC; If the load is then removed, the PFC is also disconnected. Ultimately, this is a simpler technique. The disadvantages are The PFC system is distributed throughout the entire facility; High installation costs; A larger overall capacitor power rating is required as the coincidence factor cannot be taken into account.

The applications for individual include: to compensate the no-load reactive power of transformers; For drives in continuous operation; For drives with long power supply cables or cables whose cross section allows no margin for error.

The choice of the correct power factor correction equipment depends on the type of loads present and on their way of working.

3.a 132kV	170A		n 15:1 turns

VLsec = VL PRi/n3 = 132,000/153= 5080.68V

ILsec = 13*NsNp = 153* 170 = 4416.73A

S=Vls * Ils = 5080.68 * 4416.73 = 22.44 mVA

3.b

VLsec = (VL PRi/n)*3 = 132,000/15*3= 15242.05V

ILsec = 153*Ipl priIpl Sec = 15/3* 170 = 1472.24A

S=Vls * Ils = 15242.05 * 1472.24 = 22.44 mVA

4.

Definitely too much to do within the time limit. Spent an entire hour just getting through what I have submitted in Q1.