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It has been seen that commercial buildings such as hotels and others tend to caught in fire due to the complex structure of the buildings. Hence, there are many regulations and reforms for the construction of buildings and prevent fire hazards in hotels. The Fire Safety Order 2005 in short FSO is considered the most important regulation of the legislation (Office 2022). The objective of the order is to provide fire safety in commercial buildings and many other residential buildings as well in England and Wales. Moreover, the Fire Safety Act 2021 provides that the parts of a building including entrance doors, external walls, and structure and maintenance of the building are provided in the FSO. The fire safety guidelines must be complied with by the hotel owners and many others. In the next paragraph, the guidelines provided by FSO are mentioned.
The guidelines provide that the responsible person must hold at least two domestic premises, and holds the common emergency exit entrance through which the guests of the hotels evacuate the hotels in emergency circumstances (Egodage, Abdeen and Sridarran 2020). The fire safety rules are applicable to the buildings’ part such as common corridors along with stairways, which are used by the residents or guests of the hotel, and the entrance doors of the hotels. These regulations are only applicable to those buildings whose height is more than 11m. Apart from the legal guidelines, there are other general duties that exist, which are mentioned below.
In general, there are many other duties of the hotels and other building owners to provide the display of fire safety guidelines to the hotel’s guests and others. It is important to provide instructions and guidance on reporting the fire immediately. It is important to inspect and monitor the buildings at a particular time (Zhang et al. 2019). Nowadays, the building construction industry imposes Building Information Modelling technology. The technology presents the facilities in 3-D, moreover, it provides a visual method for modelling the building based on the regulations (Khan 2020). The owners of the hotel must install the fire alarm, must have fire extinguishers in their hotels, and execute proper emergency exit signs in order to provide safety to the guest of the hotels, 
In short, there are many factors of fire causation such as the construction of the buildings. However, there are laws and regulations which provide fire safety measures along with guidelines for constructing all kinds of buildings. Apart from guidelines, there are many other responsibilities of the hotel owners to guide their guests in case of a fire emergency.
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