Health, Safety and Welfare ACBA4023:

Assignment 1:

Report on Health and Safety Challenges and Risks in Construction for the affordable flats on Kings Road SA1.

Prepared by: Morgan Owens

For Review by: Rhodri Thomas

Contents

Introduction	2

Building Safety Act: Potential Impacts on the Project	2

Relevant Health and Safety Legislation	3

CDM Regulations: Responsibilities of Different Parties	5

Conclusion	6

References	7

Appendix – Risk Assessment	9

Glossary of Terms	10

### Introduction

As a trainee Health and Safety Officer at UWTSD Construction, I have been asked to create a report on the health and safety challenges and risks for our upcoming project to build affordable flats on Kings Road SA1. This report will cover the relevant health and safety laws, the impacts of the Building Safety Act and the responsibilities of different parties under the CDM regulations relevant to the project. It will also discuss how to overcome barriers with regards to effective health and safety management and provide a risk assessment for the project.

### Building Safety Act: Potential Impacts on the Project

The Building Safety Act 2022 was introduced following the Grenfell Tower fire in 2017 to reform building safety legislation and aims to improve the construction and, more importantly for this project, improve the management of higher risk buildings, such as the tall residential building in this project. I have set out below some of the key impacts to consider.

Key Impacts on the Project:

- Building Safety Regulator (BSR): The BSR is part of the Health & Safety Executive and oversees building safety standards. For our project, we need to comply with BSR requirements at various stages of construction. The BSR will ensure that our project meets all safety standards and regulations, which will involve regular inspections and approvals at various stages. This oversight is crucial to ensure that the building is safe for future occupants. The BSR's involvement means that we will have to submit detailed plans and safety measures for approval at various stages of the project. This will require careful planning and coordination to ensure that all requirements are met.

- Gateways: Our project must pass through three BSR gateways: planning approval (Gateway 1), design approval before starting on site (Gateway 2), and final approval before occupation (Gateway 3). These gateways require specific information to be submitted and approved, which can affect our project timelines and costs. Gateway 1 involves submitting detailed plans and safety measures for approval before construction begins. Gateway 2 requires approval of the design and safety measures before any construction work starts on site. Gateway 3 involves final approval of the building's safety before it can be occupied. The gateways are designed to ensure that safety is considered at every stage of the project, from planning to construction to occupation. This means that we will need to provide detailed information and documentation at each stage to demonstrate that safety measures are in place.

- Stakeholder Responsibilities: The Act introduces new roles, including the client, principal contractor, and principal designer. Each role has specific duties to ensure compliance with safety regulations. This means we need effective communication and cooperation among all parties involved in the project. The client is responsible for ensuring that the project is managed safely and that all stakeholders are appointed and fulfil their roles. The principal contractor is responsible for managing the construction phase and ensuring that all safety measures are implemented. The principal designer is responsible for managing the design phase and ensuring that all safety risks are identified and mitigated. Communication and cooperation among all parties are essential to ensure that safety measures are implemented and maintained throughout the project. This means regular meetings and updates to ensure that everyone is aware of their responsibilities and any changes to the project.

- Change Control: Any major changes to the approved design must be notified to the BSR and approved before implementation. This process can affect project schedules and budgets, so careful planning and management are necessary. Change control ensures that any modifications to the design do not compromise safety. It requires thorough documentation and approval of changes to ensure that safety standards are maintained throughout the project. Change control is an important aspect of the Building Safety Act, as it ensures that any changes to the design are carefully considered and approved to maintain safety standards. This means that we will need to have a robust process in place for managing changes and ensuring that they are documented and approved.

- Legislation.gov.uk (2022)

- GOV.UK (2022)

- Pennington (2022)

### Relevant Health and Safety Legislation

Several key elements of health and safety legislation are essential for construction, ensuring the safety and well-being of workers and the public.

- Health and Safety at Work Act 1974 (HASWA): This primary UK law mandates employers to ensure a safe working environment. Employers must provide safe systems of work, adequate training, and supervision. They are required to take all reasonable steps to protect employees' health, safety, and welfare, including providing safe equipment and maintaining safe working conditions.

- Construction (Design and Management) Regulations 2015 (CDM 2015): CDM regulations improve health and safety in construction by defining roles and responsibilities for stakeholders like clients, principal designers, and contractors. They emphasize early planning and coordination to identify and mitigate risks, ensuring health and safety are prioritized throughout the project lifecycle, from design to construction and maintenance.

(7) Legislation.gov.uk (2015)

(8) Health and Safety Executive (HSE) (2015) CDM 2015 Regulations Overview.

(9) Health and Safety Executive (HSE) (2015)

- Control of Substances Hazardous to Health Regulations (COSHH) 2002: COSHH requires employers to control exposure to hazardous substances to prevent ill health. This involves assessing risks, implementing control measures, and providing information and training. Employers must provide personal protective equipment (PPE), ensure proper ventilation, and offer training on the safe handling and use of hazardous substances.

(10) Legislation.gov.uk (2002)

(11) Health and Safety Executive (HSE) (2002)

(12) Health and Safety Executive (HSE) (2002)

Overcoming Barriers to Effective Health and Safety Management:

- Communication: Ensuring clear and open communication among all parties involved in the project is critical. Regular meetings and updates can help address issues promptly. Utilising effective communication and regular meetings ensures that everyone is aware of the safety procedures, risks, and measures in place. It allows for quick resolution of issues and ensures that safety is a shared priority.

- Training: Providing appropriate training to all workers on health and safety practices and regulations ensures they are aware of risks and how to mitigate them. Training equips workers with the knowledge and skills to identify and respond to hazards. It ensures that they understand the importance of safety measures and how to implement them effectively.

- Monitoring: Continuous monitoring and auditing of health and safety practices help identify and address potential hazards before they become serious issues. Regular inspections and audits ensure that safety measures are being followed and that any issues are identified and addressed promptly. It helps maintain a high standard of safety throughout the project. Regular inspections and audits help maintain a high standard of safety throughout the project.

- Leadership: Strong leadership and commitment from senior management can drive a culture of safety within the organisation. Leadership sets the tone for the importance of safety in the workplace. When senior management prioritises safety, it encourages all employees to do the same and fosters a culture where safety is valued and practised consistently.

### CDM Regulations: Responsibilities of Different Parties

The Construction Design and Management Regulations 2015 (CDM 2015) outline the responsibilities of various Stakeholders involved in a construction project.

1. Clients: Clients must make suitable arrangements for managing the project, including appointing other Stakeholders, allocating sufficient time and resources, and ensuring relevant information is provided. The client is responsible for ensuring that the project is managed safely from start to finish. They must appoint competent Stakeholders and ensure that they have the necessary resources and information to fulfil their roles effectively. The client plays a key role in ensuring that the project is managed safely from start to finish.

2. Principal Designers: Principal designers plan, manage, monitor, and coordinate health and safety in the pre-construction phase. They identify and control foreseeable risks and ensure designers fulfil their duties. The principal designer is responsible for ensuring that health and safety are considered during the design phase. They must identify potential risks and work with other designers to mitigate them. They also ensure that health and safety information is communicated to the principal contractor and other Stakeholders. The principal designer plays a crucial role in ensuring that health and safety are integrated into the design process. They must collaborate closely with other designers to identify and mitigate risks and ensure that health and safety information is shared with all relevant parties.

3. Principal Contractors: Principal contractors coordinate the construction phase, consult with the client and principal designer, prepare the construction phase plan, and ensure site inductions and welfare facilities are provided. The principal contractor is responsible for managing health and safety during the construction phase. They must prepare a construction phase plan that outlines safety measures and procedures. They also ensure that all workers receive site inductions and have access to welfare facilities. The principal contractor is responsible for implementing and managing health and safety measures on-site. They must ensure that all workers are aware of safety procedures and have access to necessary facilities. They also need to coordinate with other Stakeholders to ensure that health and safety are maintained throughout the construction phase.

4. Designers: Designers must eliminate, reduce, or control foreseeable risks during construction and maintenance. They provide information to other project team members to help them fulfil their duties. Designers play a crucial role in identifying and mitigating risks during the design phase. They must consider health and safety in their designs and provide information to other Stakeholders to ensure that risks are managed effectively. They must identify potential risks and work to eliminate or reduce them.

5. Contractors: Contractors must plan, manage, and monitor their work to ensure health and safety. They cooperate with other Stakeholders and ensure workers are consulted and engaged in securing their health and safety. Contractors are responsible for implementing safety measures on-site and ensuring that their work is conducted safely. They must cooperate with other Stakeholders and engage workers in health and safety practices. Contractors play a key role in ensuring that health and safety measures are implemented on-site. They must plan, manage, and monitor their work to ensure that it is conducted safely. They also need to cooperate with other Stakeholders and engage workers in health and safety practices.

(7) Legislation.gov.uk (2015)

(8) Health and Safety Executive (HSE) (2015) CDM 2015 Regulations Overview.

(9) Health and Safety Executive (HSE) (2015)

### Conclusion

This report has provided a comprehensive overview of the health and safety challenges and risks associated with construction work, ensuring compliance with relevant legislation, and promoting a safe working environment. By understanding the impacts of the Building Safety Act, relevant health and safety legislation, and the responsibilities under the CDM regulations, we can effectively manage health and safety in our project to build affordable flats on Kings Road SA1. Overcoming barriers to effective health and safety management through communication, training, monitoring, and leadership will ensure that safety is prioritised at every stage of the project. The risk assessment for excavation work highlights the importance of identifying and mitigating risks to ensure the safety of workers and the public.

In addition, considering emergency procedures, health and well-being, environmental impacts, and leveraging technology can further enhance our health and safety practices. Continuous improvement and a commitment to safety will enable us to achieve our goal of building a safe, sustainable, and successful project.

By prioritizing health and safety, we do not only comply with legal requirements but also create a positive and productive working environment. This commitment to safety will benefit our workers, the community, and the overall success of the project.

### References

Building Safety Act 2022

  - Legislation.gov.uk (2022)

Building Safety Act 2022.

Available at: https://www.legislation.gov.uk/ukpga/2022/30/contents/enacted

(Accessed: 9 March 2025).

  - GOV.UK (2022)

Building Safety Act: Guidance.

Available at: https://www.gov.uk/government/publications/building-safety-act-2022-guidance

(Accessed: 9 March 2025).

  - Pennington (2022)

Building Safety Act 2022: Reforms and Implications.

Available at: https://www.pennington.co.uk/building-safety-act-2022-reforms-and-implications

(Accessed: 9 March 2025).

Health and Safety at Work Act 1974

  - Health and Safety Executive (HSE) (1974)

Health and Safety at Work etc Act 1974.

Available at: https://www.hse.gov.uk/legislation/hswa.htm

(Accessed: 20 March 2025).

- Legislation.gov.uk (1974)

Health and Safety at Work etc Act 1974.

Available at: https://www.legislation.gov.uk/ukpga/1974/37/contents

(Accessed: 11 March 2025).

- Wikipedia (2022)

Health and Safety at Work etc Act 1974.

Available at: https://en.wikipedia.org/wiki/Health_and_Safety_at_Work_etc_Act_1974

(Accessed: 11 March 2025).

Construction (Design and Management) Regulations 2015

- Legislation.gov.uk (2015)

Construction (Design and Management) Regulations 2015.

Available at: https://www.legislation.gov.uk/uksi/2015/51/contents/made

(Accessed: 12 March 2025).

- Health and Safety Executive (HSE) (2015) CDM 2015 Regulations Overview.

Available at: https://www.hse.gov.uk/construction/cdm/2015/index.htm

(Accessed: 12 March 2025).

- Health and Safety Executive (HSE) (2015)

Summary of CDM 2015 Duties.

Available at: https://www.hse.gov.uk/construction/cdm/2015/summary.htm

(Accessed: 12 March 2025).

Control of Substances Hazardous to Health Regulations 2002

- Legislation.gov.uk (2002)

Control of Substances Hazardous to Health Regulations 2002.

Available at: https://www.legislation.gov.uk/uksi/2002/2677/contents/made

(Accessed: 10 March 2025).

- Health and Safety Executive (HSE) (2002)

COSHH Regulations Guidance.

Available at: https://www.hse.gov.uk/coshh/index.htm

(Accessed: 10 March 2025).

- Health and Safety Executive (HSE) (2002)

COSHH Regulations PDF.

Available at: https://www.hse.gov.uk/pubns/priced/l5.pdf

(Accessed: 10 March 2025).

### Appendix – Risk Assessment

| Hazard | Severity (1–5) | Likelihood (1–5) | Risk Rating (S × L) | Potential Consequences | Control Measures |
| --- | --- | --- | --- | --- | --- |
| Collapse of excavation | 5 | 4 | 20 | Serious injury or fatality | Use shoring, do regular inspections, implement safe excavation practices |
| Falling into excavation | 4 | 3 | 12 | Injury from falls | Install barriers and signage, provide supervision, use fall protection if required |
| Exposure to hazardous substances | 3 | 3 | 9 | Respiratory issues | Provide PPE (masks, gloves), ensure ventilation, monitor air quality |
| Equipment operation | 4 | 4 | 16 | Injury from machinery | Train operators, maintain equipment, enforce safe operating procedures |
| Underground services (utilities) | 5 | 3 | 15 | Electrocution, gas leaks, flooding, fire | Use utility maps, conduct CAT scans, hand-dig near known services, liaise with utility providers |
| Noise and vibration | 3 | 3 | 9 | Hearing loss, hand-arm vibration syndrome (HAVS) | Hearing protection, equipment maintenance, exposure time limits |
| Manual handling | 3 | 4 | 12 | Musculoskeletal injuries | Use mechanical aids, team lifting, manual handling training |

### Glossary of Terms

| Term | Description |
| --- | --- |
| Building Safety Act (BSA) | The Law to make buildings safer |
| Building Safety Regulator (BSR) | The Group that checks if buildings are safe and up to standard |
| Gateways | A step by step process where safety is checked before, during and after building |
| Client | The person and/or company that is financing the project/construction |
| Principal Contractor | The contractor who runs the construction |
| Principal Designer | The Person and/or company who designs the construction |
| CDM Regulations | The Rules that say who must do what to keep people safe on construction sites |
| Health and Safety at Work Act (HASWA) | The law that says that jobs must be safe for workers |
| Control of Substances Harmful to Health (COSHH) | The rules to protect people from dangerous and harmful chemicals |
| Risk Assessment | A list of things that could do wrong and how to resolve them |
| Hazard | Something that could cause harm to someone |
| Likelihood | How likely is it that something may or may not happen |
| Severity | How bad the harm could be |
| Control Measures | Things we do to control hazards |
| Personal Protective Equipment (PPE) | Safety gear such as hard hats, gloves, safety goggles and face masks |
| Manual Handling | Lifting or moving things by hand |
| Excavation | Digging up the earth in a construction site |
| Shoring | Supports to stop an excavation from collapsing |
| CAT Scan | A tool used to locate underground utilities |
| Welfare Facilities | Toilets, sinks and places to rest on site |
| Site Induction | A safety talk before the work commences |
| Monitoring | Checking that safety rules are being followed |