	Activity to be Assessed
	Assessment Number

	Underground Services
	001

	Persons undertaking or affected by the activity

	

	
	Y
	Employees
	Y
	Contractor
	Y
	Public
	
	Service User
	

	

	
	
	Other …………………………………………………………………………………………….

	Identified Hazards and Associated Risks
	Likelihood
	Severity
	Risk Level

	1
	Fire, explosion and/or electrocution caused by contact with live conductor
	3
	3
	9

	2
	Fire, explosion and/or asphyxiation caused by fracturing gas line
	3
	3
	9

	3
	Flooding, caused by fracture of water main
	3
	2
	6

	4
	Biological hazards from untreated sewage
	2
	2
	4

	5
	
	
	
	

	6
	
	
	
	

	Existing Control Measures / Additional Control Measures Required

	1
	Ensure that adequate planning of the work is carried out so as to avoid the need to excavate near live services wherever reasonably practicable. Permit to excavate to be implemented by the site manager/foreman.

	2
	Full details of all underground services must be obtained (from the relevant authority, principal contractor or CDM Coordinator) before excavation work is permitted to comment.

	3
	Details must include location, type and capacity of all services.

	4
	Services must be located using a combination of reference to information and use of suitable detection equipment. Dial before you dig service recommended where extensive excavations are required. 

	5
	All Services must be clearly marked on the ground and drawings before excavations commence. The line and depth of the services must be made clear.

	6
	All Services must be assumed live unless proven otherwise – Written confirmation must be obtained and help on site.

	Reassessment of Activity Hazards 
	Likelihood
	Severity
	Risk Level

	1
	Fire, explosion and/or electrocution caused by contact with a live conductor
	1
	3
	3

	2
	Fire, Explosion and/or asphyxiation caused by fracturing gas line
	1
	3
	3

	3
	Flooding, caused by fracture of water main
	1
	2
	2

	4
	Biological hazards from untreated sewage
	1
	2
	2

	5
	
	
	
	

	6
	
	
	
	

	Name: Nathan Price
Position: Quantity Surveyor
	Signed: N PRICE


	   Date of Completion: 5/5/2020

	Reviews
	Key
	

	Review Date: 
	Likelihood
	Severity
	Severity of Injury
	5
	5Y
	10R
	15
	20
	25

	Reviewed by: 
	1   very     unlikely
2   unlikely
3   likely
4   very likely
5   certainty
	1   nuisance
2   minor
3   medical treatment
4   major
5   fatal
	
	4
	4
	8
	12
	16
	20

	Review Date :
	
	
	
	3
	3
	6G
	9
	12
	15

	Reviewed by:
	
	
	
	2
	2
	4
	6Y
	8
	10Y

	Review Date :
	
	
	
	1
	1
	2
	3
	4
	5G

	Reviewed by:
	
	
	
	0
	1
	2
	3
	4
	5

	Review Date :
	
	
	
	Likelihood of Injury

	Reviewed by:
	
	
	
	Low Risk
	
	Medium Risk
	
	High Risk
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