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Technical Specifications
Structural Design
· AA451PT Aluminium Thermally Broken Framing System
· Mk2 Door - Double Glazed Aluminium Framed Acoustic Door - Acoustic, framed double glass door
· Highly thermally insulated aluminium façade window system - AWS 70 WF.HI
· Baskeyfield Entrance Canopy
· BritFrame - Flat-to-Pitch Structural Steel Frame
· External Timber Soffits - (suspended ceilings)
· Roof Access Hatch | Flat Roof Access Hatch | Polycarbonate Opening Access Hatch | Escape Hatch | Coxdome - Roof Hatches
Mechanical Systems
· Standard Modular Ramp
· Hyperion - Full Height IPS - Integrated Plumbing System
· Trosifol® Natural UV - UV Control laminated glass interlayer
Fittings, Furnishings and Equipment
· Bespoke Teaching Wall Configuration - Teacher Walls
Stage and Rigging Systems
· Harlequin Stages
Seating and Accessibility
· Internal Modular Ramp
· Industrial Stair System - Step Over Unit; Bridge Unit
· Permanently fixed vertical ladder system - Mild steel ladders
Safety and Security Systems
· Armco Safety Barrier (Wall Mounted) - Wall Mounted Safety Barrier System
· FBX Automatic Rising Arm Barrier
· Argus 40 - 60 - 80 Sensor Speed Gates - Sensor Barriers for Entrance Foyers
· FS120 Fire Shutter
· Smoke Curtain SmokeStop Concertina™ Closed - Rectangular - Concertina Smoke Curtain - Smoke Curtain Concertina
· HUKP-0105-26 – Automatic Fire Door Keep Clear - Fire signage
· ASF LED Linear or Spotlight Luminaire Illuminated Stainless Steel Handrail and Balustrade
· Entry - VR Panel - Intercom Call Station
· IWA 14 HVM Automatic Rising Terra Galaxy Bollard – 7.2t at 30 mph - Anti Terrorist HVM Rising Bollard
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