Student FEEDBACK FORM- James

| Generic Assessment Criteria | Marks available | Marks awarded |
| --- | --- | --- |
| 1. Engagement with Literature Skills . |  |  |
| The report shows some level of research, with a reasonable understanding of the subject. More depth to the research could potentially result in a higher grade. There is evidence of engagement with relevant literature on the subject. Sources have been listed, however, there is no direct reference to the relevant sections of the assignment. | 10 | 5 |
| 2. Knowledge and Understanding Skills |  |  |
| Additional, accurate, lighting calculations have been made to establish the number of luminaires per room demonstrating a good understanding of the design process. All cable calculations are accurate although there is only some reference to relevant tables and values from BS7671. However, some calculations are fully referenced to BS7671, more consistency throughout the calculations would improve the overall assignment. | 25 | 15 |
| 3. Cognitive and Intellectual Skills |  |  |
| Cable layout diagrams are good with consistent, suitable numbers of lights and sockets in each room. Good use has been made of sharing the loads across the phases although there is no reference as to why it is done within the report. There is basic research into diversity although it has not always been applied to the calculations. | 25 | 12 |
| 4. Practical Application Skills |  |  |
| Circuits are suitably arranged with the correct use of regulations and guides when identified. All selected components e.g. light fittings, protective devices, containment systems are appropriate for the environment, however, more detailed research into each would be beneficial. | 20 | 10 |
| 5. Transferable Skills for Life and Professional Practice |  |  |
| The overall layout and presentation of the final report is neat with good use of the Appendices to show the relevant tables from BS7671 being used. There is a brief conclusion which could be improved by including a self-reflection on future improvementsTop of Form | 20 | 10 |

| Assessment Mark (Assessment marks are subject to ratification at the Exam Board. These comments and marks are to give feedback on module work and are for guidance only until they are confirmed. ) | Late Submission Penalties (tick if appropriate) |  | 52% |
| --- | --- | --- | --- |
|  | Up to 1 week late (40% Max) |  |  |
|  | Over 1 week late (0%) |  |  |