## Front
Programme - BSc Quantity Surveying
Module - Design Economics
Lecturer - Ceri Jones
Assignment - Preparation of a cost plan
Submission Deadline - 27.03.20
Student - Andrew Brewer
Student Number - 1704105
NRM1 Cost Plan Template
27/03/2020

## Information Used
Information Used & Assumptions
1 | Information Used
Typical items to be included in order of cost estimates reports are: (a) project title; (b) project description; (c) a statement of cost (including cost limit); (d) details of the information and specification on which the cost plan was prepared; (e) a statement of the floor areas; (f) basis of cost estimates (i.e. assumptions); (g) estimate base date (i.e. to which inflation has been applied); (h) estimated costs of and a request for decisions on any alternative proposals (i.e. summary of (i) option costs); and (j) inclusions and exclusions (i.e. a clear and unambiguous statement of what is included in and excluded from the order of cost estimate).
As per Client Query Sheet No. 1 dated 14.02.20 -
A provisional sum of £65,000.00 for the removal of special waste has been included
A provisional sum of £650,000.00 for the relocation of existing services has been included
No provision for working restrictions has been accounted for
£250/m2 based on the footprint area of the building to cover the substructures
£75/m2 based on the GIFA allowance to cover the structural frame provision
£375/m2 based on the GIFA allowance to cover the Mechanical and Electrical installation (this includes solar but excludes passenger lifts which have been priced separately)
12% allowance for all contractor Preliminaries has been included
All costs associated with planning conditions are excluded
Anticipated start on site 1Q21
Main Contractor Overheads & Profit Included in preliminaries allowance
10% risk contingency has been included
Assumed Provisional Sum of £30,000 to cover kitchen type areas
Assumed Provisional Sum for street lighting of £30,000
Assumed Provisional Sum of £200,000 to cover External works, including hard & soft landscaping
Provisional Sum of £250,000 to cover FF+E has been included
All professional fees are excluded
Costs taken from Spons 2017(Tender Index 572)
2 | General assumptions;
Sum for Structural Frame includes Floor Decks at each level.(1st & 2nd)
Any further costs associated with further constraints are included within the risk contingency
Costs are based upon the information as provided.
No working restrictions have been accounted for as per Query sheet no.1
We have assumed that the area of works will be decanted for the project. No allowance is made for throughways or dealing with building occupants.
The exact nature of specification for internal doors, screens, folding partitions and finishes is assumed.
All costs are provisional awaiting design development.
3 | General notes and exclusions;
All included costs are subject to variation following design development.
Risks associated with BREXIT & Covid - 19 are not considered.
A risk allowance of 10% is included for this estimate.
VAT is excluded from the estimate.
Works will be undertaken in a single phase.

## Query Sheet 1
Student name: | Andrew Brewer
Return email: | 1704105@student.uwtsd.ac.uk
Y Fforwm Building - Cost Plan
|  |  |  | Query Sheet Nr. | 1
|  |  |  | Date : | 14.02.20
QUERY |  |  | Answer
1. Facilitating Works? |  | Please provide quantities for facilitating works. (Measurements or provisional sum?)
Particular attention to -
Demolition works |  |  | Please include a provisional sum of £65,000.00 for the removal of special waste
Toxic/hazardous/ contaminated material treatment
Temporary support to adjacent structure |  |  | Please include a provisional sum of £650,000.00 for the relocation of existing services.
Specialist groundworks
Temporary diversion works
Extraordinary site investigation works
Working time restrictions |  |  | No working restrictions
2. Substructure. Please provide details of or substructure to be measured or a provisional sum. |  |  | Please allow £250/m2 based on the footprint area of the building to cover the substructures
3. Superstructure
Frame. | Please provide details of or instruction on GIFA or Provisional Sum measurement to be used. |  | Please include £75/m2 based on the GIFA allowance to cover the structural frame provision.
4. Mechanical & Electrical | Please provide a provisional sum or budget cost for the design, installation and commissioning |  | Please include £375/m2 based on the GIFA allowance to cover the Mechanical and Electrical installation.
5. Design Fees | Please provide details of costs or allowance for project design and consultancy fees. |  | Please state within cost plan that all professional fees are excluded
To include Insurance, Planning, Design, Engineering, decanting & relocation and constraints such as Section 106 etc.
6. Main Contractor Preliminaries | Please provide details of costs or allowance for main contractor preliminaries. |  | Please include a 12% allowance for all contractor Preliminaries
Please state within cost plan that all cost associated with planning conditions are excluded.
7. Main Contractor Overheads & Profit |  |  | Inc in preliminaries allowance
8. Time Scales | Please provide key dates of construction to include start and completion deadlines. (Inflation linked to dates) |  | Anticipated start on site 1Q21
9. Risk | Please provide the risk contingency %. |  | Please include 10% risk contingency
10. Constraints | Please list and provide any costs for further constraints associated with the delivery of the construction project, including planning. |  | Included within risk contingency
11. FFE | Do you require FFE inclusion? If so please provide detail or provisional sum. |  | Please include a Provisional Sum of £250,000 to cover FF+E

## Summary Original
Project details |  | NRM1 elemental cost plan template
Y Fforwm Building - UWTSD Swansea SA1
Works cost estimate
Cost
Building works estimate
| Group element 0 | FACILITATING WORKS | 715000 |  | #DIV/0!
| Group element 1 | SUBSTRUCTURE | 231660 |  | #DIV/0!
| Group element 2 | SUPERSTRUCTURE | 1552919.09 |  | #DIV/0!
| Group element 3 | INTERNAL FINISHES | 331520 | 0 | #DIV/0!
| Group element 4 | FITTINGS AND FURNISHINGS | 280000 |  | #DIV/0!
| Group element 5 | SERVICES | 1222500 | 0 | #DIV/0! | #DIV/0!
| Group element 8 | EXTERNAL WORKS | 230000 |  | #DIV/0!
| Group element 9 | MAIN CONTRACTOR'S PRELIMINARIES | 547631.8908 |  | #DIV/0!
Works cost estimate (sub total A) |  |  | 5111230.9808 | 0
Project design team fees and other development costs (sub total B)
0
Base cost estimate A + B (sub total C) |  |  | 5111230.9808
| Group element 13 | Risk allowance @ 10% | 511123.0981
Total Risk allowances (sub total D) |  |  | 511123.0981
0
Total Construction Cost (C + D) |  |  | 5622354.0789
Regioal Variation to Wales |  | (@ 0.88) | 4947671.5894
TPI |  | Q1 2021 | 5788775.7596
Total Construction Costs |  |  | 5788775.7596
0
0
0
0
0
0
0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0
|  | 0 |  | 0

## NRM1 CP template
Cost Plan for XXXXXXX
NRM 1 phaseologies
Elemental Cost Plan
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
0 | FACILITATING WORKS | [5 empty] | 715000
0.1 | Toxic/hazardous material
| Provisional Sum (Taken from Query Sheet No. 1) |  |  | item | 0 | 65000
Exisiting Services
| Relocation of the existing services (Taken from Query Sheet No. 1) |  |  | item | 0 | 650000
0.2 | Major demolition works
| Demolition of entire structure |  | 0 | item | 0 | 0
1 | SUBSTRUCTURE | [5 empty] | 231660
1.1 | Foundations
| Ground floor slab including insulation and DPM |  | 926.64 | m2 | 250 | 231660
Provisional Sum based on GIFA (Taken from Query Sheet No.1)
2 | SUPERSTRUCTURE | [5 empty] | 1552919.09
2.1 | Frame
Provisional Sum based on GIFA (3floors at 926.64m2) Taken from Query Sheet No.1)
| RC frame;composite beam and slab floors |  | 2779.92 | m2 | 75 | 208494
2.2 | Upper Floors
| Concrete upper floors (Included in Frame PC hence £0) |  | 0 | m2 | 0 | 0
2.3 | Roof | [5 empty] | 126679
Aluminium Roofing; standing seam. Kalzip standard natural aluminium 0.9mmthick; 180mm glass fibre insulation; vapour control layer; linear sheets
| Ridge 1 |  | 632.5 | m2 | 65 | 41112.5
| Ridge 2 |  | 632.5 | m2 | 65 | 41112.5
| allowance for rainwater goods |  | 0 | item |  | 0
| Guttering (170mm UPVC gutter) |  | 102 | m | 42 | 4284
| Downpipe (110mm UPVC; fixed to backgrouds; including offsets and shoes) |  | 48 | m | 40 | 1920
| Sofit - price taken from lead seam including Geotec underlay |  | 127 | m2 | 150 | 19050
| Allowance for trims and flashings |  | 0 | item |  | 0
| Roof lights/patent glazing and glazed roofs |  | 19.2 | m2 | 1000 | 19200
(Individual polycarbonaterooflights; rectangular; electric opening
| Stairs & Ramps | [5 empty] | 98000
2.4 | Staircase; Reinforced Concrtet; high quality finishes; stainless steeland glass balustrades, plastered and decorated sofits.
| Main Staircase |  | 4 | no | 24500 | 98000
Rate = £17,500 for 3m high plus £700 per extra 100mm (equiv to £2100 per 300mm) Total per staircase = £24500 per floor
| External Walls | [5 empty] | 832752.85
2.5
| Cladding to elevations (Trespa single skin rainscreen cladding; 8mm thick with secondary support/frame system; adhesive fixed panels; open joints; 100mm Kingspan K15 insulation; aluminium subframe fixed to masonry/concrete |  | 241.46 | m2 | 260 | 62779.6
| Brickwork/Block & Cavity Walls |  | 513 | m2 | 160 | 82080
(Cavity wall; facing brick outer skin;insiulation; with plaster on standard weight block inner skin; emulsion)
| Concrete Plinth/Coping to brick Piers |  | 30 | m2 | 160 | 4800
| Curtain Walling (unitized curtain walling system with double glazed units; aluminium structural framingand spandrel rails; standard colour powder coated) |  | 640.25 | m2 | 1050 | 672262.5
| Solar Shading (Fixed aluminium Brise Soleil including uni-strut supports; 300mm deep) |  | 61.89 | m2 | 175 | 10830.75
| Windows and external doors | [5 empty] | 66501.94
2.6
Windows - Composite aluminium windows; U value = 1.5 W/m2K. Stainless steel ironmongery; Velfac system 200 or similar
| Type 1 |  | 4 | nr | 320.16 | 1280.64
| Type 2 |  | 14 | nr | 848.64 | 11880.96
| Type 2a |  | 5 | nr | 848.64 | 4243.2
| Type 3 |  | 3 | nr | 1028.16 | 3084.48
| Type 3a |  | 1 | nr | 1028.16 | 1028.16
| Type 4 |  | 1 | nr | 848.64 | 848.64
| Type 5 |  | 7 | nr | 1250.01 | 8750.07
| Type 6 |  | 3 | nr | 1250.01 | 3750.03
| Type 7 |  | 3 | nr | 3211.92 | 9635.76
External doors
| Automatic glazed sliding doors in aluminium; polyester powder coated; linear sliding doors; inner pivoted pocket screens; glazed with safety unitsin accordnace with BS; manifestation etched logo; automatic action with infa-red control complete with emergency stopand mechanical manual locking; fixing in accordance with the manufacturers instructions including connections to services; mastic pointing all around (opening 2.10 m x 2.10 m) |  | 0 | m2 | 0 | 0
|  |  | 2 | no | 11000 | 22000
|  |  | 0 | no | 0 | 0
Internal walls
2.7
| 140mm block wall (dense aggregate block walls) |  | 420 | m2 | 48 | 20160
| extra for emulsion |  | 0 | m2 | 0 | 0
| Metal stud and board partitions; 130mm thick parttion; 70mm steel studs at 600mm centresgenerally; 2 layers 15mm Sondblocboard each side; joints filled with fillerand joint tape; emulsion paint finish; softwood skirtings with gloss finish. |  | 1557.05 | m2 | 86 | 133906.3
Internal doors & screens
2.8 | Standard fire doors; cellular core; softwood lining; softwood architrave; aluminium ironmongery (lockable & self-closure); painting & polishing. Priced as single or double leaf; doors with adjoining glass panel or screen priced as double leaf. All doors 60 min fire resistance. Additional Ironmongaery; euro locks; push plates; kick plates; signage; closures for classroom door lockable; fire rated. | [5 empty] | 66425
| Type 1 - 1010mm Wide x 2110mmHigh - single leaf |  | 19 |  | 475 | 9025
| Type 2 - 810mm Wide x 2110mm High - single leaf |  | 13 |  | 475 | 6175
| Type 4 - 1010mm Wide x 2110mmHigh - sigle leaf |  | 10 |  | 475 | 4750
| Type 5 - 1910mm Wide x 2110mm High - double leaf |  | 9 |  | 925 | 8325
| Type 5B - 2050mm Wide x 2110mm High - double leaf |  | 5 |  | 925 | 4625
| Type 5C - 1810mm Wide x 2110mm High - double leaf |  | 2 |  | 925 | 1850
| Type 6 - 1510mm Wide x 2110mmHigh - double leaf |  | 7 |  | 925 | 6475
| Associated Iron mongery sets (excluding panel/screens on listed door sets) including additional sets for double leaf door sets. |  | 72 | nr | 350 | 25200
|  |  | 0 | nr | 0 | 0
| INTERNAL FINISHES | [5 empty] | 331520
3
Wall finishes
3.1 | Internal wall finishes; one mist coat and two coats emulsion paint
| Paint finish |  | 0 | m2 | 4 | 0
| Floor finishes | [5 empty] | 136920
3.2
| Ground floor; glazed ceramic tiled floor; anti slip tiles |  | 894 | m2 | 55 | 49170
| First floor; carpet tiles; including underlay, edge grippers; heavey contract duty; Forbo Flotex HD |  | 828 | m2 | 50 | 41400
| Second floor; carpet tiles; including underlay, edge grippers; heavey contract duty; Forbo Flotex HD |  | 927 | m2 | 50 | 46350
|  |  | 0 | m2 | 0 | 0
| Ceiling finishes | [5 empty] | 194600
3.3 | acoustic suspended ceilings on anti vibration mountings
| Based on GIFA for all three floors |  | 2780 | m2 | 70 | 194600
| Decoration |  | 0 | m2 | 0 | 0
| FITTINGS AND FURNISHINGS | [5 empty] | 280000
4
General fittings, furnishings and equipment
4.1
| Kitchen areas - Provisional sum to cover staff tea room, printer area and any further kitchen type facilities. |  | 1 | no | 30000 | 30000
| FF&E; Provisional sum as stated in Query Sheet no. 1 |  | 1 |  | 250000 | 250000
| SERVICES | [5 empty] | 1222500
5 | PS of £375 m2 as per query sheet no. 1 |  | 2780 |  | 375 | 1042500
Sanitary installations
5.1
| WC Installation; low level WC; viteous china pan and cistern; black plastic seat; low peassure ball valve; plastic flush pipe; fixing brackets |  | 15 | no |  | 0
| WC Sink installation; sink; glazed fireclay; chromium plated waste plug and chain |  | 15 | no
| baths including bath panels & trims |  | 0 | no | 0 | 0
0
Disposal Installations
5.3 | Drainage to sanitary appliance: details to be stated.
| Generally |  | 0 | item | 0 | 0
Water installations
5.4 | Hot & cold water installation; mains supply; hot & cold water distribution. (office building business park)
| Cold & hot water |  |  | m2 |  | 0
Heat source
5.5 | Space heating and air conditioning based on GIFA (office building business park) |  |  | m2 |  | 0
| Ventilating Systems based on GIFA (office building business park) |  |  | m2 |  | 0
Electrical installations
5.8 | Power & Data distribution; including LV distribution, HV distribution, lighting, small power. Based on GIFA |  |  | m2 |  | 0
Lift and Conveyor installations
5.1 | Passenger lift; standard brushed stainless steel finish; 2 panel centre opening doors) 8 person; 4 stops; 1.6m/s speed.
| Passenger lift |  | 2 | no | 90000 | 180000
Fire and lightning protection
5.11 | including lighting protection, sprinklers based on GIFA (office building business park) |  |  | m2 |  | 0
Communication, security and control systems
5.12 | Telecommunication systems: including fire alarm; security instalation based on GIFA (office building business park) |  |  | m2 |  | 0
| Solar Instalations; 2.2kWp monocrystaline soalr modules (12x185 Wp) on roof mouinting kit; certified inventer; DC and AC isolation switches and connection to the grid with certification. (10nr covering the 41.5m in length) |  |  | no |  | 0
| EXTERNAL WORKS | [5 empty] | 230000
8 | Assumed provisional sum as stated in summary
Site Preparation works
8.1 | See above |  | 1 |  |  | 200000
Roads, Paths, pavings and surfacings
8.2
| Tarmacadam to road and parking spaces |  | 0 | m² | 0 | 0
| Edgings |  | 0 | m | 0 | 0
Soft landscapes, planting and irrigation systems
8.3
| soft landscaping |  | 0 | m² | 0 | 0
Fencing,railings and walls
8.4 | Walls: details, including height (m), to be stated.
| 2.1 High brick boundary wall |  | 0 | m | 0 | 0
Fencing: details, including height (m), to be stated.
| 2.1 High timber boundary fence |  | 0 | m | 0 | 0
Gates: details to be stated.
| Electric access gates |  | 0 | nr | 0 | 0
External Drainage
8.6 | Drainage allowance |  | 0 | nr | 0 | 0
External Services
8.7
Electrical
Connections to statutory undertaker's electricity main: details to be stated.
| Main electrical supply to building |  | 0 | item | 0 | 0
| Disconnections |  | 0 | item | 0 | 0
| Electrical substation |  | 0 | item | 0 | 0
Water
Connections to statutory undertaker's water main: details to be stated.
| Mains layout cost |  | 0 | item | 0 | 0
| Service costs |  | 0 | item | 0 | 0
| Water/sewerage infrastructure costs |  | 0 | item | 0 | 0
| Disconnections of water mains |  | 0 | item | 0 | 0
Gas
Connections to statutory undertaker's gas main: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
Street Lightning
Assumed Provisional Sum as stated in summary
| Works Allowance |  | 1 | item | 30000 | 30000
| MAIN CONTRACTOR'S PRELIMINARIES | [5 empty] | 4563599.09
9 | Main contractors preliminaries & OHP |  | 12 | % | 4563599.09 | 547631.8908 | 547631.8908
| SECTION SUB-TOTAL | [5 empty] | 5111230.9808

## Doors
Door Unit Costs
| m2 | Cost per m2 | Cost per Unit | Quantity | Total Costs
Type 1 | 1.104 | 290 | 320.16 | 4 | 1280.64
Type 2 | 3.264 | 260 | 848.64 | 14 | 11880.96
Type 2a | 3.264 | 260 | 848.64 | 5 | 4243.2
Type 3 | 3.264 | 315 | 1028.16 | 3 | 3084.48
Type 3a | 3.264 | 315 | 1028.16 | 1 | 1028.16
Type 4 | 3.264 | 260 | 848.64 | 1 | 848.64
Type 5 | 4.386 | 285 | 1250.01 | 7 | 8750.07
Type 6 | 4.386 | 285 | 1250.01 | 3 | 3750.03
Type 7 | 11.27 | 285 | 3211.95 | 3 | 9635.85
|  |  |  | Total | 44502.03

## Superstructure1
Superstructure |  |  | Number | Height | Width | m2 | m | Total
Elevation 1
|  | Brickwork | [8 empty] | Brickwork Total | 488.9658 | m2
| B | Colum Ends | 2 | 7.9 | 1.13 | 8.927 |  | 17.854 |  |  | Decorative Stone | 29.928 | m2
| B | Colum Middles | 2 | 7.9 | 0.89 | 7.031 |  | 14.062 |  |  | Cladding | 241.462 | m2
| Y | First Floor Headers | 2 | 1.2 | 5.29 | 6.348 |  | 12.696 |  |  | Precast Lintel | 24.1922 | m2
| P | First Floor Headers | 1 | 1.2 | 7.5 | 9 |  | 9 |  |  | Curtain Walling | 640.2427
[6 empty] | 0 |  | Total Brickwork | 53.612 |  | Windows | 126.612
[6 empty] | 0 |  | 0 |  |  | Solar Shading | 61.89
|  | Decorative Stone |  |  |  | 0 |  | 0
| Y | Ground Floor Level | 2 | 0.7 | 1.13 | 0.791 |  | 1.582 |  |  | Totals
| Y |  | 2 | 0.7 | 0.89 | 0.623 |  | 1.246 |  |  | Brickwork | 543.086
| Y | Second Floor Level | 2 | 0.5 | 1.13 | 0.565 |  | 1.13 |  |  | Cladding | 241.462
| Y |  | 2 | 0.5 | 0.89 | 0.445 |  | 0.89 |  |  | Curtain Walling | 640.2427
[6 empty] | 0 |  | Total Dec Stone | 4.848 |  | Windows | 126.612
|  | Lintel |  |  |  | 0 |  |  |  |  | Solar Shading | 61.89
|  | GF Ends | 2 | 0.3 | 5.29 | 1.587 |  | 3.174
|  | GF Middle | 1 | 0.3 | 7.5 | 2.25 |  | 2.25
[6 empty] | 0 |  | Total Lintel | 5.424
|  | Cladding |  |  |  | 0 |  | 0
| B | Ends | 2 | 2 | 1 | 2 |  | 4
| B | Middles | 2 | 5.3 | 1 | 5.3 |  | 10.6
| B | Header Ends | 2 | 0.1 | 5.9 | 0.59 |  | 1.18
| B | Midddle Ends | 2 | 0.1 | 3.7 | 0.37 |  | 0.74
[8 empty] | Total Cladding | 16.52
Curtain Walling
| P | CW Type 10 | 2 | 7.2 | 5.29 | 38.088 |  | 76.176
| B | CW Type 6 | 1 | 7.2 | 7.06 | 50.832 |  | 50.832
| P | CW Type 4 | 1 | 3.752 | 5.29 | 19.8481 |  | 19.8481
| P | CW Type 3 | 1 | 3.752 | 5.29 | 19.8481 |  | 19.8481
| Y | CW Type 2 | 1 | 5.591 | 6.61 | 36.9565 |  | 36.9565
|  |  | 1 | 1 | 6.61 | 6.61 |  | 6.61
| P | CW Type 7 | 2 | 7.2 | 1.469 | 10.5768 |  | 21.1536
Number Total |  |  | 9 |  |  |  |  | Total Ccurtain Walling | 231.4243
|  | Windows | 0
[8 empty] | Total Windows | 0
|  | Doors | 1 |  |  |  |  | Total Doors | 0 | Unit Price | of £11000
Elevation 2
Brickwork
| P | Colum ends | 2 | 7.9 | 1.1 | 8.69 |  | 17.38
| P | Colum middles | 7 | 7.9 | 0.89 | 7.031 |  | 49.217
| Y | First Floor headers | 6 | 1.2 | 5.41 | 6.492 |  | 38.952
| P | End Panel Brick - Left | 1 | 5 | 4.922 | 24.61 |  | 24.61
| P | End Panel Brick - Right | 1 | 5 | 3.055 | 15.275 |  | 15.275
[8 empty] | Total Brickwork | 145.434
Decorative Stone
| Y | Ground Floor Level | 2 | 0.7 | 1.1 | 0.77 |  | 1.54
|  |  | 7 | 0.7 | 0.89 | 0.623 |  | 4.361
| B | Second Floor Level | 2 | 0.5 | 1.1 | 0.55 |  | 1.1
|  |  | 7 | 0.5 | 0.89 | 0.445 |  | 3.115
[8 empty] | Total Dec Stone | 10.116
|  | Lintel |  |  |  | 0 |  | 0
| B | GF Lintel - Left | 1 | 0.3 | 4.922 | 1.4766 |  | 1.4766
| B | GF Lintel - Right | 1 | 0.3 | 3.055 | 0.9165 |  | 0.9165
|  | FF Lintel | 6 | 0.3 | 5.41 | 1.623 |  | 9.738
[8 empty] | Total Lintel | 12.1311
[6 empty] | 0 |  | 0
|  | Cladding |  |  |  | 0 |  | 0
|  | Ground Floor | 0 | 0 | 0 | 0 |  | 0
| Y | First Floor | 6 | 2.3 | 2.69 | 6.187 |  | 37.122
| B |  | 6 | 1.1 | 5.41 | 5.951 |  | 35.706
| Y | Second Floor | 9 | 1.5 | 0.89 | 1.335 |  | 12.015
[6 empty] | 0 |  | Total Cladding | 84.843 | m2
0
|  | Curtain Walling |  |  |  | 0
GF |  | Type CW 19 | 1 | 3.225 | 4.923 | 15.8767 |  | 15.8767
|  | Type CW 17 | 2 | 3.225 | 5.41 | 17.4473 |  | 34.8945
|  | Type CW 18 | 2 | 3.225 | 5.41 | 17.4473 |  | 34.8945
|  | Type CW 16 | 2 | 3.225 | 5.41 | 17.4473 |  | 34.8945
|  | Type CW 15 | 1 | 3.225 | 3.055 | 9.8524 |  | 9.8524
SF |  | W Type 14 | 1 | 1.875 | 4.923 | 9.2306 |  | 9.2306
|  | W Type 12 | 6 | 1.875 | 5.41 | 10.1438 |  | 60.8625
|  | W Type 11 | 1 | 1.875 | 3.055 | 5.7281 |  | 5.7281
Number Total |  |  | 16 |  |  |  |  | Total Curtain Walling | 130.4125 | m2
Windows
FF |  | W Type 1 | 2 | 2.4 | 0.46 | 1.104 |  | 2.208
|  | W Type 2 | 4 | 2.4 | 1.36 | 3.264 |  | 13.056
|  | W Type 3 | 3 | 2.4 | 1.36 | 3.264 |  | 9.792
|  | W Type 2a | 4 | 2.4 | 1.36 | 3.264 |  | 13.056
|  | W Type 3a | 1 | 2.4 | 1.36 | 3.264 |  | 3.264
Number Total |  |  | 14 |  |  |  |  | Total Windows | 41.376
Elevation 3
Brickwork
| B | Colum Ends | 2 | 7.9 | 1.13 | 8.927 |  | 70.5233
| B | Colum Middles | 2 | 7.9 | 0.89 | 7.031 |  | 55.5449
| Y | First Floor Headers | 2 | 1.2 | 5.29 | 6.348 |  | 7.6176
| P | First Floor Headers | 1 | 1.2 | 7.5 | 9 |  | 10.8
[6 empty] | 0 |  | Total Brickwork | 144.4858
[6 empty] | 0 |  | 0
|  | Decorative Stone |  |  |  | 0 |  | 0
| Y | Ground Floor Level | 2 | 0.7 | 1.13 | 0.791 |  | 1.582
| Y |  | 2 | 0.7 | 0.89 | 0.623 |  | 1.246
| Y | Second Floor Level | 2 | 0.5 | 1.13 | 0.565 |  | 1.13
| Y |  | 2 | 0.5 | 0.89 | 0.445 |  | 0.89
[8 empty] | Total Dec Stone | 4.848
Lintel
|  | FF Ends | 2 | 0.3 | 5.29 | 1.587 |  | 3.174
|  | FF Middle | 1 | 0.3 | 7.5 | 2.25 |  | 2.25
[8 empty] | Total Lintel | 5.424
|  | Cladding |  |  |  | 0 |  | 0
| B | Ends | 2 | 2 | 1 | 2 |  | 4
| B | Middles | 2 | 5.3 | 1 | 5.3 |  | 10.6
| B | Header Ends | 2 | 0.1 | 5.9 | 0.59 |  | 1.18
| B | Midddle Ends | 2 | 0.1 | 3.7 | 0.37 |  | 0.74
[8 empty] | Total Cladding | 16.52
Curtain Walling
GF/FF |  | CW Type 9a | 1 | 1.875 | 3.055 | 5.7281 |  | 5.7281
|  | CW Type 9b | 1 | 1.875 | 5.41 | 10.1438 |  | 10.1438
|  | CW Type 5 | 1 | 7.2 | 7.06 | 50.832 |  | 50.832
|  | CW Type 7 | 1 | 7.2 | 1.469 | 10.5768 |  | 10.5768
|  | CW Type 8 | 1 | 7.2 | 1.469 | 10.5768 |  | 10.5768
Number Total |  |  | 5 |  |  |  |  | Total Curtain Walling | 87.8575
SF |  | CW Type 1 | 1 | 5.144 | 6.61 | 34.0018 |  | 34.0018
|  | Triangle | 1 | 0.75 | 6.61 | 4.9575 |  | 4.9575
|  | CW Type 3 | 1 | 3.752 | 5.29 | 19.8481 |  | 19.8481
|  | CW Type 4 | 1 | 3.752 | 5.29 | 19.8481 |  | 19.8481
Number Total |  |  | 4 |  |  |  |  | Total Curtain Walling | 166.513
|  | Doors | 1 |  |  |  |  | Total Doors | 0 | Unit Price | of £11000
|  | Solar Shading | 1 | 4.5 | 6.5 | 29.25 |  | 29.25
|  |  | 2 | 3.2 | 5.1 | 16.32 |  | 32.64
[8 empty] | Total Solar Shading | 61.89
Elevation 4
Brickwork
| P | Colum ends | 2 | 7.9 | 1.1 | 8.69 |  | 17.38
| P | Colum middles | 7 | 7.9 | 0.89 | 7.031 |  | 49.217
| Y | First Floor headers | 6 | 1.2 | 5.41 | 6.492 |  | 38.952
| P | End Panel Brick - Right | 1 | 5 | 4.922 | 24.61 |  | 24.61
| P | End Panel Brick - Left | 1 | 5 | 3.055 | 15.275 |  | 15.275
[8 empty] | Total Brickwork | 145.434
Decorative Stone
| Y | Ground Floor Level | 2 | 0.7 | 1.1 | 0.77 |  | 1.54
|  |  | 7 | 0.7 | 0.89 | 0.623 |  | 4.361
| B | Second Floor Level | 2 | 0.5 | 1.1 | 0.55 |  | 1.1
|  |  | 7 | 0.5 | 0.89 | 0.445 |  | 3.115
[8 empty] | Total Dec Stone | 10.116
|  | Lintel |  |  |  | 0 |  | 0
| B | GF Lintel - Left | 1 | 0.03 | 4.922 | 0.14766 |  | 0.14766
| B | GF Lintel - Right | 1 | 0.03 | 3.055 | 0.09165 |  | 0.09165
|  | FF Lintel | 6 | 0.03 | 5.41 | 0.1623 |  | 0.9738
[8 empty] | Total Lintel | 1.2131
[6 empty] | 0 |  | 0
|  | Cladding |  |  |  | 0 |  | 0
| P | Ground Floor | 6 | 2.4 | 2.69 | 6.456 |  | 38.736
| Y | First Floor | 6 | 2.3 | 2.69 | 6.187 |  | 37.122
| B |  | 6 | 1.1 | 5.41 | 5.951 |  | 35.706
| Y | Second Floor | 9 | 1.5 | 0.89 | 1.335 |  | 12.015
[6 empty] | 0 |  | Total Cladding | 123.579
Curtain Walling
GF |  | CW Type 15 | 1 | 3.225 | 3.055 | 9.8524 |  | 9.8524
|  | CW Type 20 | 2 | 3.225 | 1.36 | 4.386 |  | 8.772
|  | CW Type 24 | 1 | 3.225 | 5.41 | 17.4473 |  | 17.4473
SF |  | CW Type 11 | 1 | 1.875 | 3.055 | 5.7281 |  | 5.7281
|  | CW Type 13a | 1 | 1.875 | 5.41 | 10.1438 |  | 10.1438
|  | CW Type 13b | 1 | 1.875 | 5.41 | 10.1438 |  | 10.1438
|  | CW Type 13c | 1 | 1.875 | 5.41 | 10.1438 |  | 10.1438
|  | CW Type 13d | 2 | 1.875 | 5.41 | 10.1438 |  | 20.2875
|  | CW Type 12 | 1 | 1.875 | 5.41 | 10.1438 |  | 10.1438
|  | CW Type 14a | 1 | 1.875 | 4.923 | 9.2306 |  | 9.2306
Number Total |  |  | 12 |  |  |  |  | Total Curtain Walling | 111.8929
Windows
GF |  | W Type 5 | 7 | 3.225 | 1.36 | 4.386 |  | 30.702
|  | W Type 6 | 3 | 3.225 | 1.36 | 4.386 |  | 13.158
FF |  | W Type 1 | 2 | 2.4 | 0.46 | 1.104 |  | 2.208
|  | W Type 2 | 10 | 2.4 | 1.36 | 3.264 |  | 32.64
|  | W Type 2a | 1 | 2.4 | 1.36 | 3.264 |  | 3.264
|  | W Type 4 | 1 | 2.4 | 1.36 | 3.264 |  | 3.264
[8 empty] | Window Total | 85.236
Number Total |  |  | 24

## Roof1
|  | H | L
Roof | Elevation
| Ridge 1 | 12.5 | 50.6 | 632.5
| Ridge 2 | 12.5 | 50.6 | 632.5
|  |  |  | Rood Total Area | 1265 | m2
0
| Sofit |  |  | 0
| Elevation 1 (Face) | 12.5 | 1 | 12.5
| Elevation 2 (Face) | 12.5 | 1 | 12.5
| Elevation 3 (Side) | 50.6 | 1 | 50.6
| Elevation 3 (Side) | 50.6 | 1 | 50.6
|  |  |  | Sofit Total | 126.2 | m2
| Rain Water goods | Guttering | 50.6 | 2 | 101.2 | m
|  | Downpipes | 12 | 4 | 48 | m
Roof Lights | 4 | 1.5 | 3.2 | 4.8 | 19.2 | m2
Solar Panels
Metal Ventillation lourve | 1 | 3 | 6.2 | 18.6 | 18.6 | m2

## Internals
|  | Type | Quantity | H | W | Cost per Unit |  |  |  | Total Cost
Doors |  | Type 1 | 19 | [6 empty] | 0
|  | Type 2 | 13 | [6 empty] | 0
|  | Type 3 | [7 empty] | 0
|  | Type 4 | 10 | [6 empty] | 0
|  | Type 5 | 9 | [6 empty] | 0
|  | Type 5b | 5 | [6 empty] | 0
|  | Type 5c | 2 | [6 empty] | 0
|  | Type 6 | 7 | [6 empty] | 0
[9 empty] | Total Cost | 0
Screens |  |  | 4 | 2.11 | 2.05 | 4.3255 | 17.302 | m2
Walls |  | Quant
GF | Stud | 1 |  | 3.725 | 66 | 245.85 |  |  | Stud Walls | Total | 1557.05
|  | 1 |  | 3.725 | 89 | 331.525 |  |  | Block Walls | Total
[5 empty] | Total GF | 577.375
FF | Stud | 1 |  | 3.725 | 52 | 193.7
|  | 1 |  | 3.725 | 42 | 156.45
[5 empty] | Total FF | 350.15
2ndF
|  | 1 |  | 3.725 | 71 | 264.475
|  | 1 |  | 3.725 | 98 | 365.05
[5 empty] | Total SF | 629.525

## Info Required
2.3 Information requirements for order of cost estimates 2.3.1 To enable preparation of an order of cost estimate, information will be required from the employer as follows: (a) Location of the site and the availability of the site for commencement of the building project. (b) A statement of building use. (c) A statement of floor area (or number of functional units) and schedule of accommodation – in conjunction with the architect. (d) Requirements for refurbishment (if the project comprises rehabilitation of an existing building) – in conjunction with the architect. Details of the new use and any outstanding maintenance or repairs necessary to give the building fabric the required life expectancy are required. (e) Initial project/design brief, including statement of quality, sustainability requirements and ‘fit-out’ requirements – in conjunction with the architect. (f) Details of any enabling works, decanting or other specific requirements. (g) Indicative programme, including key dates (e.g. planning application and occupation dates). (h) Details of any particular restraints to be imposed by the employer, local planners or statutory undertakers – in conjunction with the architect (e.g. work in a secure area, limitations on building position, work in a conservation area, work to a historic or listed building, external appearance and number of storeys). (i) Details of any particular site conditions – in conjunction with the architect (e.g. sloping site, likelihood of contaminated ground, demolition of existing buildings, adequacy and condition of existing mains services). (j) Budget/cash flow constraints. (k) Initial views (if any) on construction procurement options and contract strategies. (l) Life span (e.g. 10 year, 25 year or 60 year target life span). (m) An indication of the proposed storey heights of the building – in conjunction with the architect. The introduction of raised access floors for IT cabling or deep suspended ceiling voids for mechanical and electrical services installations could significantly increase storey height, thus increasing estimated costs.Where such requirement is known, it is recommended that this is stated. (n) Particular requirements in respect of mechanical and electrical services installations – in conjunction with the architect (and mechanical and electrical services engineer – if appointed). (o) Requirements in respect of: + treatment of project/design team fees; + approach to other development/project costs; + treatment of inflation; and + treatment of Value Added Tax (VAT). (p) Other considerations (e.g. approach to dealing with capital allowances, land remediation and grants). NRM 1: ORDER OF COST ESTIMATING AND COST PLANNING FOR CAPITAL BUILDING WORKS 20 ¦ RICS NEW RULES OF MEASUREMENT EFFECTIVE FROM 1 JANUARY 2013 2.3.2 To enable preparation of an order of cost estimate, information will be required from the architect as follows: (a) Design study sketches or drawings for each alternative design/development option to a suitable scale, comprising: + floor plans (for each different floor plate configuration/shape and use); + roof plan(s); + elevations; and + sections. (b) Schedule of gross external areas (GEA), gross internal floor areas (GIFA), net internal areas (NIA) – (i.e. usable area for shops, supermarkets and offices) on a floor by floor basis and site area (SA). (c) Minimum storey heights. (d) Schedule of accommodation – in conjunction with the employer. (e) Number of car parking spaces and whether above ground or below ground. (f) Indicative specification/design intent for building option(s). (g) Indicative environmental/sustainability strategy – in conjunction with the mechanical and electrical services engineer. (h) Advice on likely site constraints. (i) Advice on likely planning constraints. (j) Definition of ‘fit-out’. (k) Initial risk register/log. 2.3.3 To enable preparation of an order of cost estimate, information will be required from the mechanical and electrical services engineer (if appointed) as follows: (a) Indicative services specification/design intent for building option(s). (b) Indicative environmental/sustainability strategy – in conjunction with the architect. (c) Advice on availability and/or adequacy of utility services connections to the site. (d) Initial risk register/log. 2.3.4 To enable preparation of an order of cost estimate, information will be required from the structural engineer (if appointed) as follows: (a) Advice on probable ground conditions. (b) Indicative services specification/design intent for building option(s). (c) Initial risk register/log. 2.3.5 The accuracy of an order of cost estimate is dependent on the quality of the information supplied to the quantity surveyor/cost manager. The more information provided, the more reliable the outcome will be.Where little or no information is provided, the quantity surveyor/cost manager will need to qualify the order of cost estimate accordingly

## Main Contractors Prelim
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
9 | MAIN CONTRACTOR'S PRELIMINARIES | [5 empty] | #REF!
| Main contractors preliminaries & OHP |  | 10 | % | #REF! | #REF!

## External Works
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
8 | EXTERNAL WORKS | [5 empty] | 0
8.1 | Site Preparation works
| See above |  |  |  |  | 0
8.2 | Roads, Paths, pavings and surfacings
Roads: details, including width, to be stated.
| Tarmacadam to road and parking spaces |  | 0 | m² | 0 | 0
| Edgings |  | 0 | m | 0 | 0
8.3 | Soft landscapes, planting and irrigation systems
Grassed areas: details to be stated.
| soft landscaping |  | 0 | m² | 0 | 0
8.4 | Fencing,railings and walls
Walls: details, including height (m), to be stated.
| 2.1 High brick boundary wall |  | 0 | m | 0 | 0
Fencing: details, including height (m), to be stated.
| 2.1 High timber boundary fence |  | 0 | m | 0 | 0
Gates: details to be stated.
| Electric access gates |  | 0 | nr | 0 | 0
8.6 | External Drainage
| Drainage allowance |  | 0 | nr | 0 | 0
8.7 | External Services
Electrical
Connections to statutory undertaker's electricity main: details to be stated.
| Main electrical supply to building |  | 0 | item | 0 | 0
| Disconnections |  | 0 | item | 0 | 0
| Electrical substation |  | 0 | item | 0 | 0
Water
Connections to statutory undertaker's water main: details to be stated.
| Mains layout cost |  | 0 | item | 0 | 0
| Service costs |  | 0 | item | 0 | 0
| Water/sewerage infrastructure costs |  | 0 | item | 0 | 0
| Disconnections of water mains |  | 0 | item | 0 | 0
Gas
Connections to statutory undertaker's gas main: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0
Street Lightning
External lighting to pedestrian areas: details to be stated.
| Works Allowance |  | 0 | item | 0 | 0

## Services
5 | SERVICES | [5 empty] | 0
5.1 | Sanitary installations
Sanitary appliance: details to be stated.
| WC Installation |  | 0 | no | 0 | 0
| WC Sink installation |  | 0 | no | 0 | 0
| baths including bath panels & trims |  | 0 | no | 0 | 0
0
5.3 | Disposal Installations
Drainage to sanitary appliance: details to be stated.
| Generally |  | 0 | item | 0 | 0
5.4 | Water installations
Mains water supply: details, including the number of draw-off points (nr), to be stated.
| Cold & hot water |  | 0 | no | 0 | 0
5.5 | Heat source
Heat source (nr): details, including output of heat source (kW), to be stated.
| Boilers + Radiators |  | 0 | no | 0 | 0
5.8 | Electrical installations
| Power & Data distribution |  | 0 | no | 0 | 0
5.1 | Lift and Conveyor installations
Passenger lifts: details, including capacity (i.e. number of persons), speed (in m/sec), number of doors (nr), door heights and number of levels serviced (nr), to be stated.
| Passenger lift |  | 0 | no | 0 | 0
5.11 | Fire and lightning protection
| Fire alarm to apartments |  | 0 | no | 0 | 0
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
5.12 | Communication, security and control systems
Telecommunication systems: details of each type of system to be stated.
Data transmission systems: details of each type of system to be stated.
| Power & Data distribution |  | 0 | no | 0 | 0

## FF&E
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
4.1 | General fittings, furnishings and equipment
Kitchen units: details to be stated.
| Kitchens |  | 0 | no | 0 | 0

## Internal Finishes
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
3 | INTERNAL FINISHES | [5 empty] | 0
3.1 | Wall finishes
Finishes to walls and columns: details to be stated.
| Paint finish |  | 0 | m2 | 0 | 0
3.2 | Floor finishes
Finishes to floors: details to be stated.
| Vinyl to floors |  | 0 | m2 | 0 | 0
| Resin paint to floor |  | 0 | m2 | 0 | 0
| Carpet to apartment floors |  | 0 | m2 | 0 | 0
| Carpet, higher specification to circulation |  | 0 | m2 | 0 | 0
3.3 | Ceiling finishes
Finishes to ceilings: details to be stated.
| Plasterboard to soffit |  | 0 | m2 | 0 | 0
| Decoration |  | 0 | m2 | 0 | 0

## Superstructure
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
2 | SUPERSTRUCTURE | [5 empty] | 0
2.1 | Frame
Structural steel frame, including fittings and fixings: details to be stated.
| Steel frame;composite beam and slab floors |  | 0 | m2 |  | 0
2.2 | Upper Floors
| Concrete upper floors |  | 0 | m2 |  | 0
GF?????????
| 1st |  |  | m2
| 2nd |  |  | m2
2.3 | Roof
Roof structure - pitched roofs: details, including design loads (kN/M2), spans (m) and angle of pitch (degtrees). To be stated
| Construction of new flat roof to 4th floor |  | 0 | m2 |  | 0
| New flat roof to 1st floor and 3rd floor |  | 0 | m2 |  | 0
| allowance for rainwater goods |  | 0 | item |  | 0
| Allowance for trims and flashings |  | 0 | item |  | 0
2.4 | Stairs & Ramps
Stair structures: details, includng vrtical rise of starcase to be stated
| Main Staircase |  | 0 | no |  | 0
| Balustrading to roof terrace, glazed |  | 0 | m2 |  | 0
2.5 | External Walls
External walls: Details to be stated.
| Cladding to elevations |  | 0 | m2 |  | 0
| Extra over for projected fins to elevation windows 8.6m x 6m |  | 0 | nr | 0 | 0
2.6 | Windows and external doors
Windows : details, including overall size of opening (mm) to be stated.
Windows
| Projection for windows |  | 0 | nr | 0 | 0
| UPVC 1400 x 900 mm |  | 0 | nr | 0 | 0
| UPVC 1600 x 1400 mm |  | 0 | nr | 0 | 0
| UPVC 1100 x 900 mm |  | 0 | nr | 0 | 0
| UPVC 1100 x 400 mm |  | 0 | nr | 0 | 0
External doors: details, including type, number of door leaves (nr) size of each door leaf (mm) and overall size of opening (mm) to be stated.
External doors
| Curtain wall system incorporating single leaf door |  | 0 | m2 | 0 | 0
| Steel door to plant/Bin access, twin leaf |  | 0 | no | 0 | 0
| BOH entrance door, 1.5 leaf, aluminium |  | 0 | no | 0 | 0
2.7 | Internal walls
Internal walls:details, including thickness, to be stated
| 140mm block wall |  | 0 | m2 | 0 | 0
| extra for plaster and emulsion |  | 0 | m2 | 0 | 0
fixed partitions:details, including thickness, to be stated
| New internal metal stud partitions, including skim to receive plaster both sides |  | 0 | m2 | 0 | 0
2.8 | Internal doors & screens
Internal doors: details, including type, number of door leaves (nr), size of each door leaf (mm), and overall size of opening (mm), to be stated.
| single leaf internal door |  | 0 | nr | 0 | 0
Fire resisting doors: details, including type, number of door leaves (nr), fire rating (hours), size of each door leaf (mm), and overall size of opening (mm), to be stated.
| Fire rated doors single leaf, timber veneer with vision panel |  | 0 | nr | 0 | 0

## Substructure
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
1 | SUBSTRUCTURE | [5 empty] | 0
1.1 | Foundations
| Ground floor slab including insulation and DPM |  | 0 | m2 | 0 | 0

## Facilitating
Ref. | Element | Quantity / unit |  |  | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
0 | FACILITATING WORKS | [5 empty] | 0
0.1 | Toxic/hazardous material
| Toxic or hazardous material removal: Details to be stated e.g Removal of asbestos |  |  | item | 0 | 0
Contaminated land
| Contaminated ground material removal: Details to be stated. |  |  | item | 0 | 0
0.2 | Major demolition works
Demolition of entire buildings: details to be stated.
| Demolition of entire structure |  | 0 | item | 0 | 0