FIRE SAFETY IN HOTEL INDUSTRY

Name of the Student- Roland Suveg

Student ID-2230702

University-UWTSD

Session-BMIH4001

Fire safety is an important component of the hotel industry and it is important for hotel owners to understand their obligations when it comes to ensuring the safety of their guests and staff in the event of a fire. The hospitality industry in the United Kingdom is highly regulated, and there are a number of laws and regulations that hotels must follow in order to ensure the safety of their guests and staff (MSL 2022). In this study, the main focus would be given to the fire safety concepts in the hotel industry and the legal issues associated with them.

The most important component of fire safety in the hotel industry is fire detection. Hotels must have a fire alarm system in place that is able to detect the presence of a fire. This system should also be connected to the local fire department so that the fire department can respond quickly and efficiently (Kadri, Bouyeddou and Moussaoui 2018). In addition to fire detection, the hotel must have a fire suppression system in place. This system is designed to put out the fire and keep it from spreading (Mawhinney and Back 2016). It is often composed of fire sprinklers and smoke detectors, which are designed to alert people about fire and to help put it out quickly. The final component of fire safety in the hotel industry is fire escape planning (Goodwin, Granmo and Radianti 2015). Escape plans must be in place in case of a fire and should be tested regularly. Hotels should also provide training to their staff on proper fire safety and evacuation procedures.

From the aspects of legal issues and policies, it could be stated that the “UK's Regulatory Reform (Fire Safety) Order 2005” is the primary source of fire safety law in the UK (GOV.UK 2022). This law sets out the minimum requirements that all hotels must meet in order to meet the standards of fire safety. In addition, the UK has a number of other laws and regulations that apply to hotels in regard to fire safety. These include the “Health and Safety at Work Act 1974”, which sets out the duties of employers to protect the health and safety of their employees (James and Walters 2019), and “the Building Regulations 2010”, which sets out the requirements for building design, construction, and fire safety (Legislation.gov.uk 2022).

In conclusion, it could be stated that fire safety is an important part of the hospitality industry in the UK. Hotels must comply with all applicable laws and regulations, as well as implement fire detection, suppression, and escape plans in order to ensure the safety of all guests and staff.

# Reference

Goodwin, M., Granmo, O.C. and Radianti, J., 2015. Escape planning in realistic fire scenarios with Ant Colony Optimisation. Applied Intelligence, 42, pp.24-35.

GOV.UK (2022) The Regulatory Reform (Fire Safety) Order 2005: Summary of responses (accessible version), GOV.UK. Available at: https://www.gov.uk/government/consultations/the-regulatory-reform-fire-safety-order-2005-call-for-evidence/outcome/the-regulatory-reform-fire-safety-order-2005-summary-of-responses-accessible-version#:~:text=The%20Regulatory%20Reform%20(Fire%20Safety)%20Order%202005%20%E2%80%93%20the%20Fire,common%20in%20England%20and%20Wales. (Accessed: February 20, 2023).

James, P. and Walters, D., 2019. Health & safety at work: time for change. Institute of Employment Rights Journal.

Kadri, B., Bouyeddou, B. and Moussaoui, D., 2018, November. Early fire detection system using wireless sensor networks. In 2018 International conference on applied smart systems (ICASS) (pp. 1-4). IEEE.

Legislation.gov.uk (2022) The Building Regulations 2010, Legislation.gov.uk. Queen's Printer of Acts of Parliament. Available at: https://www.legislation.gov.uk/uksi/2010/2214/contents/made (Accessed: February 20, 2023).

Mawhinney, J.R. and Back, G.G., 2016. Water mist fire suppression systems. SFPE Handbook of fire protection engineering, pp.1587-1645.

MSL (2022) The importance of health and safety compliance in hospitality, MSL. Available at: https://msl-ltd.co.uk/health-and-safety-compliance-in-hospitality/ (Accessed: February 20, 2023).