## Front
Date: 08/05/25 |  | Description: Elemental Cost Estimate
Project: New Build - Community Leisure Facilities
Matchstick Arena - Health, fitness and well-being centre
I have the pleasure of presenting the elemental cost plan to ACE Captial Projects LTD for the above project.
The elemental cost plan has been based on information issued and allowances are noted within "Allowance & Notes".
Estiminated elemental cost plan to the sum of | 15257375.0427
Please see below to navigate to the notes / prelims / elemental cost plan
Please see "Allowance & Notes" for all inclusions including non inclusions
Should you have any queries, please do not hesitate to contact myself below.
Kind regards,
Niki Hunwick
INJR Cost consultant
Email: 2016441@student.uwtsd.ac.uk
Summary
Allowance & notes
00 - Facilitating Works
01 - Substructure
02 - Superstructure
03 - Internal Finishes
04 - Fittings, Furnishings and Equipment
05 - Services
06 - Prefabricated Buildings and Building Units
07 - Work to Existing Buildings
08 - External Work's
09 - Main Contractor's Preliminaries
10 - Main Contractor' Overheads & Costs
11 - Project / Design Team Fees
12 - Other Development / Project Costs
13 - Risks
14 - Inflation
Appendix

## Summary
Date: 01/03/24
Project: 4 levels, Health, Fitness and Well-being Centre
GF - Cafe
01 - Gym Space
02 - Studio Space
03 - Hydrotherapy & Wellness
Description: Elemental Cost Estimate
GIFA: | 1782 | m2
Element |  | Total Value (£) | Provisional Sum | £ / m2
00 - Facilitating Works |  | 0 |  | 0
01 - Substructure |  | 777631.744 |  | 436.3815
02 - Superstructure |  | 5602782.176 |  | 3144.0977
03 - Internal Finishes |  | 1078862.976 |  | 605.4225
04 - Fittings, Furnishings and Equipment |  | 0 | 400100 | 224.523
05 - Services |  | 2290099.328 |  | 1285.1287
06 - Prefabricated Buildings and Building Units |  | 0 |  | 0
07 - Work to Existing Buildings |  | 0
08 - External Work's |  | 22048 | 64619.52 | 48.635
| Total | 9771424.224 | 464719.52 | 5744.1884
| Sub total | 10236143.744
Element |  | Total Value (£) |  | £ / m2
09 - Main Contractor's Preliminaries |  | 1489761.707 |  | 836.0054
10 - Main Contractor' Overheads & Costs |  | 1586602.2803 |  | 890.3492
11 - Project / Design Team Fees |  | 921252.937 |  | 516.977
12 - Other Development / Project Costs |  | TBC
13 - Risks |  | 1023614.3744 |  | 574.4188
14 - Inflation |  | TBC
| Total | 5021231.2987 |  | 2817.7504
Total Construction Cost |  | 15257375.0427 |  | 8561.9389

## Allowance & notes
| Elemental Cost Plan | #REF!
Date: 08/05/25
Project: 6 Storey mixed use development
1no ground floor retail unit (Class A1)
1no ground floor food & drink unit (Class A3)
132no Bedroom hotel (Class C1)
Description: Elemental Cost Estimate
All measures were conducted using Bluebeam Revu 20
Drawings used
Ground and 1st floor plans
2nd & 3rd floor plans
Front and left elevatio
Rear and right elevation pdf
Proposed site plan 1 500
Notes and exclusions
All included costs are subject to variation following the final design development and approvals.
Costs are based on the information provided.
A risk allowance of 10% under tab 13 has been included in this estimate to cover potential unforeseen costs.
VAT is excluded from all costs estimates provided.
Estimate is based on works being carried out in a single phase.
Specifications for some internal and external components is assumed where not based on information provided.
No provisions are included for inflation.
No provisions for the following
External drainage - Surface water, foul water drainage, manholes, inspection chambers.
Street furniture - Benches, litter bins, cycle stands.
External services - Water mains supply, electricity mains suuply, gas mains supply, telecommunication systems
and all corresponding service connection charges
SPONs 2020 unit rates rebased to 2025 prices using BCIS TPI as an inflationary proxy (not directly correlated datasets).
Uplift is approximate and used for feasibility level cost planning only.

## 0 - Facilitating works
[8 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
|  |  |  | £ | £ | £
0 | Facilitating works
[5 empty] | Total | 0
|  |  |  | Check | 0 | 0

## 1 - Substructure
[9 empty] | SPONs 2020 unit rates rebased to factor of |  |  |  | 1.28
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
1 |  | Substructure
| 1.1.2 | Specialist Foundations | [6 empty] | (Pile Foundation calculation document)
|  | Piling | [6 empty] | Structual engineer calculation m2 |  |  | Poor site conditions - excavate depth
|  | Enabling works excavate to form piling mat; supply and lay imported hardcore – recycled brick and similar to form piling mat | 234 | m3 | 17.536 | 4103.424 |  | Assumed poor site conditions, excavate depth of 300mm used | 780 | m2 |  | 0.3 | m |  |  |  | total | 234
|  | provision of plant (1 nr rig); including bringing to and removing from site; maintenance, erection and dismantling at each pile position | 1 | nr | 29440 | 29440
[9 empty] | (Pile Foundation calculation document) |  |  |  | Depth |  | total m
|  | Supply and install concrete Continuous Flight Auger (CFA) piles; cart away inactive spoil; measure total length of pile | 4180 | m | 128 | 535040 |  | Structural engineers calculation > 110 piles @38m depth. | 110 | piles |  |  | 38 | m | 4180 | m
|  | Pile caps | [6 empty] | (Pile Foundation calculation document)
|  | Excavate pit in firm ground by machine, partial backfill, partial disposal, support, compaction, cut off pile and prepare reinforcement, formwork; reinforced in situ concrete cap 25 N/mm²; reinforcement at 50 kg/m³; rates per cap for cap size; 2700mm× 2700mm× 1500 mm; 3–5 piles | 12 | nr | 5248 | 62976 |  | Structual engineers calculation; 3x3 grid; 110 piles |  |  | Total | piles |  | caps
[9 empty] | 3x3 grid |  | 9 | 110 |  | 12.2222
| 1.1.3 | Lowest Floor Construction
Ground floor construction
|  | Mechanical excavation to reduce levels, disposal, level and compact, hardcore bed blinded with sand, 1200 gauge polythene damp-proof membrane, in situ concrete 20.00 N/mm² – 20mm aggregate (1:2:4) 300mm thick concrete slab with 1 layer of A393 fabric reinforcement | 821 | m2 | 177.92 | 146072.32 |  | Structual engineers calculation > 300mm foundation slab
777631.744
[6 empty] | Total | 777631.744
[5 empty] | Check | 777631.744 | 0

## 2 - Superstructure
[9 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £ |  |  | Steel component | m | Weight | Tonnes
2 |  | Superstructure | [6 empty] | Formula | UC305x305x97 | 1069 | 97 | 103.693
[9 empty] | Tonnes = length (m) x kg/m / 1000 | UB305x165x40 | 812 | 40 | 32.48
| 2.1.1 | Frame and Floor Composite | [7 empty] | UB356x171x51 | 156 | 51 | 7.956
Steel frame
|  | Fabricated steelwork erected on site with bolted connections, primed smaller sections ne 40 kg/m universal columns; grade S275 | 144.129 | tonne | 3104 | 447376.416 | [5 empty] | Total | 144.129
Fire protection to steelwork
|  | Intumescent fire protection coating/decoration to exposed steelwork; Gross surface area (m2) or per tonne; Off site application, spray applied | 144.13 | tonne | 960 | 138364.8
| 2.8.1 | Internal doors
Fire doors
|  | Standard fire doors; cellular core; softwood lining; softwood architrave; aluminuim ironmongery (lockable, self-closure); painting or polishing; single leaf; Oak veneered; 60 min fire resistance; polished | 36 | nr | 1216 | 43776
|  | double leaf; Oak veneered; 60 min fire resistance; polished | 5 | nr | 2240 | 11200
| 2.6 | WINDOWS AND EXTERNAL DOORS
Composite aluminium/timber entrance screens and doors; U-value = 1.5 W/m2K
|  | Purpose-made doors glazed single personnel door; stainless steel ironmongery; Velfac System100 or similar | 1 | nr | 3200 | 3200
|  | glazed double personnel door; stainless steel ironmongery; Velfac System 100 or similar | 3 | nr | 5120 | 15360
| 2.4.1 | STAIRS AND RAMPS
Stair/Ramp Structures
Reinforced concrete construction
|  | Staircase; high quality finishes; stainless steel and glass balustrades; plastered and decorated soffit 3.00m rise; dogleg | 5 | nr | 27520 | 137600
| 2.5 | EXTERNAL WALLS
Glazed walling
Curtain walling
|  | unitized curtain walling bespoke project specific system with double glazed units, aluminium structural framing and spandrel rails. Standard colour powder coated | 1473.03 | m2 | 1408 | 2074026.24
| 2.5.3 | EXTERNAL WALLS
Solar/Rain Screen
Solar shading
|  | fixed timber including uni-strut supports; 300mm deep | 1183.34 | m2 | 384 | 454402.56
|  | marble or granite faced panels | 760.86 | m2 | 1152 | 876510.72
| 2.7 | INTERNAL WALLS AND PARTITIONS
Frame and panel partitions
|  | Marble finish, wall panels, include fixings | 2862.01 | m2 | 320 | 915843.2
|  | Timber slats, pinned vertically to timber or plasterboard; supplied with fixings | 237.15 | m2 | 320 | 75888
| 2.3 | ROOF
Flat roof decking
Concrete
|  | reinforced concrete topping | 574.38 | m2 | 128 | 73520.64
| 2.3.3 | Specialist Roof Systems
Landscaped roofs
|  | Polyester-based elastomeric bitumen waterproofing and vapour equalization layer, copper lined bitumen membrane root barrier and waterproofing layer, separation and slip layers, protection layer, 50mm thick drainage board, filter fleece, insulation board, Sedum vegetation blanket intensive (high maintenance – may include trees and shrubs require deeper substrate layers, are generally limited to flat roofs) | 574.38 | m2 | 300.8 | 172773.504
| 2.2 | UPPER FLOORS
| 2.2.1 | Floors - (1 & 2 floor)
|  | Composite steel deck flooring Composite steel and concrete upper floors (Note: all floor thicknesses are nominal); A142 mesh reinforcement TATA Slimdek SD225 steel decking 1.25mm thick; 130mm reinforced concrete topping | 1106.93 | m2 | 147.2 | 162940.096
[6 empty] | Total | 5602782.176
[5 empty] | Check | 5602782.176 | 0

## BbQuantityLink (hidden)
<?xml version="1.0" encoding="utf-8"?> <QuantityLinks Version="3"> <Links /> <Filesets /> <Guids /> </QuantityLinks> | 1

## 3 - Internal finishes
[9 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
3 |  | Internal finishes
| 3.2.1 | FLOOR FINISHES (0 Floor)
Internal floor area (unless otherwise described)
|  | Polised concrete floor | 801.87 | m2 | 79.36 | 63636.4032
| 3.2.2 | Raised Access Floors (1,2,3 Floor)
|  | Raised access floors: including 600mm× 600mm steel encased particle boards on height adjustable pedestals < 300mm battened raft chipboard floor with sound insulation fixed to battens; medium | 1145.68 | m2 | 153.6 | 175976.448
| 3.1.1 | Wall Finishes
Rigid tile/panel/board finishes (0,2 Floor)
|  | Timber boarding/panelling; on and including battens; plugged to wall 12mm thick softwood boarding | 237.15 | m2 | 64 | 15177.6
Rigid tile/panel/board finishes
Marble
|  | Roman Travertine marble wall linings 20mm thick; polished | 1377.31 | m2 | 480 | 661108.8
| 3.3.1 | CEILING FINISHES
Finishes to Ceiling
In situ finishes
|  | Other ceiling finishes softwood timber | 1900.23 | m2 | 85.76 | 162963.7248
1078862.976
[6 empty] | Total | 1078862.976
[5 empty] | Check | 1078862.976 | 0

## 4 - FF&E
[9 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
4 |  | Fittings, furnishings and equipment
4
4 | 4.1.1 | General Fittings, Furnishings and Equipment
4 |  | Office furniture and equipment (1 & 2 Floor)
4 |  | Provisional sum for supply and installation of furniture and equipment to adimstrative office area; reception; and lobby area, workstation; desk; drawer unit; task chair, public seating | 1 | nr | 35000 | 35000 |  | Provisional sum
4
4 |  | Provisional sum for supply and installation of specialist gym equipment (free weights, machines, cardio kit) | 1 | nr | 200000 | 200000 |  | Provisional sum
4
4 |  | Provisional sum for the supply and installation of therapy, sports rehabilitation, wellness suite specialist equipment | 1 | nr | 165000 | 165000 |  | Provisional sum
4
4 |  | Café & seating area | 1 | nr | 100 | 100 |  | Provisional sum
4
[6 empty] | Total | 400100
[5 empty] | Check | 400100 | 0

## 5 - Services
[9 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
5 |  | Services
| 5.1.1 | Sanitary Appliances | 1782 | m2 | 27.52 | 49040.64 |  | Rates are for gross internal floor area, rates derived from Spons 2020 under preforming arts building.
| 5.4.1 | Mains Water Supply | 1782 | m2 | 39.68 | 70709.76 |  | Rates are for gross internal floor area, rates derived from Spons 2020 under preforming arts building.
| 5.6.1 | Space Heating and Air Conditioning | 1782 | m2 | 403.2 | 718502.4 |  | Rates are for gross internal floor area, rates derived from Spons 2020 under preforming arts building.
| 5.7.1 | Ventilation Systems | 1782 | m2 | 27.52 | 49040.64 |  | Rates are for gross internal floor area, rates derived from Spons 2020 under preforming arts building.
| 5.8.1 | Electric Mains and Sub-Mains Distrubition | 1782 | m2 | 371.2 | 661478.4 |  | Including LV distribution, HV distribution, lighting, small power. Rates are for gross internal floor area, rates derived from Spons 2020 under preforming arts building.
| 5.9.2 | Fuel Distribution Systems | 1782 | m2 | 2.624 | 4675.968 |  | Rates are for gross internal floor area, rates derived from Spons 2020 under office/hotel.
| 5.10.1 | Lifts and Enclosed Hoists | 2 | nr | 140800 | 281600
| 5.11.1 | Fire Fighting Systems | 1782 | m2 | 29.44 | 52462.08 |  | Gross internal floor area; Including lightning, rates derived from Spons 2020 under shopping malls and the like protection, sprinklers unless stated otherwise
| 5.12.1 | Communication, Security and Control Systems | 1782 | m2 | 166.4 | 296524.8 |  | Gross internal floor area; Including fire alarm, public address system, security installation unless stated otherwise, rates derived from Spons 2020 under performing arts building
| 5.14.1 | Builder’s Work in Connection with Services
|  | air conditioning, electrical and ventilation installations | 1782 | m2 | 59.52 | 106064.64 |  | Gross internal floor area
2290099.328
[6 empty] | Total | 2290099.328
[5 empty] | Check | 2290099.328 | 0

## 6 - Prefabricated Buildings
[8 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
|  |  |  | £ | £ | £
6 | Prefabricated buildings
[5 empty] | Total | 0
|  |  |  | Check | 0 | 0

## 7 - Work to existing buildings
[8 empty] | SPONs 2020 unit rates rebased to factor of | 1.28
Ref. | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
|  |  |  | £ | £ | £
7 | Work to existing buildings | [5 empty] | Non applicable
[5 empty] | Total | 0
|  |  |  | Check | 0 | 0

## 8 - External works
[9 empty] | SPONs 2020 unit rates rebased to factor of |  |  | 1.28
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
8 |  | External Works
| 8.2.1 | Roads, Paths and Pavings
|  | Turf Pavers | 336.56 | m2 | 192 | 64619.52 |  | Provisional sum, area is estimation from supplied drawing "PROPOSED MASTERPLAN"
Structural engineers calculation
| 8.4.3 | Retaining Walls | [7 empty] | Basic Wall | Retaining - 300mm Concrete | 1 | Walls | physical material | 53 m² | Concrete
Crib retaining walls
|  | Andacrib concrete crib retaining walls on concrete foundation; granular infill material; measure face area m2. Excludes backfill material to the rear of the wall | 53 | m2 | 416 | 22048
86667.52
[6 empty] | Total | 86667.52
[5 empty] | Check | 86667.52 | 0

## 9 - Main Contr Prelims
[10 empty] | Elemental Cost Plan | 10236143.744
[10 empty] | Elemental cost plan | Main contractors cost items | Total
Ref. |  | Element |  | Qty | unit | Rate | Sub-Total | Group-Total | Notes | 10236143.744 | 1427942.0523 | 11664085.7963
[6 empty] | % | £ | £
9 |  | Main contractor perlims
| 9.1 | Employer’s requirements
|  | 9.1.1 Site accommodation |  |  |  | 0.18% | 20995.3544 |  | Percentage of contract sum
|  | 9.1.2 Site records |  |  |  | 0.15% | 17496.1287 |  | Percentage of contract sum
|  | 9.1.3 Completion and post-completion requirements |  |  |  | 0.2% | 23328.1716 |  | Percentage of contract sum
[6 empty] | Total | 61819.6547
| 9.2 | Main contractor’s cost items
|  | 9.2.1 Management and staff |  |  |  | 6% | 614168.6246
|  | 9.2.2 Site establishment |  |  |  | 0.35% | 35826.5031
|  | 9.2.3 Temporary utilities |  |  |  | 1% | 102361.4374
|  | 9.2.4 Security |  |  |  | 0.15% | 15354.2156
|  | 9.2.5 Safety and environmental protection |  |  |  | 0.1% | 10236.1437
|  | 9.2.6 Control and protection |  |  |  | 0.13% | 13306.9869
|  | 9.2.7 Mechanical plant |  |  |  | 2.2% | 225195.1624
|  | 9.2.8 Temporary works |  |  |  | 0.75% | 76771.0781
|  | 9.2.9 Site records |  |  |  | 0.5% | 51180.7187
|  | 9.2.10 Completion and post-completion requirements |  |  |  | 0.7% | 71653.0062
|  | 9.2.11 Cleaning |  |  |  | 0.15% | 15354.2156
|  | 9.2.12 Fees and charges |  |  |  | 0.8% | 81889.15
|  | 9.2.13 Site services |  |  |  | 0.92% | 94172.5224
|  | 9.2.14 Insurance, bonds, guarantees and warranties |  |  |  | 0.2% | 20472.2875
[6 empty] | Total | 1427942.0523 | 0
|  |  | Total % |  |  | 14.48%
1489761.707

## 10 - Main Contr O & P
[9 empty] | Elemental Cost Plan | 10236143.744
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | % | £ | £
10 |  | Main contractor O & P
| 10.1 | Main contractor’s overheads |  |  | 7.5% | 767710.7808
| 10.2 | Main contractor’s profit. |  |  | 8% | 818891.4995
[5 empty] | Total | 1586602.2803

## 11 - Project & Design Team fee
[9 empty] | Elemental Cost Plan | 10236143.744
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | % | £ | £
11 |  | Project & design team fee
| 11.1 | Consultants’ fees |  |  | 9% | 921252.937
[5 empty] | Total | 921252.937

## 12 - Other development costs
[9 empty] | Elemental Cost Plan | 10236143.744
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
12 |  | Other development costs
| 12.1 | Other project costs |  |  | - |  |  | TBC
[5 empty] | Total | 0

## 13 - Risks
[10 empty] | Elemental Cost Plan | 10236143.744
Ref. |  | Element |  | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[6 empty] | % | £ | £
13 |  | Risks
| 13.1 | Design development risks |  |  |  | 2.5% | 255903.5936
| 13.2 | Construction risks |  |  |  | 2.5% | 255903.5936
| 13.3 | Employer change risks |  |  |  | 2.5% | 255903.5936
| 13.4 | Employer other risks |  |  |  | 2.5% | 255903.5936
[6 empty] | Total | 1023614.3744
|  |  | Total |  |  | 10%

## 14 - Inflation
[9 empty] | Elemental Cost Plan | 10236143.744
Ref. |  | Element | Qty | unit | Rate | Sub-Total | Group-Total | Notes
[5 empty] | £ | £ | £
14 |  | Inflation
| 14.1 | Tender inflation. | [5 empty] | TBC
| 14.2 | Construction inflation. | [5 empty] | TBC
[5 empty] | Total | 0

## Appendix
UWTSD
Comments | Appendix
`